## Schedule 2A__SS
ORISSA POWER TRANSMISSION CORPORATION LIMITED
CONSTRUCTION OF 220 KV DOUBLE CIRCUIT LINE FROM JAYANAGAR 220/132/33KV SUBSTATION OF OPTCL TO 400/220 KV SUBSTATION OF PGCIL AT KALIAGAON JEYPORE ALONG WITH 2 NOS 220 KVFEEDER BAYS EACH AT BOTH ENDS OF SUB-STATION
NOTICE INVITING TENDER-NIT NO.52/2011-12 Bid Document No. Sr. G.M-CPC-TENDER- PACKAGE 61-01 / 2012
(Equipment/Materials Price Break-up of Ex-works Prices against Package 61-01 / 2012 )
Bidder's Name & Address : |  |  |  |  | To,
Orissa Power Transmission Corporation Ltd., Bhubaneswar
Dear Sir, We hereby furnish the detailed price break-up of the equipment covered under the entire scope of Construction of Sub-Station along with transmission line and associated system against the subject Package. (Bidder shall quote price for the following items, price of all accessories, assemblies, Components, part etc. associated with these items are to be included in bidder quoted price for all these items).
PART-I SCHEDULE-2A- ( PACKAGE 61-01 / 2012 )
S. No. | DESCRIPTION OF ITEMS |  |  |  |  | PRICES TO BE QUOTED IN INR
| SUPPLY OF FOLLOWING EQUIPMENTS ALONG WITH HOT DIP GALVANISED STRUCTURE (As per Technical Specification) | UNITS | Quantity for :CONSRTUCTION OF 02 NOS. 220 KV FEEDER BAY WITH BUS EXTENSION AT 400/220 KV, PGCIL (JEYPORE) GRID SUBSTATION ( 3 BUS SYSTEM) | Quantity for :CONSRTUCTION OF 02 NOS. 220/KV FEEDER BAY WITH BUS EXTENSION AT JAYANAGAR GRID SUBSTATION (1&1/2 BREAKER SYSTEM) WITH TIE BUS | TOTAL QUANTITY | Unit Ex-Works Price | Total Ex-Works Price | Mode of Transaction (Direct or Bought-out item) | Total Taxes & Duties applicable for transaction between bidder and OPTCL and not included in the price at Column(8) [For bought-out items, taxes & duties excluding Octroi/Entry Tax are invariably included in the price quoted at column(8)]
[9 empty] | Excise Duty | VAT/Sales Tax | Other Levies (if any)
1 | 2 | 3 | 4 | 5 | 6=4+5 | 7 | 8 | 9 | 10 | 11 | 12
1 | 245 KV,1200-600-300A,40KA,5CORE SINGLE PHASE CURRENT TRANSFORMER WITH CLAMP | NOS | 6 | 12 | 18
2 | 245 KV,2000A,40KA,ISOLATORS
2.1 | WITH SINGLE EARTH SWITCH WITH CLAMP | NOS | 2 | 4 | 6
2.2 | WITH DOUBLE EARTH SWITCH WITH CLAMP | NOS | 2 | 0 | 2
2.3 | WITH OUT EARTH SWITCH WITH CLAMP | NOS | 0 | 2 | 2
2.4 | TANDUM ISOLATOR | NOS | 4 | 0 | 4
3 | 245 KV,4400pF,3CORE,SINGLE PHASE CAPACITOR VOLTAGE TRANSFORMER WITH CLAMP | NOS | 6 | 6 | 12
| 245 KV,2 CORE(0.2 CL & 3P CL),SINGLE PHASE INDUCTIVE VOLTAGE TRANSFORMER WITH CLAMP | NOS | 0 | 6 | 6
4 | 245KV,3150A,40KA,SF6,CIRCUIT BREAKER WITH SUPPORT STRUCTURE WITH CLAMP | NOS | 2 | 3 | 5
5 | 216 KV, METAL OXIDE SURGE ARRESTOR, 10kA, Class - III WITH CLAMP | NOS | 6 | 6 | 12
6 | 220 KV Bus Post Insulators (8 KN) | NOS | 16 | 6 | 22
7 | BUS BAR & CIRCUIT MATERIALS
7.1 | 220KV SINGLE TENSION INSULATOR STRINGS (160 KN Antifog) WITH HARD WARE FOR DOUBLE ACSR MOOSE | SET | 12 | 12 | 24
7.2 | 220KV SINGLE SUSPENSION INSULATOR STRINGS (120 KN Antifog) WITH HARD WARE FOR DOUBLE ACSR MOOSE | SET | 6 | 6 | 12
7.3 | 220KV SINGLE SUSPENSION INSULATOR STRINGS(120 KN Antifog) WITH HARD WARE FOR SINGLE ACSR MOOSE | SET | 12 | 12 | 24
7.4 | 220KV SINGLE TENSION INSULATOR STRINGS (160 KN Antifog) WITH HARD WARE FOR SINGLE ACSR MOOSE | SET | 24 | 12 | 36
7.5 | ACSR MOOSE CONDUCTOR | KM | 2 | 2 | 4
7.6 | HARDWARES & FITTINGS/SPACERS /CLAMP & CONNECTORS of different type | LOT | 1 | 1 | 2
8 | Substation earthmat & other Earthing system. It includes design,supply of all materials and labour to complete the earthing system.
8.1 | Supply of Hot dip galvanised flats of size 75X10mm as per Technical specification and relevant IS. | MTRS | 2225 | 2225 | 4450
8.2 | Supply of Hot dip galvanised flats of size 50X6 mm as per Technical specification and relevant IS. | MTRS | 990 | 1150 | 2140
8.3 | Supply of Earthing Device including all accessories (G.I pipe shall be medium gauge having 50 mm Dia X 3 Mtrs long )as per as per ISS:3043/IEC ,technical spec . | SET | 60 | 60 | 120
9 | BAY MARSHALLING KIOSKS/BOXES
9.1 | SWITCH YARD AC CONSOLE FOR LIGHTING | NOS | 2 | 2 | 4
9.2 | C.T CONSOLE BOX | NOS | 2 | 4 | 6
9.3 | C.V.T/IVT CONSOLE BOX | NOS | 2 | 4 | 6
9.4 | ACDB CONSOLE BOX(Suitable for Out door type)There shall be two incomers of 32 Amp 3ph & Nut MCB and to be connected to two separate Bus in the ACDB . From each bus there shall be two nos 16 Amp MCB(3ph & Nut) & two nos 10 Amp DP MCB(1ph & Nut) out going to be provided ( Total outgoing from the ACDB shall be 4 Nos. 16 AMP (3 ph & Nu) & 4 Nos 10 AMP DP MCB) and suitable Terminal blocks for the same to be provided for connection of the cables. Separate 16 Amp,50 Nos. Stud type terminal blocks to be provided for any interlocking arrangement in one row. | NOS | 2 | 2 | 4
9.5 | DCDB CONSOLE BOX(Suitable for Out door type).There shall be two incomers of 16 Amp DP DC MCB and to be connected to two separate Bus in the DCDB . From each bus there shall be three nos 6 Amp DP DC MCB out going to be provided ( Total outgoing from the DCDB shall be 6 Nos. 6 Amp DP DC MCB) and suitable Terminal blocks for the same to be provided for connection of the cables. Separate 16 Amp,50 Nos. Stud type terminal blocks to be provided for any interlocking arrangement in one row. | NOS | 2 | 2 | 4
10 | SWITCH YARD G.I STRUCTURES (LATTICE TYPE) FOR ALL 220 KV CLASS INCLUDING FOUNDATION BOLTS & NUTS
10.1 | DIFFERENT TYPES OF COLUMNS WITH DETAILS
10.1.1 | COLUMMS ARE EXISTING(DBC,NOM UNIT WT 4.61 MT) | NOS | 0 | 4 | 4
10.1.2 | COLUMMS ARE EXISTING( BBC,NOM UNIT WT 2.473 MT) | NOS | 0 | 2 | 2
10.2 | DIFFERENT TYPE OF BEAMS WITH DETAILS
10.2.1 | MAIN TBM (NOMINAL UNIT WT- 1.6797 MT) | NOS | 3 | 4 | 7
10.2.2 | BUS BBM (NOMINAL UNIT WT- 2.1718 MT) | NOS | 0 | 2 | 2
10.3 | TOTAL WEIGHT OF COLUMN | MT | 0 | 23.386 | 23.386
10.4 | TOTAL WEIGHT OF BEAM | MT | 5.1 | 11.0624 | 16.1624
10.5 | TOTAL WEIGHT OF NUT & BOLT FOR ABOVE | MT | 0.2 | 1.5 | 1.7
10.6 | TOTAL WEIGHT OF FOUNDATION BOLT FOR ABOVE COLUMN | MT | 0 | 1.75 | 1.75
10.7 | SUPPORT STRUCTURES(LATTICE/PIPE TYPE) FOR ALL 220 kV EQUIPMENTS
10.7.1 | ISOLATORs(NOMINAL UNIT WT- 1.0824 MT) | SET | 8 | 6 | 14
10.7.2 | CTs(NOMINAL UNIT WT- 0.2252 MT) | NOS | 6 | 12 | 18
10.7.3 | CVTs/IVT(NOMINAL UNIT WT- 0.254 MT) | NOS | 6 | 12 | 18
10.7.4 | SA s(NOMINAL UNIT WT- 0.2922 MT) | NOS | 6 | 6 | 12
10.7.5 | BPIs(NOMINAL UNIT WT- 0.2924 MT) | NOS | 16 | 6 | 22
10.8 | TOTAL WEIGHT OF EQUIPMENT STRUCTURE | MT | 18 | 16.1 | 34.1
10.9 | TOTAL WEIGHT OF NUT & BOLT FOR ABOVE | MT | 0.7 | 0.75 | 1.45
10.10 | TOTAL WEIGHT OF FOUNDATION BOLT FOR ABOVE COLUMN | MT | 2 | 2 | 4
10.11 | TOTAL WEIGHT OF COLUMN,BEAM & EQUIPMENT STRUCTURE | MT | 23.1 | 50.5484 | 73.6484
10.12 | TOTAL WEIGHT OF NUT & BOLT FOR (COLUMN,BEAM & EQUIPMENT STRUCTURE) ABOVE | MT | 0.9 | 2.25 | 3.15
10.13 | TOTAL WEIGHT OF FOUNDATION BOLT FOR (COLUMN & EQUIPMENT STRUCTURE) ABOVE | MT | 2 | 3.75 | 5.75
11 | GENERAL EQUIPMENT & SUBSTATION ACCESSORIES
11.1 | POWER CABLES,1.1KV,XLPE,ARMOURED, ALUMINIUM CONDUCTOR (As per Specification)
11.1.1 | 3.5 CX90 SQ mm | KM | 1 | 0.6 | 1.6
11.1.2 | 3.5 CX 25 SQ mm | KM | 1 | 0.6 | 1.6
11.2 | CONTROL CABLES,1.1 KV, PVC,STRANDED COPPER(As per specification)
11.2.1 | 2CX2.5 mm2 | KM | 1 | 1 | 2
11.2.2 | 4 CX 2.5 mm2 | KM | 32.5 | 22 | 54.5
11.2.3 | 10 CX 2.5 mm2 | KM | 2 | 2 | 4
12 | ACCESSORIES FOR PLLC SYSTEM AS PER TECHNICAL SPECIFICATION)
12.1 | 220 KV,1600 A,1mH,Pedestal Mounting WAVE TRAP | NOS | 2 | 2 | 4
12.2 | LINE MATCHING UNIT HAVING BUILT IN PROTECTIVE DEVICES LIKE DRAINAGE COIL,SURGE ARRESTOR & EARTH SWITCH. TUNABLE BAND PASS COUPLING FILTER:90 – 500 KHZ. HF POWER RATING:1000 W | SET | 2 | 2 | 4
12.3 | 12.5 MM OD ARMOURED COAXIAL CABLE,IMPEDANCE:75 OHMS,INSULATION RESISTANCE:100 M OHMS DIELECTRIC STRENGTH: 5 KV,SIGNAL ATTENUATION:6 DB/KM (MAX) AT 500 KHZ. | MTRS | 1000 | 1000 | 2000
13 | SUB STATION LIGHTING(AS PER SPECIFICATION AND APPROVED DRAWINGS)
13.1 | SUB-STATION SWITCH YARD LIGHTING,IT INCLUDES SUPPLY OF FIXTURES AND LAMPS (LED LIGHTING 70 WATT EACH LOC),PVC CABLES,CONTROL BOX ASSOCIATED,G.I PIPE & BENDS( FOR TAKING THE CABLES FROM THE CONTROL GEAR TO THE FIXTURE,FROM LIGHTING DISTRIBUTION BOARD TO THE CONTROL GEAR) AS PER TECHNICAL SPECIFICATION . | LOC | 14 | 14 | 28
14 | PROTECTION,CONTROL METERING,EVENT LOGGER,BUS BAR PROTN PAN,COMM PAN,RELAY TOOL KITS AS PER TECH SPEC AND
14.1 | 220 KV SIDE
14.1.1 | FEEDER CONTROL PANEL(CPF-2D) | NOS | 2 | 2 | 4
14.1.2 | FEEDER RELAY PANEL(RPF-2D) | NOS | 2 | 2 | 4
14.1.3 | BUS BAR PROTECTION FOR 2 NOS FEEDER SIMILAR TO THE EXISTING SYSTEM FOR COMPATIBILITY. | LS | 1 | 1 | 2
14.1.4 | EVENT LOGGER FOR 2 NOS FEEDER SIMILAR TO THE EXISTING SYSTEM FOR COMPATIBILITY. | LS | 1 | 1 | 2
15 | BEST QUALITY &APPROVED MAKE RUBBER MAT TO BE KEPT INFRONT OF PANELS. | LOT | 1 | 1 | 2
16 | SUPPLY OF G.I PERFORATED CABLE TRAY AS PER EXISTING SYSTEM HAVING SIZE 150 mm WIDTH & 2 mm THICK (ALONG WITH ITS ACCESSORIES FOR FIXING) & REQUIRED GI ANGLE (50x50x6) FOR CABLE TRAY SUPPORT as per TS). | MTRS | 200 | 200 | 400
17 | 2 TR CAPACITY SPLIT AIR CONDITIONING UNITS( 5 STAR Rated) WITH REMOTE CONTROL FACILITY AND INCLUDING RELATED MATERIALS LIKE CABLES,VOLTAGE STABILISER,CONTROL BOXES ETC FOR COMPLETING THE SCHEME.(AS PER SPECIFICATION ) FOR CONTROL ROOM, CARRIER ROOM ,OFFICE & CONFERENCE ROOM. | NOS | 0 | 3 | 3
TOTAL OF SUBSTATION (PART-I)-SCHEDULE-2A
Note 1 | Before filling up rate/amount etc. in the schedules bidders are requested to read carefully the instruction given in Vol-I of Bidding Document.
2 | Bidders are required to fill up amount in all column except shaded portion.
3 | Bidders are requested not to leave any column blank. If any column is left blank it shall be considered that amount against those items are included in any other item and the total amount for that item shall be calculated as free of cost (Zero value). No rate shall be furnished/obtained after bid opening (Ref clause no 33.4.1 of INB vol-I)
4 | Kindly enclose soft copy of the duly filled schedule in a CD with the priced copy of Bid.
5 | In mode of transaction column please indicate Direct/Bought-Out. For Taxes & Duties on Direct/Bought-out items ref clause 6.0 of SCC (Vol-IA)
6 | *Bus-Bar Protection for the proposed bay extension work: Bidder to ascertain the existing Bus-Bar scheme and accordingly propose the same.
| Date : |  | ( Designation ) ………………………………………. |  |  |  |  | (Signature) ……………………………………………
| Place : |  | (Common Seal) …………………………………… |  |  |  |  | ( Name) ………………………………………………

## Schedule 2B_SS
ORISSA POWER TRANSMISSION CORPORATION LIMITED
CONSTRUCTION OF 220 KV DOUBLE CIRCUIT LINE FROM JAYANAGAR 220/132/33KV SUBSTATION OF OPTCL TO 400/220 KV SUBSTATION OF PGCIL AT KALIAGAON JEYPORE ALONG WITH 2 NOS 220 KVFEEDER BAYS EACH AT BOTH ENDS OF SUB-STATION
NOTICE INVITING TENDER-NIT NO.52/2011-12 Bid Document No. Sr. G.M-CPC-TENDER- PACKAGE 61-01 / 2012
(Equipment/Materials Price Break-up of Ex-works Prices against Package 61-01 / 2012)
Bidder's Name & Address : |  |  |  |  | To,
Orissa Power Transmission Corporation Ltd. Bhubaneswar
Dear Sir, We hereby furnish the detailed price break-up of the equipment covered under the entire scope of Construction of Sub-Station along with transmission line and associated system against the subject Package. (Bidder shall quote price for the following items, price of all accessories, assemblies, Components, part etc. associated with these items are to be included in bidder quoted price for all these items).
PART-I SCHEDULE-2B- ( PACKAGE 61-01 / 2012 )
S. No. | DESCRIPTION OF ITEMS |  |  |  |  | PRICES TO BE QUOTED IN INR
| F &I ON SUPPLY OF FOLLOWING EQUIPMENTS ALONG WITH HOT DIP GALVANISED STRUCTURE (As per Technical Specification) | UNITS | Quantity for :CONSRTUCTION OF 02 NOS. 220 KV FEEDER BAY WITH BUS EXTENSION AT 400/220 KV, PGCIL (JEYPORE) GRID SUBSTATION ( 3 BUS SYSTEM) | Quantity for :CONSRTUCTION OF 02 NOS. 220/KV FEEDER BAY WITH BUS EXTENSION AT JAYANAGAR GRID SUBSTATION (1&1/2 BREAKER SYSTEM) WITH TIE BUS | TOTAL QUANTITY | Unit F&I Charges | Total F&I Charges
1 | 2 | 3 | 4 | 5 | 6=4+5 | 7 | 8
1 | 245 KV,1200-600-300A,40KA,5CORE SINGLE PHASE CURRENT TRANSFORMER WITH CLAMP | NOS | 6 | 12 | 18
2 | 245 KV,2000A,40KA,ISOLATORS
2.1 | WITH SINGLE EARTH SWITCH WITH CLAMP | NOS | 2 | 4 | 6
2.2 | WITH DOUBLE EARTH SWITCH WITH CLAMP | NOS | 2 | 0 | 2
2.3 | WITH OUT EARTH SWITCH WITH CLAMP | NOS | 0 | 2 | 2
2.4 | TANDUM ISOLATOR | NOS | 4 | 0 | 4
3 | 245 KV,4400pF,3CORE,SINGLE PHASE CAPACITOR VOLTAGE TRANSFORMER WITH CLAMP | NOS | 6 | 6 | 12
| 245 KV,2 CORE(0.2 CL & 3P CL),SINGLE PHASE INDUCTIVE VOLTAGE TRANSFORMER WITH CLAMP | NOS | 0 | 6 | 6
4 | 245KV,3150A,40KA,SF6,CIRCUIT BREAKER WITH SUPPORT STRUCTURE WITH CLAMP | NOS | 2 | 3 | 5
5 | 216 KV, METAL OXIDE SURGE ARRESTOR, 10kA, Class - III WITH CLAMP | NOS | 6 | 6 | 12
6 | 220 KV Bus Post Insulators (8 KN) | NOS | 16 | 6 | 22
7 | BUS BAR & CIRCUIT MATERIALS
7.1 | 220KV SINGLE TENSION INSULATOR STRINGS (160 KN Antifog) WITH HARD WARE FOR DOUBLE ACSR MOOSE | SET | 12 | 12 | 24
7.2 | 220KV SINGLE SUSPENSION INSULATOR STRINGS (120 KN Antifog) WITH HARD WARE FOR DOUBLE ACSR MOOSE | SET | 6 | 6 | 12
7.3 | 220KV SINGLE SUSPENSION INSULATOR STRINGS(120 KN Antifog) WITH HARD WARE FOR SINGLE ACSR MOOSE | SET | 12 | 12 | 24
7.4 | 220KV SINGLE TENSION INSULATOR STRINGS (160 KN Antifog) WITH HARD WARE FOR SINGLE ACSR MOOSE | SET | 24 | 12 | 36
7.5 | ACSR MOOSE CONDUCTOR | KM | 2 | 2 | 4
7.6 | HARDWARES & FITTINGS/SPACERS/CLAMP & CONNECTORS of different type | LOT | 1 | 1 | 2
8 | Substation earthmat & other Earthing system. It includes design,supply of all materials and labour to complete the earthing system.
8.1 | Supply of Hot dip galvanised flats of size 75X10mm as per Technical specification and relevant IS. | MTRS | 2225 | 2225 | 4450
8.2 | Supply of Hot dip galvanised flats of size 50X6 mm as per Technical specification and relevant IS. | MTRS | 990 | 1150 | 2140
8.3 | Supply of Earthing Device including all accessories (G.I pipe shall be medium gauge having 50 mm Dia X 3 Mtrs long )as per as per ISS:3043/IEC ,technical spec . | SET | 60 | 60 | 120
9 | BAY MARSHALLING KIOSKS/BOXES
9.1 | SWITCH YARD AC CONSOLE FOR LIGHTING | NOS | 2 | 2 | 4
9.2 | C.T CONSOLE BOX | NOS | 2 | 4 | 6
9.3 | C.V.T/IVT CONSOLE BOX | NOS | 2 | 4 | 6
9.4 | ACDB CONSOLE BOX | NOS | 2 | 2 | 4
9.5 | DCDB CONSOLE BOX | NOS | 2 | 2 | 4
10 | SWITCH YARD G.I STRUCTURES (LATTICE TYPE) FOR ALL 220 KV CLASS
10.1 | DIFFERENT TYPES OF COLUMNS WITH DETAILS
10.1.1 | COLUMMS ARE EXISTING(DBC,NOM UNIT WT 4.61 MT) | NOS | 0 | 4 | 4
10.1.2 | COLUMMS ARE EXISTING( BBC,NOM UNIT WT 2.473 MT) | NOS | 0 | 2 | 2
10.2 | DIFFERENT TYPE OF BEAMS WITH DETAILS
10.2.1 | MAIN TBM (NOMINAL UNIT WT- 1.6797 MT) | NOS | 3 | 4 | 7
10.2.2 | BUS BBM (NOMINAL UNIT WT- 2.1718 MT) | NOS | 0 | 2 | 2
10.3 | TOTAL WEIGHT OF COLUMN | MT | 0 | 23.386 | 23.386
10.4 | TOTAL WEIGHT OF BEAM | MT | 5.1 | 11.0624 | 16.1624
10.5 | TOTAL WEIGHT OF NUT & BOLT FOR ABOVE | MT | 0.2 | 1.5 | 1.7
10.6 | TOTAL WEIGHT OF FOUNDATION BOLT FOR ABOVE COLUMN | MT | 0 | 1.75 | 1.75
10.7 | SUPPORT STRUCTURES(LATTICE/PIPE TYPE) FOR ALL 220 kV EQUIPMENTS
10.7.1 | ISOLATORs(NOMINAL UNIT WT- 1.0824 MT) | SET | 8 | 6 | 14
10.7.2 | CTs(NOMINAL UNIT WT- 0.2252 MT) | NOS | 6 | 12 | 18
10.7.3 | CVTs/IVT(NOMINAL UNIT WT- 0.254 MT) | NOS | 6 | 12 | 18
10.7.4 | SA s(NOMINAL UNIT WT- 0.2922 MT) | NOS | 6 | 6 | 12
10.7.5 | BPIs(NOMINAL UNIT WT- 0.2924 MT) | NOS | 16 | 6 | 22
10.8 | TOTAL WEIGHT OF EQUIPMENT STRUCTURE | MT | 18 | 16.1 | 34.1
10.9 | TOTAL WEIGHT OF NUT & BOLT FOR ABOVE | MT | 0.7 | 0.75 | 1.45
10.10 | TOTAL WEIGHT OF FOUNDATION BOLT FOR ABOVE COLUMN | MT | 2 | 2 | 4
10.11 | TOTAL WEIGHT OF COLUMN,BEAM & EQUIPMENT STRUCTURE | MT | 23.1 | 50.5484 | 73.6484
10.12 | TOTAL WEIGHT OF NUT & BOLT FOR (COLUMN,BEAM & EQUIPMENT STRUCTURE) ABOVE | MT | 0.9 | 2.25 | 3.15
10.13 | TOTAL WEIGHT OF FOUNDATION BOLT FOR (COLUMN & EQUIPMENT STRUCTURE) ABOVE | MT | 2 | 3.75 | 5.75
11 | GENERAL EQUIPMENT & SUBSTATION ACCESSORIES
11.1 | POWER CABLES,1.1KV,XLPE,ARMOURED, ALUMINIUM CONDUCTOR (As per Specification)
11.1.1 | 3.5 CX90 SQ mm | KM | 1 | 0.6 | 1.6
11.1.2 | 3.5 CX 25 SQ mm | KM | 1 | 0.6 | 1.6
11.2 | CONTROL CABLES,1.1 KV, PVC,STRANDED COPPER(As per specification)
11.2.1 | 2CX2.5 mm2 | KM | 1 | 1 | 2
11.2.2 | 4 CX 2.5 mm2 | KM | 32.5 | 22 | 54.5
11.2.3 | 10 CX 2.5 mm2 | KM | 2 | 2 | 4
12 | ACCESSORIES FOR PLLC SYSTEM AS PER TECHNICAL SPECIFICATION)
12.1 | 220 KV,1600 A,1mH,Pedestal Mounting WAVE TRAP | NOS | 2 | 2 | 4
12.2 | LINE MATCHING UNIT HAVING BUILT IN PROTECTIVE DEVICES LIKE DRAINAGE COIL,SURGE ARRESTOR & EARTH SWITCH. TUNABLE BAND PASS COUPLING FILTER:90 – 500 KHZ. HF POWER RATING:1000 W | SET | 2 | 2 | 4
12.3 | 12.5 MM OD ARMOURED COAXIAL CABLE,IMPEDANCE:75 OHMS,INSULATION RESISTANCE:100 M OHMS DIELECTRIC STRENGTH: 5 KV,SIGNAL ATTENUATION:6 DB/KM (MAX) AT 500 KHZ. | MTRS | 1000 | 1000 | 2000
13 | SUB STATION LIGHTING(AS PER SPECIFICATION AND APPROVED DRAWINGS)
13.1 | SUB-STATION SWITCH YARD LIGHTING,IT INCLUDES SUPPLY OF FIXTURES AND LAMPS (LED LIGHTING 70 WATT EACH LOC),PVC CABLES,CONTROL BOX ASSOCIATED,G.I PIPE & BENDS( FOR TAKING THE CABLES FROM THE CONTROL GEAR TO THE FIXTURE,FROM LIGHTING DISTRIBUTION BOARD TO THE CONTROL GEAR) AS PER TECHNICAL SPECIFICATION . | LOC | 14 | 14 | 28
14 | PROTECTION,CONTROL METERING,EVENT LOGGER,BUS BAR PROTN PAN,COMM PAN,RELAY TOOL KITS AS PER TECH SPEC AND
14.1 | 220 KV SIDE
14.1.1 | FEEDER CONTROL PANEL(CPF-2D) | NOS | 2 | 2 | 4
14.1.2 | FEEDER RELAY PANEL(RPF-2D) | NOS | 2 | 2 | 4
14.1.3 | BUS BAR PROTECTION FOR 2 NOS FEEDER SIMILAR TO THE EXISTING SYSTEM FOR COMPATIBILITY. | LS | 1 | 1 | 2
14.1.4 | EVENT LOGGER FOR 2 NOS FEEDER SIMILAR TO THE EXISTING SYSTEM FOR COMPATIBILITY. | LS | 1 | 1 | 2
15 | BEST QUALITY &APPROVED MAKE RUBBER MAT TO BE KEPT INFRONT OF PANELS. | LOT | 1 | 1 | 2
16 | SUPPLY OF G.I PERFORATED CABLE TRAY AS PER EXISTING SYSTEM HAVING SIZE 150 mm WIDTH & 2 mm THICK (ALONG WITH ITS ACCESSORIES FOR FIXING) & REQUIRED GI ANGLE (50x50x6) FOR CABLE TRAY SUPPORT as per TS). | MTRS | 200 | 200 | 400
17 | 2 TR CAPACITY SPLIT AIR CONDITIONING UNITS( 5 STAR Rated) WITH REMOTE CONTROL FACILITY AND INCLUDING RELATED MATERIALS LIKE CABLES,VOLTAGE STABILISER,CONTROL BOXES ETC FOR COMPLETING THE SCHEME.(AS PER SPECIFICATION ) FOR CONTROL ROOM, CARRIER ROOM ,OFFICE & CONFERENCE ROOM. | NOS | 0 | 3 | 3
TOTAL OF SUBSTATION (PART-I)-SCHEDULE-2B
Note: 1. Before filling up rate/amount etc. in the schedules bidders are requested to read carefully the instruction given in Vol-I of Bidding Document.
2 | Bidders are required to fill up amount in all column except shaded portion.
3 | Bidders are requested not to leave any column blank. If any column is left blank it shall be considered that amount against those items are included in any other item and the total amount for that item shall be calculated as free of cost (Zero value). No rate shall be furnished/obtained after bid opening (Ref clause no 33.4.1 of INB vol
4 | Kindly enclose soft copy of the duly filled schedule in a CD with the priced copy of Bid.
5 | In mode of transaction column please indicate Direct/Bought-Out. For Taxes & Duties on Direct/Bought-out items ref clause 6.0 of SCC (Vol-IA)
6 | *Bus-Bar Protection for the proposed bay extension work: Bidder to ascertain the existing Bus-Bar scheme and accordingly propose the same.
(Signature) ……………………………………………
( Name) ………………………………………………
| Date : |  |  | ( Designation ) ……………………………………….
| Place : |  |  | (Common Seal) ……………………………………

## Schedule 2C SS
ORISSA POWER TRANSMISSION CORPORATION LIMITED
Construction of 220KV Double Circuit line from Jayanagar 220/132/32 KV substation of OPTCL to 400/220 KV substation of PGCIL at Jeypore with 2 Nos 220 KV feeder bays each at both ends
NOTICE INVITING TENDER-NIT NO.52/2011-12 Bid Document No. Sr. G.M-CPC-TENDER- PACKAGE 61-01 / 2012
(Equipment/Materials Price Break-up of Ex-works Prices against Package 61-01 / 2012 )
Bidder's Name & Address: |  |  |  | To,
Orissa Power Transmission Corporation Ltd.
Bhubneshwar
Dear Sir, We hereby furnish the detailed price break-up of the equipment covered under the entire scope of Construction of Sub-Station along with Transmission line and associated system against the subject Package. (Bidder shall quote price for the following items, price of all accessories, assemblies, components, part etc. associated with these items are to be included in bidder quoted price for all these items).
PART-I, SCHEDULE-2C (FOR SUBSTATION) | [5 empty] | PRICE IN INDIAN RUPEES
S. No. | DESCRIPTION OF ITEMS ERECTION,TESTING & COMMISSIONING OF FOLLOWING EQUIPMENTS ALONG WITH CIVIL WORKS (As per Technical Specification) | UNITS | Quantity for :CONSRTUCTION OF 02 NOS. 220 KV FEEDER BAY WITH BUS EXTENSION AT 400/220 KV, PGCIL (JEYPORE) GRID SUBSTATION ( 3 BUS SYSTEM) | Quantity for :CONSRTUCTION OF 02 NOS. 220/KV FEEDER BAY WITH BUS EXTENSION AT JAYANAGAR GRID SUBSTATION (1&1/2 BREAKER SYSTEM) WITH TIE BUS | Total Quantity | Erection Charges Unit Rate | Total Price
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
A | ELECTRICAL WORKS
1 | 245 KV,1200-600-300A,40KA,5CORE SINGLE PHASE CURRENT TRANSFORMER WITH CLAMP | NOS | 6 | 12 | 18
2 | 245 KV,2000A,40KA,ISOLATORS
2.1 | WITH SINGLE EARTH SWITCH WITH CLAMP | NOS | 2 | 4 | 6
2.2 | WITH DOUBLE EARTH SWITCH WITH CLAMP | NOS | 2 | 0 | 2
2.3 | WITH OUT EARTH SWITCH WITH CLAMP | NOS | 0 | 2 | 2
2.4 | TANDUM ISOLATOR | NOS | 4 | 0 | 4
3 | 245 KV,4400pF,3CORE,SINGLE PHASE CAPACITOR VOLTAGE TRANSFORMER WITH CLAMP | NOS | 6 | 6 | 12
| 245 KV,2 CORE(0.2 CL & 3P CL),SINGLE PHASE INDUCTIVE VOLTAGE TRANSFORMER WITH CLAMP | NOS | 0 | 6 | 6
4 | 245KV,3150A,40KA,SF6,CIRCUIT BREAKER WITH SUPPORT STRUCTURE WITH CLAMP | NOS | 2 | 3 | 5
5 | 216 KV, METAL OXIDE SURGE ARRESTOR, 10kA, Class - III WITH CLAMP | NOS | 6 | 6 | 12
6 | 220 KV Bus Post Insulators (8 KN) | NOS | 16 | 6 | 22
7 | BUS BAR & CIRCUIT MATERIALS
7.1 | 220KV SINGLE TENSION INSULATOR STRINGS (160 KN Antifog) WITH HARD WARE FOR DOUBLE ACSR MOOSE | SET | 12 | 12 | 24
7.2 | 220KV SINGLE SUSPENSION INSULATOR STRINGS (120 KN Antifog) WITH HARD WARE FOR DOUBLE ACSR MOOSE | SET | 6 | 6 | 12
7.3 | 220KV SINGLE SUSPENSION INSULATOR STRINGS(120 KN Antifog) WITH HARD WARE FOR SINGLE ACSR MOOSE | SET | 12 | 12 | 24
7.4 | 220KV SINGLE TENSION INSULATOR STRINGS (160 KN Antifog) WITH HARD WARE FOR SINGLE ACSR MOOSE | SET | 24 | 12 | 36
7.5 | ACSR MOOSE CONDUCTOR | KM | 2 | 2 | 4
7.6 | HARDWARES & FITTINGS/SPACERS/CLAMP & CONNECTORS of different type | LOT | 1 | 1 | 2
8 | Substation earth mat & other Earthing system. Excavation for earth mat Laying ,Laying of earth mat GI Flats of Hot dip galvanised of size 75X10mm inside the trench (as per IEC/IS Standard), inclusive of corrosion protection measures & welding/jointing of ground Earth conductors along with risers upto the height of 350 mm above the finished ground level etc with back filling and good compaction. The spacing between the earth conductor not more than 5 mtrs (both way) and to be buried at depth of 700 mm from the finished ground level. This is as per approved drawing specification and as per the Instruction of Engineer in Charge. It includes design,supply of all materials (except GI Flat) and labour to complete the earthing system.
8.1 | Erection of Hot dip galvanised flats of size 75X10mm as per Technical specification and relevant IS. | MTRS | 2225 | 2225 | 4450
8.2 | Erection of Hot dip galvanised flats of size 50X6 mm as per Technical specification and relevant IS.(Supply of materials and labours G.I flats(50X6 mm) and its connection to equipments,columns,Beams and Structures, Fencing,Cable trays including welding & application of Zinc rich primer and paints on welded spots as per the instruction of the Engineer in Charge). | MTRS | 990 | 1150 | 2140
8.3 | Erection of Earthing Device including all accessories/materials required (except G.I pipe shall be medium gauge having 50 mm Dia X 3 Mtrs long )as per as per ISS:3043/IEC ,technical spec. (Pipe earthing including excavation of earth, back filling,treatment with bentonate compound and other related materials as per ISS:3043/IEC also includes welding/bolting of G.I Strips with pipe for termination of earth flat and apply of paint. G.I pipe shall be medium gauge having 50mm Dia X 3 Mtrs long as per the instruction of the Engineer in Charge.) | SET | 60 | 60 | 120
9 | ERECTION OF BAY MARSHALLING KIOSKS/BOXES
9.1 | SWITCH YARD AC CONSOLE FOR LIGHTING | NOS | 2 | 2 | 4
9.2 | C.T CONSOLE BOX | NOS | 2 | 4 | 6
9.3 | C.V.T/IVT CONSOLE BOX | NOS | 2 | 4 | 6
9.4 | ACDB CONSOLE BOX | NOS | 2 | 2 | 4
9.5 | DCDB CONSOLE BOX | NOS | 2 | 2 | 4
10 | ERECTION OF SWITCH YARD G.I STRUCTURES (LATTICE TYPE) FOR ALL 220 KV CLASS
10.1 | DIFFERENT TYPES OF COLUMNS WITH DETAILS
10.1.1 | COLUMMS ARE EXISTING(DBC,NOM UNIT WT 4.61 MT) | NOS | 0 | 4 | 4
10.1.2 | COLUMMS ARE EXISTING( BBC,NOM UNIT WT 2.473 MT) | NOS | 0 | 2 | 2
10.2 | DIFFERENT TYPE OF BEAMS WITH DETAILS
10.2.1 | MAIN TBM (NOMINAL UNIT WT- 1.6797 MT) | NOS | 3 | 4 | 7
10.2.2 | BUS BBM (NOMINAL UNIT WT- 2.1718 MT) | NOS | 0 | 2 | 2
10.3 | TOTAL WEIGHT OF COLUMN | MT | 0 | 23.386 | 23.386
10.4 | TOTAL WEIGHT OF BEAM | MT | 5.1 | 11.0624 | 16.1624
10.5 | TOTAL WEIGHT OF NUT & BOLT FOR ABOVE | MT | 0.2 | 1.5 | 1.7
10.6 | TOTAL WEIGHT OF FOUNDATION BOLT FOR ABOVE COLUMN | MT | 0 | 1.75 | 1.75
10.7 | SUPPORT STRUCTURES(LATTICE/PIPE TYPE) FOR ALL 220 kV EQUIPMENTS
10.7.1 | ISOLATORs(NOMINAL UNIT WT- 1.0824 MT) | SET | 8 | 6 | 14
10.7.2 | CTs(NOMINAL UNIT WT- 0.2252 MT) | NOS | 6 | 12 | 18
10.7.3 | CVTs/IVT(NOMINAL UNIT WT- 0.254 MT) | NOS | 6 | 12 | 18
10.7.4 | SA s(NOMINAL UNIT WT- 0.2922 MT) | NOS | 6 | 6 | 12
10.7.5 | BPIs(NOMINAL UNIT WT- 0.2924 MT) | NOS | 16 | 6 | 22
10.8 | TOTAL WEIGHT OF EQUIPMENT STRUCTURE | MT | 18 | 16.1 | 34.1
10.9 | TOTAL WEIGHT OF NUT & BOLT FOR ABOVE | MT | 0.7 | 0.75 | 1.45
10.10 | TOTAL WEIGHT OF FOUNDATION BOLT FOR ABOVE COLUMN | MT | 2 | 2 | 4
10.11 | TOTAL WEIGHT OF COLUMN,BEAM & EQUIPMENT STRUCTURE | MT | 23.1 | 50.5484 | 73.6484
10.12 | TOTAL WEIGHT OF NUT & BOLT FOR (COLUMN,BEAM & EQUIPMENT STRUCTURE) ABOVE | MT | 0.9 | 2.25 | 3.15
10.13 | TOTAL WEIGHT OF FOUNDATION BOLT FOR (COLUMN & EQUIPMENT STRUCTURE) ABOVE | MT | 2 | 3.75 | 5.75
11 | ERECTION OF GENERAL EQUIPMENT & SUBSTATION ACCESSORIES
11.1 | POWER CABLES,1.1KV,XLPE,ARMOURED, ALUMINIUM CONDUCTOR (As per Specification)
11.1.1 | 3.5 CX90 SQ mm | KM | 1 | 0.6 | 1.6
11.1.2 | 3.5 CX 25 SQ mm | KM | 1 | 0.6 | 1.6
11.2 | CONTROL CABLES,1.1 KV, PVC,STRANDED COPPER(As per specification)
11.2.1 | 2CX2.5 mm2 | KM | 1 | 1 | 2
11.2.2 | 4 CX 2.5 mm2 | KM | 32.5 | 22 | 54.5
11.2.3 | 10 CX 2.5 mm2 | KM | 2 | 2 | 4
12 | ERECTION OF ACCESSORIES FOR PLLC SYSTEM AS PER TECHNICAL SPECIFICATION)
12.1 | 220 KV,1600 A,1mH,Pedestal Mounting WAVE TRAP | NOS | 2 | 2 | 4
12.2 | LINE MATCHING UNIT HAVING BUILT IN PROTECTIVE DEVICES LIKE DRAINAGE COIL,SURGE ARRESTOR & EARTH SWITCH. TUNABLE BAND PASS COUPLING FILTER:90 – 500 KHZ. HF POWER RATING:1000 W | SET | 2 | 2 | 4
12.3 | 12.5 MM OD ARMOURED COAXIAL CABLE,IMPEDANCE:75 OHMS,INSULATION RESISTANCE:100 M OHMS DIELECTRIC STRENGTH: 5 KV,SIGNAL ATTENUATION:6 DB/KM (MAX) AT 500 KHZ. | MTRS | 1000 | 1000 | 2000
13 | ERECTION OF SUB STATION LIGHTING(AS PER SPECIFICATION AND APPROVED DRAWINGS)
13.1 | FIXING OF SUB-STATION SWITCH YARD LIGHTING & ITS ASSOCIATED ITEM AS INDICATED IN THE SUPPLY PORTION AS PER TECHNICAL SPECIFICATION . | LOC | 14 | 14 | 28
14 | ERECTION OF PROTECTION,CONTROL METERING,EVENT LOGGER,BUS BAR PROTN PAN,COMM PAN,RELAY TOOL KITS , ETC AS PER TECH SPEC.
14.1 | 220 KV SIDE
14.1.1 | FEEDER CONTROL PANEL(CPF-2D) | NOS | 2 | 2 | 4
14.1.2 | FEEDER RELAY PANEL(RPF-2D) | NOS | 2 | 2 | 4
14.1.3 | BUS BAR PROTECTION FOR 2 NOS FEEDER SIMILAR TO THE EXISTING SYSTEM FOR COMPATIBILITY. | LS | 1 | 1 | 2
14.1.4 | EVENT LOGGER FOR 2 NOS FEEDER SIMILAR TO THE EXISTING SYSTEM FOR COMPATIBILITY. | LS | 1 | 1 | 2
15 | ERECTION OF BEST QUALITY &APPROVED MAKE RUBBER MAT TO BE KEPT INFRONT OF PANELS. | LOT | 1 | 1 | 2
16 | ERECTION OF G.I PERFORATED CABLE TRAY AS PER EXISTING SYSTEM HAVING SIZE 150 mm WIDTH & 2 mm THICK (ALONG WITH ITS ACCESSORIES FOR FIXING) & REQUIRED GI ANGLE (50x50x6) FOR CABLE TRAY SUPPORT as per TS). | MTRS | 200 | 200 | 400
17 | INSTALLATION of 2 TR CAPACITY SPLIT AIR CONDITIONING UNITS( 5 STAR Rated) WITH REMOTE CONTROL FACILITY AND INCLUDING RELATED MATERIALS LIKE CABLES,VOLTAGE STABILISER,CONTROL BOXES ETC FOR COMPLETING THE SCHEME.(AS PER SPECIFICATION ) FOR INCLUDING ALL CIVIL WORKS. | NOS | 0 | 3 | 3
TOTAL OF ELECTRICAL WORKS (A)
B | CIVIL WORKS
1 | Foundations : Design, engineering, supply of all labour, material (Cement-OPC-43 Grade,MS Rod, coarse and fine aggregates(Sand and Metal Chips) etc) for construction of RCC ( 1:1.5:3) & PCC (1:3:6), RCC footings of any depth, pedestal and piling as per requirement including soil investigation, excavation,concreting, shuttering, grouting, underpinning and back filling of foundations etc complete for the following switch yard gantry/ portal structures and equipment support & others as per the technical specification and approved drawings (RCC RATIO 1:1.5:3). This also includes excavation in all types of soil or rocks,back filling,and disposal of excess earth as per the direction of Engineer In charge.
1.1 | Switch yard gantry/portal structure foundations.(Bidders may identify the numbers and type of structures for each type of switch yard and indicate the same along with the erection price
1.1.1 | Excavation in all type soil ( Normal soil/Soft soil, submerged soil,wet soil) and rocks and back filling (back filling shall be done in layers of 500mm sprinkling of water and compaction thereafter and disposed of excess quantity of excavated soil at suitable place after back filling), & if required for filling the foundation, borrowed earth/murrum/sand shall be brought for filling and compaction, including supply of sand, all T&P, labour as required.
1.1.1(a) | DENCE & COMPACT SOIL | CUM | 282 | 483 | 765
1.1.1(b) | DFR SOIL | CUM | 524 | 993 | 1517
1.1.2(c) | Open cast foundation for the below column/equipment/marshalling box foundations (Sl No. 1.2,1.3&1.4) with RCC: 1:1.5:3 (Grade M-20),including supply of Labour all materials like Steel (Supply,Cutting,Bending,Binding (including supply of binding wire) and placing in position of steel rods of different size as per design in the foundation pit as required for the above foundations),Cement, coarse and fine aggregates,shuttering,proper curing of the foundations/concrete and T&P in line with the Specification and as per direction of Engineer in Charge. | CUM | 228 | 433 | 661
1.1.2(d) | Design, Engineering, Providing and laying of plain cement concrete (PCC 1:3:6) of grade M10 with approved quality coarse aggregates (Nominal size 12mm to 20mm) , fine aggregates, cement in column and equipment foundation as blind layer inclusive of labour charges for concrete mixing & curing. This includes supply of all labourers, T&P and dewatering wherever required as per Technical specification and instruction of Engineer In charge. | CUM | 37 | 55 | 92
1.2 | TOWER FOUNDATION
1.2.1 | MAIN DBC (NOMINAL UNIT WT- 4..6032 MT) | NOS | 0 | 4 | 4
1.2.2 | BUS BBC (NOMINAL UNIT WT- 2.4727 MT) | NOS | 0 | 2 | 2
1.3 | EQUIPMENT FOUNDATION
1.3.1 | 245kV circuit breaker | Nos | 2 | 3 | 5
1.3.2 | 245 KV Isolator (S/I)( W E/S ,TANDEM & W/O E/S) | Nos | 8 | 6 | 14
1.3.3 | 245kV current transformers | Nos | 6 | 12 | 18
1.3.4 | 245kV capacitor voltage transformers | Nos | 6 | 6 | 12
1.3.5 | 216kV Surge arrestors | Nos | 6 | 6 | 12
1.3.6 | 245kV bus post Insulators | Nos | 16 | 6 | 22
1.3.7 | 245kV Wave traps (pedestal mounted) | Nos | 2 | 2 | 4
1.3.8 | 245 KV PT | Nos | 6 | 0 | 6
1.4 | SWITCH YARD OUT DOOR BOXES
1.4.1 | SWITCH YARD AC CONSOLE FOR LIGHTING | NOS | 2 | 2 | 4
1.4.2 | C.T CONSOLE BOX | NOS | 2 | 4 | 6
1.4.3 | C.V.T CONSOLE BOX | NOS | 2 | 2 | 4
1.4.4 | PT CONSOLE BOX | NOS | 2 | 0 | 2
1.4.5 | ACDB CONSOLE BOX | NOS | 2 | 2 | 4
1.4.6 | DCDB CONSOLE BOX | NOS | 2 | 2 | 4
1.5 | MASSONARY WORKS
1.5.1 | Brick masonry works in Cement Sand Ratio 1:5 with First class K.B Bricks including supply of sand,bricks ,cement and all other materials as per the instruction of Engineer in Charge and Technical specification. | CUM | 30 | 30 | 60
1.5.2 | Cement Plastering with cement sand Mortar of 1:6 Ratio with supply of sand and Cement as per technical specification. | SQ MTR | 250 | 250 | 500
2.0 | Contour Survey & Leveling of sub-station and other area and stone pitching works to protect from soil erosion. LEVELLING OF S/S AREA:Providing, neatly dressing up and leveling of switch yard area to a required level as decided by the Engineer in Charge, the work includes removal, clearing of the entire area from vegetation, trees, bushes, uprooting of plants and disposal of surplus earth and unusable material from the site by means of any mechanical transport, with all labours, tools, tackles and plants complete as per approved drawing and specification. This also includes excavation in all type of soils or rocks, and disposal of excess earth or rocks and filling of areas of switch yard by borrowed earth/sand to make the area to a level for construction as per scope.
2.1 | Contour survey of the entire sub-station area including Supply of all labour & T&P by contractor. | SQM | 0 | 15000 | 15000
2.2 | Cutting of sub-station area of the as per the direction of Engineer in Charge. | Cum | 0 | 400 | 400
2.3 | Filling with borrowed earth beyond 30 mtrs lead as per the direction of Engineer in Charge. | Cum | 0 | 1200 | 1200
3 | Cable Trenches: Design, engineering, and construction of RCC(1:1.5:3) cable trenches and all associated works for cable trench crossings to the required depths, precast RCC covers(1:1.5:3), water stops, brickwork with plastering wherever required including the supply of labour,material, cement, reinforcement steel, form work, steel angles(G.I), flats(G.I) and providing PCC(1:3:6) below cable trenches as per technical specifications and approved drawings and as per direction of the Project Engineer. This also includes excavation in all types of soil or rocks,back filling,and disposal of excess earth as per the direction of Engineer In charge. The cable tray support frame shall be pre fabricated GI angle as per requirement and to be welded with the plate fixed on the trench wall for better rigidity. The plate (6mm) fixed on the wall are also to be welded with the MS rods provided for the trench wall before concreting. *CABLE TRENCHES INSIDE THE CONTROL ROOM SHALL BE COVERED WITH M.S CHEQUERED PLATE INCLUDING STANDARD SUPORT.
3.1 | Cable trench with covers
3.1.1 | Section 1-1 | Mtrs | 0 | 20 | 20
3.1.2 | Section 4-4 | Mtrs | 192 | 192 | 384
4 | Site Surfacing
4.1 | Site Surfacing:Providing and supplying all labour, material, equipments etc. required for proper leveling of earth after erection of structures and equipments and proper compaction by using roller of adequate capacity(minimum 3 Ton capacity) with water sprinkling of switch yard area .Proper leveling of the switch yard area, Anti-weed treatment, spreading of loose fine, clear good quality river sand and maintaining proper sloping for easy discharge of storm water having 150 mm thickness. including rolling , dressing, compaction of the area. The spreading of sand shall be done on layer wise after anti weed treatment suitably as per the specification/ technical specification and approved drawing, and as per the instruction of the Engg-in-Charge. (Spreading of sand & Anti weed treatment) | CUM | 400 | 400 | 800
4.2 | Metal Spreading:Providing supplying and laying two layers of machine crushed metals (gravel) fill, the first layer after compaction shall make minimum 75 mm thickness coarse/ layer of 20 mm nominal size consolidated/ compacted and (by using roller as specified in the specification). A final layer of 75 mm thickness of machine crushed 20 mm nominal size of metals(gravel) above the first layer of 75 mm thickness and as per the technical specification and instruction of Engineer in charge above the sand spreading. The total compacted thickness of the metals(20 mm Nominal) 150mm above the finished sand layer. | CUM | 400 | 400 | 800
5.0 | Any other civil work to be included in the schedule by the Bidder if required essential for successful completion of project, including supply of labour, material, cement reinforcement steel, form work etc. Bidder shall also quote the unit rate for the following items of works.(Rate shall be inclusive of supply of labour, material, cement, reinforcement steel, form work etc. ) Excavation. This also includes excavation in all types of soil or rocks,back filling,and disposal of excess earth as per the direction of Engineer In charge.
5.1 | Excavation This also includes excavation in all types of soil or rocks, back filling,and disposal of excess earth as per the direction of Engineer In charge. | Cu.m. | 1 | 1 | 2
5.2 | PCC: M10(1: 3 : 6) | Cu.m. | 1 | 1 | 2
5.3 | RCC M 15(1:2:4) | Cu.m. | 1 | 1 | 2
5.4 | RCC: M 20(1:1.5:3) | Cu.m. | 1 | 1 | 2
5.5 | Brick masonry work in cement sand mortar 1: 6 with bricks of class designation 75. | Cu.m. | 1 | 1 | 2
5.6 | 12 mm thick plaster in cement sand mortar ( 1: 6 ). | Sq.m. | 1 | 1 | 2
5.7 | Cutting,bending,binding(supply of binding wires) and fixing of reinforcement(including supply of reinforcement). | M.T. | 1 | 1 | 2
6.0 | COLOUR CODING, BAY MARKING Etc:Design, engineering, procurement of labour, material including all associated works for the followings. This should be as per direction of site In charge. a)Colur coding (red,Yellow & Blue) for equipments,Bus gantry &column of entire switch yard. Good quality weather proof snickering may be used for identification. b)Each bay should be identified with the help of bay marker sign board, suitably grouted. MS sign board with stand to be installed. Proper painting and lettering to be done of the entire switch yard area. | Lot | 1 | 1 | 2
7.0 | Switch yard buildings: Extension of the existing Control Room Building at Jayanager end. Design, engineering and construction of switch yard buildings including the piling where required, the cost of material, supply of labour, cement, reinforcement- steel, form work and excavation as per the approved drawing and technical specification ( The RCC structure frame should be in the ratio 1:1.5:3).This also includes excavation in all types of soil or rocks ,back filling,and disposal of excess earth as per the direction of Engineer In charge. As per approved drawings and specification. Since the soil is sandy, piling foundation is required.
7.1 | EXTENSION OF THE EXISTING CONTROL ROOM BUILDING: A) Area of the Ground floor with portico at front side and as per Technical specification and instruction of Engg in charge, SIZE OF THE LAND: (8 mtrs X 7 Mtrs)= 56 Sq Mtrs
7.1.1 | RCC volume including MS rods(including column ,Beams and roofs etc) as per technical spec & approved drawings. | LOT | 0 | 1 | 1
7.1.2 | Brick masonry work in cement sand mortar 1: 6 with bricks of class designation 75 as per technical spec & approved drawings. | LOT | 0 | 1 | 1
7.1.3 | Flooring with vitrified tiles with dado in all the rooms,Bath and toilets shall be provided with anti skid ceramic tiles(wall of the same also to be provided with ceramic tiles),Acid proof industrial tiles to be provided on the floor and wall of the battery room as per technical spec & approved drawings. | LOT | 0 | 1 | 1
7.1.4 | External and internal wall and ceiling paintings as per technical spec mentioned in the civil section. The left over portion of walls and ceiling of Battery room shall be acid proof paints as per specification & approved drawings. | LOT | 0 | 1 | 1
7.1.5 | Provision of ceiling in the control room area as per specification mentioned in the civil section & approved drawings. | LOT | 0 | 1 | 1
7.1.6 | Doors and windows shall be of sliding type with locking facility and shall be of aluminium with glaze of 6mm & windows shall have aluminium grills. As per technical spec & approved drawing. | LOT | 0 | 1 | 1
7.1.7 | Provision of PHD and other fittings of reputed make,provision of rain water discharge pipes at different locations and etc as per requirement and approved drawing. There shall be septic tank and soak pit of required capacity including complete sewage system as per approved drawing & technical specification & as per instruction of Engg- in-Charge. It includes supply of all types of materials of reputed make, labour etc to complete the work. | LOT | 0 | 1 | 1
7.1.8 | Internal concealed wiring,fixing of lighting fixtures(LED) ,fans and regulators ,exhaust fan,D.C emergency lighting as per spec & approved drawing. | LOT | 0 | 1 | 1
8 | Roads: Design, construction of roads and walkways/ shoulders within sub-station(Switch yard area,colony area,approach road,control room building area, main gate to the switch yard gate etc) as per specification, layout and approved drawings complete. This also includes excavation in all types of soil or rocks,backfilling,and disposal of excess earth as per the direction of Engineer In charge. Provision of drains on both the side of the roads for easy discharge of rain water.
8.1 | 3.75 mtrs Bituminus road with soulder at both the side & shall have drain on both side of the road as per technical specification indicated in the civil section( Periphery roads outside switch yard fencing and colony roads) | Mtrs | 50 | 50 | 100
8.2 | 7 mtrs wide Bituminus roads with shoulder as per specification indicated in the civil section.( for main and approach roads).Shall have drain on both side of the road. | Mtrs | 36 | 36 | 72
TOTAL OF CIVIL WORKS (B)
TOTAL OF PART-I ( SUM OF ELECTRICAL WORKS AND CIVIL WORKS) (A +B)
NOTE | Before filling up rate/amount etc. in the schedules bidders are requested to read carefully the instruction given in Vol-I of Bidding Document.
Bidders are required to fill up amount in all column except shaded portion.
Bidders are requested not to leave any column blank. If any column is left blank it shall be considered that amount against those items are included in any other item and the total amount for that item shall be calculated as free of cost (Zero value). No rate shall be furnished/obtained after bid opening (Ref clause no 33.4.1 of INB vol-I)
Kindly enclose soft copy of the duly filled schedule in a CD with the priced copy of Bid.
Bidder has to quote rates excluding service tax (if any), service tax shall be paid/reimbursed as per conditions of Bid Document.
*Bus-Bar Protection for the proposed bay extension work: Bidder to ascertain the existing Bus-Bar scheme and accordingly propose the same.
| Date | ( Designation ) ……………………… |  | (Signature) ……………………………
| Place | (Common Seal) ……………………… |  | ( Name) ………………………………

## Schedule 2A line
ORISSA POWER TRANSMISSION CORPORATION LIMITED
Construction of 220KV Double Circuit line from Jayanagar 220/132/32 KV substation of OPTCL to 400/220 KV substation of PGCIL at Jeypore with 2 Nos 220 KV feeder bays each at both ends
NOTICE INVITING TENDER-NIT NO.52/2011-12 Bid Document No. Sr. G.M-CPC-TENDER- PACKAGE 61-01 / 2012
(Equipment/Materials Price Break-up of Ex-works Prices against Package 61-01 / 2012)
Bidder's Name & Address : |  | To,
Orissa Power Transmission Corporation Ltd.,Bhubneshwar
Dear Sir, We hereby furnish the detailed price break-up of the equipment covered under the entire scope of Construction of Sub-Station along with transmission line and associated system against the subject Package. (Bidder shall quote price for the following items, price of all accessories, assemblies, Components, part etc. associated with these items are to be included in bidder quoted price for all these items).
PART-II SCHEDULE-2A (FOR LINE)
S. No. | DESCRIPTION OF ITEMS |  |  |  | ( PRICE IN INDIAN RUPEES)
S. No. | SUPPLY OF FOLLOWING EQUIPMENTS ALONG WITH HOT DIP GALVANISED STRUCTURE (As per Technical Specification) | UNITS | UNIT WEIGHT IN MT(FOR STRUCTURAL MATERIALS) | QUANTITY FOR: CONSTRUCTION OF . 220 KV D/C CONNECTING LINE ON D/C TOWER FROM 220/132/33kV S/S JAYANAGAR TO 400/ 220kV S/S OF PGCIL ,JEYPORE (TOTAL LINE LENGTH : 8.608 KM) | Unit Ex-Works Price | Total Ex-Works Price | Mode of Transaction (Direct or Bought-out item) | Total Taxes & Duties applicable for transaction between bidder and OPTCL and not included in the price at Column(6) [For bought-out items, taxes & duties excluding Octroi/Entry Tax are invariably included in the price quoted at column(6)]
[8 empty] | Excise Duty | VAT/Sales Tax | Other Levies (if any)
1 | 2 | 3 | 4 | 4 | 5 | 6 | 7 | 8 | 9 | 10
1 | SUPPLY of Following type tested Lattice type Galvanized steel tangent / Angle tower with stubs and cleats , different type of G.I HT Nuts & Bolts, washer, spring washer for the above type towers ,hanger and all accessories, tower super structure complete including step bolts. Supply of black bituminous paint for three coats up to a height of 500mm above the cooping(legs & bracing members). All Supply should confirm to the Technical Specification laid there in the Tender Specification.
1.1 | OA TYPE (SUSPENSION ) TOWERS ( Nominal unit Weight 4.351 MT) | Nos. | 4.351 | 19
1.1.1 | +3 EXTENSION ( Nominal unit Weight 0.727 MT) | Nos. | 0.727 | 5
1.1.2 | +6 EXTENSION ( Nominal unit Weight 1.448 MT) | Nos. | 1.448 | 1
1.2 | OB TYPE (30 deg ANGLE ) TOWERS ( Nominal unit Weight 7.574 MT) | Nos. | 7.574 | 0
1.2.1 | +3 EXTENSION ( Nominal unit Weight 1.208 MT) | Nos. | 1.208 | 0
1.2.2 | +6 EXTENSION ( Nominal unit Weight 2.185 MT) | Nos. | 2.185 | 0
1.3 | OC TYPE (60 deg ANGLE ) TOWERS ( Nominal unit Weight 9.839 MT) | Nos. | 9.839 | 15
1.3.1 | +3 EXTENSION ( Nominal unit Weight 1.474 MT) | Nos. | 1.474 | 4
1.3.2 | +6 EXTENSION ( Nominal unit Weight 2.536 MT) | Nos. | 2.536 | 2
1.3.3 | 15 EXTENSION ( Nominal unit Weight 8.665 MT) | Nos. | 8.665 | 3
1.4 | Lattice type galvanised steel angle tower UR type ( Nominal unit Weight 13.586 MT) | Nos. | 13.586 | 3
1.4.1 | +6 EXTENSION TO UR ( Nominal unit Weight 4.159 MT) | Nos. | 4.159 | 3
1.5 | TOTAL WT. OF TOWER | MT |  | 325.535
1.6 | TEMPLATES(OA-2NOS,OC-1NO,OC+15-1NO & UR-1NO) | MT |  | 5.609
1.7 | GI Nuts and Bolts with spring washers, Packing washers | MT |  | 12
2 | Supply, of the following tower accessories as per technical specification and as directed by the engineer in charge.
2.1 | EARTHING DEVICE | SET |  | 37
2.2 | DANGER BOARD | Nos. |  | 37
2.3 | NUMBER PLATE | Nos. |  | 37
2.4 | PHASE PLATE | Nos. |  | 183
2.5 | BIRD GUARD | Nos. |  | 114
2.6 | ANTICLIMBING DEVICE | Nos. |  | 37
2.7 | CIRCUIT PLATE | Nos. |  | 74
3 | SUPPLY OF POWER CONDUCTORS IN THE PROPOSED 220KV LINES WITH 1.5% PROVISION FOR SAG AND WASTAGE AS PER THE TECHNICAL SPECIFICATION AND AS PER THE INSTRUCTION OF THE ENGINEER IN CHARGE.
3.1 | ACSR Zebra (54/7/3.18mm) | Kms. | - | 46
4 | POWER CONDUCTOR ACESSORIES
4.1 | For ACSR ZEBRA
4.1.1 | MID SPAN COMPRESSION JOINT | Nos. | - | 47
4.1.2 | PERFORMED ARMOUR ROD | Nos. | - | 114
4.1.3 | STOCK BRIDGE VIBRATION DAMPER | Nos. | - | 444
4.1.4 | REPAIR SLEEVE | Nos. | - | 47
5 | SUPPLY OF THE GI EARTH WIRE OF SIZE 7/3.15 MM AS PER THE TECHNICAL SPECIFICATION, WITH 1.5% PROVISION FOR SAG & WASTAGE AND AS PER THE DIRECTION OF ENGINEER IN CHARGE. | Kms. | - | 10
6 | EARTH CONDUCTOR ACESSORIES
6.1 | STOCK BRIDGE VIBRATION DAMPER | Nos. | - | 92
6.2 | FLEXIBLE COPPER EARTH BOND | Nos. | - | 55
6.3 | SUSPENSION CLAMP | Nos. | - | 19
6.4 | TENSION CLAMP | Nos. | - | 54
6.5 | MID-SPAN COMPRESSION JOINT | Nos. | - | 10
6.6 | U ' BOLT | Nos. | - | 20
7 | Supply of the following antifog disc insulators as per the technical specification and as per the instruction of the Engineer in charge.
7.1 | 90KN Insulator (taking 5% extra towards wastage)(for suspension) | Nos. | - | 1800
7.2 | 160KN Insulator (taking 5% extra towards wastage)(for tension) | Nos. | - | 2600
8 | Supply, of the following hard ware fittings suitable for following conductors as per the technical specification.
8.1 | For ACSR ZEBRA
8.1.1 | Single suspension Hard wares fittings(AGS type) suitable for 90 KN disc insulator. | Nos. | - | 120
8.1.2 | Double suspension Hard wares fittings(AGS type) suitable for 90 KN disc insulator. | Nos. |  | 20
8.1.3 | Single tension Hard wares fittings suitable for 160 KN disc insulator. | Nos. | - | 142
8.1.4 | Double tension Hard wares fittings suitable for 160 KN insulator. | Nos. | - | 18
8.1.5 | HANGERS | Nos. | - | 50
8.1.6 | U-BOLT | Nos. | - | 20
8.1.7 | D-SHACKLE | Nos. | - | 50
TOTAL OF LINE (PART-II)-SCEDULE-2A
TOTAL OF SUBSTATION (PART-I)-SCEDULE-2A
GRAND TOTAL OF SCHEDULE 2A (PART-I+PART-II)
Note: 1. Before filling up rate/amount etc. in the schedules bidders are requested to read carefully the instruction given in Vol-I of Bidding Document.
2 | Bidders are required to fill up amount in all column except shaded portion.
3 | Bidders are requested not to leave any column blank. If any column is left blank it shall be considered that amount against those items are included in any other item and the total amount for that item shall be calculated as free of cost (Zero value). No rate shall be furnished/obtained after bid opening (Ref clause no 33.4.1 of INB vol-I)
4 | Kindly enclose soft copy of the duly filled schedule in a CD with the priced copy of Bid.
5 | In mode of transaction column please indicate Direct/Bought-Out. For Taxes & Duties on Direct/Bought-out items ref clause 6.0 of SCC (Vol-IA)
(Signature) ……………………………………………
| Date : |  |  |  |  | ( Name) ………………………………………………
| Place : |  |  |  |  | ( Designation ) ……………………………………….
(Common Seal) ……………………………………

## Schedule 2B line
ORISSA POWER TRANSMISSION CORPORATION LIMITED
Construction of 220KV Double Circuit line from Jayanagar 220/132/32 KV substation of OPTCL to 400/220 KV substation of PGCIL at Jeypore with 2 Nos 220 KV feeder bays each at both ends
NOTICE INVITING TENDER-NIT NO.52/2011-12 Bid Document No. Sr. G.M-CPC-TENDER- PACKAGE 61-01 / 2012
(Equipment/Materials Price Break-up of Ex-works Prices against Package 61-01 / 2012 )
Bidder's Name & Address : |  |  | To,
Orissa Power Transmission Corporation Ltd.,Bhubneshwar
Dear Sir, We hereby furnish the detailed price break-up of the equipment covered under the entire scope of Construction of Sub-Station along with transmission line and associated system against the subject Package. (Bidder shall quote price for the following items, price of all accessories, assemblies, Components, part etc. associated with these items are to be included in bidder quoted price for all these item.
PART-II SCHEDULE-2B (FOR LINE)
S. No. | DESCRIPTION OF ITEMS |  |  |  | ( PRICE IN INDIAN RUPEES)
S. No. | F&I FOR SUPPLY OF FOLLOWING EQUIPMENTS ALONG WITH HOT DIP GALVANISED STRUCTURE (As per Technical Specification) | UNITS | UNIT WEIGHT IN MT(FOR STRUCTURAL MATERIALS) | CONSTRUCTION OF . 220 KV D/C CONNECTING LINE ON D/C TOWER FROM 220/132/33kV S/S JAYANAGAR TO 400/ 220kV S/S OF PGCIL ,JEYPORE TOTAL LINE LENGTH 8.608 KM | Unit F&I Charges | Total F&I Charges
1 | 2 | 3 | 4 | 4 | 5 | 6
1 | SUPPLY of Following type tested Lattice type Galvanized steel tangent / Angle tower with stubs and cleats , different type of G.I HT Nuts & Bolts, washer, spring washer for the above type towers ,hanger and all accessories, tower super structure complete including step bolts. Supply of black bituminous paint for three coats up to a height of 500mm above the cooping(legs & bracing members). All Supply should confirm to the Technical Specification laid there in the Tender Specification.
1.1 | OA TYPE (SUSPENSION ) TOWERS ( Nominal unit Weight 4.351 MT) | Nos. | 4.351 | 19
1.1.1 | +3 EXTENSION ( Nominal unit Weight 0.727 MT) | Nos. | 0.727 | 5
1.1.2 | +6 EXTENSION ( Nominal unit Weight 1.448 MT) | Nos. | 1.448 | 1
1.2 | OB TYPE (30 deg ANGLE ) TOWERS ( Nominal unit Weight 7.574 MT) | Nos. | 7.574 | 0
1.2.1 | +3 EXTENSION ( Nominal unit Weight 1.208 MT) | Nos. | 1.208 | 0
1.2.2 | +6 EXTENSION ( Nominal unit Weight 2.185 MT) | Nos. | 2.185 | 0
1.3 | OC TYPE (60 deg ANGLE ) TOWERS ( Nominal unit Weight 9.839 MT) | Nos. | 9.839 | 15
1.3.1 | +3 EXTENSION ( Nominal unit Weight 1.474 MT) | Nos. | 1.474 | 4
1.3.2 | +6 EXTENSION ( Nominal unit Weight 2.536 MT) | Nos. | 2.536 | 2
1.3.3 | 15 EXTENSION ( Nominal unit Weight 8.665 MT) | Nos. | 8.665 | 3
1.4 | Lattice type galvanised steel angle tower UR type ( Nominal unit Weight 13.586 MT) | Nos. | 13.586 | 3
1.4.1 | +6 EXTENSION TO UR ( Nominal unit Weight 4.159 MT) | Nos. | 4.159 | 3
1.5 | TOTAL WT. OF TOWER | MT |  | 325.535
1.6 | TEMPLATES(OA-2NOS,OC-1NO,OC+15-1NO & UR-1NO) | MT |  | 5.609
1.7 | GI Nuts and Bolts with spring washers, Packing washers | MT |  | 12
2 | Supply, of the following tower accessories as per technical specification and as directed by the engineer in charge.
2.1 | EARTHING DEVICE | SET |  | 37
2.2 | DANGER BOARD | Nos. |  | 37
2.3 | NUMBER PLATE | Nos. |  | 37
2.4 | PHASE PLATE | Nos. |  | 183
2.5 | BIRD GUARD | Nos. |  | 114
2.6 | ANTICLIMBING DEVICE | Nos. |  | 37
2.7 | CIRCUIT PLATE | Nos. |  | 74
3 | SUPPLY OF POWER CONDUCTORS IN THE PROPOSED 220KV LINES WITH 1.5% PROVISION FOR SAG AND WASTAGE AS PER THE TECHNICAL SPECIFICATION AND AS PER THE INSTRUCTION OF THE ENGINEER IN CHARGE.
3.1 | ACSR Zebra (54/7/3.18mm) | Kms. | - | 46
4 | POWER CONDUCTOR ACESSORIES
4.1 | For ACSR ZEBRA
4.1.1 | MID SPAN COMPRESSION JOINT | Nos. | - | 47
4.1.2 | PERFORMED ARMOUR ROD | Nos. | - | 114
4.1.3 | STOCK BRIDGE VIBRATION DAMPER | Nos. | - | 444
4.1.4 | REPAIR SLEEVE | Nos. | - | 47
5 | SUPPLY OF THE GI EARTH WIRE OF SIZE 7/3.15 MM AS PER THE TECHNICAL SPECIFICATION, WITH 1.5% PROVISION FOR SAG & WASTAGE AND AS PER THE DIRECTION OF ENGINEER IN CHARGE. | Kms. | - | 10
6 | EARTH CONDUCTOR ACESSORIES
6.1 | STOCK BRIDGE VIBRATION DAMPER | Nos. | - | 92
6.2 | FLEXIBLE COPPER EARTH BOND | Nos. | - | 55
6.3 | SUSPENSION CLAMP | Nos. | - | 19
6.4 | TENSION CLAMP | Nos. | - | 54
6.5 | MID-SPAN COMPRESSION JOINT | Nos. | - | 10
6.6 | U ' BOLT | Nos. | - | 20
7 | Supply of the following antifog disc insulators as per the technical specification and as per the instruction of the Engineer in charge.
7.1 | 90KN Insulator (taking 5% extra towards wastage)(for suspension) | Nos. | - | 1800
7.2 | 160KN Insulator (taking 5% extra towards wastage)(for tension) | Nos. | - | 2600
8 | Supply, of the following hard ware fittings suitable for following conductors as per the technical specification.
8.1 | For ACSR ZEBRA
8.1.1 | Single suspension Hard wares fittings(AGS type) suitable for 90 KN disc insulator. | Nos. | - | 120
8.1.2 | Double suspension Hard wares fittings(AGS type) suitable for 90 KN disc insulator. | Nos. |  | 20
8.1.3 | Single tension Hard wares fittings suitable for 160 KN disc insulator. | Nos. | - | 142
8.1.4 | Double tension Hard wares fittings suitable for 160 KN insulator. | Nos. | - | 18
8.1.5 | HANGERS | Nos. | - | 50
8.1.6 | U-BOLT | Nos. | - | 20
8.1.7 | D-SHACKLE | Nos. | - | 50
TOTAL OF LINE (PART-II)-SCEDULE-2A
TOTAL OF SUBSTATION (PART-I)-SCEDULE-2A
GRAND TOTAL OF SCHEDULE 2A (PART-I+PART-II)
Note | 1. Before filling up rate/amount etc. in the schedules bidders are requested to read carefully the instruction given in Vol-I of Bidding Document.
2. Bidders are required to fill up amount in all column except shaded portion.
3. Bidders are requested not to leave any column blank. If any column is left blank it shall be considered that amount against those items are included in any other item and the total amount for that item shall be calculated as free of cost (Zero value). No rate shall be furnished/obtained after bid opening (Ref clause no 33.4.1 of INB vol-I)
4. Kindly enclose soft copy of the duly filled schedule in a CD with the priced copy of Bid.
5. In mode of transaction column please indicate Direct/Bought-Out. For Taxes & Duties on Direct/Bought-out items ref clause 6.0 of SCC (Vol-IA)
Date : | ( Designation ) ………………………………………. |  |  | (Signature) ……………………………………………
Place : | (Common Seal) …………………………………… |  |  | ( Name) ………………………………………………

## Schedule 2C line
ORISSA POWER TRANSMISSION CORPORATION LIMITED
Construction of 220KV Double Circuit line from Jayanagar 220/132/32 KV substation of OPTCL to 400/220 KV substation of PGCIL at Jeypore with 2 Nos 220 KV feeder bays each at both ends
NOTICE INVITING TENDER-NIT NO.52/2011-12 Bid Document No. Sr. G.M-CPC-TENDER- PACKAGE 61-01 / 2012
(Equipment/Materials Price Break-up of Ex-works Prices against Package-PACKAGE 61-01 / 2012)
Bidder's Name & Address: |  | To,
Orissa Power Transmission Corporation Ltd.,Bhubneshwar
Dear Sir,
We hereby furnish the detailed price break-up of the equipment covered under the entire scope of Construction of Sub-Station along with Transmission line and associated system against the subject Package. (Bidder shall quote price for the following items, price of all accessories, assemblies, components, part etc. associated with these items are to be included in bidder quoted price for all these items). (All price in Rs.)
PART-II, SCHEDULE-2C (FOR LINE)
S. No. | DESCRIPTION OF ITEMS ERECTION,TESTING & COMMISSIONING OF FOLLOWING EQUIPMENTS ALONG WITH CIVIL WORKS (As per Technical Specification) |  |  |  | PRICE IN INDIAN RUPEES
|  |  | UNIT WEIGHT IN MT(FOR STRUCTURAL MATERIALS) |  | Erection Charges
|  | UNITS |  | CONSTRUCTION OF . 220 KV D/C CONNECTING LINE ON D/C TOWER FROM 220/132/33kV S/S JAYANAGAR TO 400/ 220kV S/S OF PGCIL ,JEYPORE TOTAL LINE LENGTH 8.608 KM | Unit Rate | Total Price
1 | 2 | 3 | 4 | 4 | 5 | 6
A | ELECTRICAL WORKS
1 | ERECTION of Following type tested Lattice type Galvanized steel tangent / Angle tower with stubs and cleats , different type of G.I HT Nuts & Bolts, washer, spring washer for the above type towers ,hanger and all accessories, tower super structure complete including step bolts. Supply of black bituminous paint for three coats up to a height of 500mm above the cooping(legs & bracing members). All Supply should confirm to the Technical Specification laid there in the Tender Specification. Erection of templates.
1.1 | OA TYPE (SUSPENSION ) TOWERS ( Nominal unit Weight 4.351 MT) | Nos. | 4.351 | 19
1.1.1 | +3 EXTENSION ( Nominal unit Weight 0.727 MT) | Nos. | 0.727 | 5
1.1.2 | +6 EXTENSION ( Nominal unit Weight 1.448 MT) | Nos. | 1.448 | 1
1.2 | OB TYPE (30 deg ANGLE ) TOWERS ( Nominal unit Weight 7.574 MT) | Nos. | 7.574 | 0
1.2.1 | +3 EXTENSION ( Nominal unit Weight 1.208 MT) | Nos. | 1.208 | 0
1.2.2 | +6 EXTENSION ( Nominal unit Weight 2.185 MT) | Nos. | 2.185 | 0
1.3 | OC TYPE (60 deg ANGLE ) TOWERS ( Nominal unit Weight 9.839 MT) | Nos. | 9.839 | 15
1.3.1 | +3 EXTENSION ( Nominal unit Weight 1.474 MT) | Nos. | 1.474 | 4
1.3.2 | +6 EXTENSION ( Nominal unit Weight 2.536 MT) | Nos. | 2.536 | 2
1.3.3 | 15 EXTENSION ( Nominal unit Weight 8.665 MT) | Nos. | 8.665 | 3
1.4 | Lattice type galvanised steel angle tower UR type ( Nominal unit Weight 13.586 MT) | Nos. | 13.586 | 3
1.4.1 | +6 EXTENSION TO UR ( Nominal unit Weight 4.159 MT) | Nos. | 4.159 | 3
1.5 | TOTAL WT. OF TOWER | MT |  | 325.535
1.6 | TEMPLATES(OA-2NOS,OC-1NO,OC+15-1NO & UR-1NO) | MT |  | 5.609
1.7 | GI Nuts and Bolts with spring washers, Packing washers | MT |  | 12
2 | Supply, of the following tower accessories as per technical specification and as directed by the engineer in charge.
2.1 | EARTHING DEVICE | SET |  | 37
2.2 | DANGER BOARD | Nos. |  | 37
2.3 | NUMBER PLATE | Nos. |  | 37
2.4 | PHASE PLATE | Nos. |  | 183
2.5 | BIRD GUARD | Nos. |  | 114
2.6 | ANTICLIMBING DEVICE | Nos. |  | 37
2.7 | CIRCUIT PLATE | Nos. |  | 74
3 | ERECTION OF POWER CONDUCTORS IN THE PROPOSED 220KV LINES WITH 1.5% PROVISION FOR SAG AND WASTAGE AS PER THE TECHNICAL SPECIFICATION AND AS PER THE INSTRUCTION OF THE ENGINEER IN CHARGE.
3.1 | ACSR Zebra (54/7/3.18mm) | Kms. | - | 46
4 | POWER CONDUCTOR ACESSORIES
4.1 | For ACSR ZEBRA
4.1.1 | MID SPAN COMPRESSION JOINT | Nos. | - | 47
4.1.2 | PERFORMED ARMOUR ROD | Nos. | - | 114
4.1.3 | STOCK BRIDGE VIBRATION DAMPER | Nos. | - | 444
4.1.4 | REPAIR SLEEVE | Nos. | - | 47
5 | ERECTION OF THE GI EARTH WIRE OF SIZE 7/3.15 MM AS PER THE TECHNICAL SPECIFICATION, WITH 1.5% PROVISION FOR SAG & WASTAGE AND AS PER THE DIRECTION OF ENGINEER IN CHARGE. | Kms. | - | 10
6 | EARTH CONDUCTOR ACESSORIES
6.1 | STOCK BRIDGE VIBRATION DAMPER | Nos. | - | 92
6.2 | FLEXIBLE COPPER EARTH BOND | Nos. | - | 55
6.3 | SUSPENSION CLAMP | Nos. | - | 19
6.4 | TENSION CLAMP | Nos. | - | 54
6.5 | MID-SPAN COMPRESSION JOINT | Nos. | - | 10
6.6 | U ' BOLT | Nos. | - | 20
7 | ERECTION of the following antifog disc insulators as per the technical specification and as per the instruction of the Engineer in charge.
7.1 | 90KN Insulator (taking 5% extra towards wastage)(for suspension) | Nos. | - | 1800
7.2 | 160KN Insulator (taking 5% extra towards wastage)(for tension) | Nos. | - | 2600
8 | ERECTION, of the following hard ware fittings suitable for following conductors as per the technical specification.
8.1 | For ACSR ZEBRA
8.1.1 | Single suspension Hard wares fittings(AGS type) suitable for 90 KN disc insulator. | Nos. | - | 120
8.1.2 | Double suspension Hard wares fittings(AGS type) suitable for 90 KN disc insulator. | Nos. |  | 20
8.1.3 | Single tension Hard wares fittings suitable for 160 KN disc insulator. | Nos. | - | 142
8.1.4 | Double tension Hard wares fittings suitable for 160 KN insulator. | Nos. | - | 18
8.1.5 | HANGERS | Nos. | - | 50
8.1.6 | U-BOLT | Nos. | - | 20
8.1.7 | D-SHACKLE | Nos. | - | 50
8.1.6 | D-SHACKLE | Nos. | - | 50
TOTAL ELECTRICAL WORKS (A)
B | CIVIL WORKS
1 | SURVEY OF LINE & PREPARATION LAND SCHEDULE: Supply of required T&P’s, Technical personnel’s, labours for conducting
1.1 | Preliminary survey, Detail survey and resurvey (required for avoiding ROW problem) including but not limited to taking of levels, profile plotting, tower spotting ,marking of towers locations at site including showing P&T line, power line, Railway line, river crossing, roads and submission of route map and survey report etc. The P&T lines and railway lines for a minimum distance of 8 kms on either side of alignment shall be clearly indicated. | Kms. |  | 8.608
1.2 | Check survey including supply of all labour, T&P as per instruction of Engineer in Charge and as per the approved profile. | Kms. |  | 8.608
1.3 | Preparation of land schedule on revenue (if required)maps indicating alignment therein duly authenticated by Revenue Inspector & Tahasildar, enumeration of trees with the help of Forest officer and other prominent features required for alignment of the proposed 220 KV line. Final route to be plotted on 1:50000 topo sheet for approval. | Kms. |  | 8.608
2.0 | Detail soil investigation | Location |  | 5
3.0 | FOUNDATION MATERIALS: Supply of all materials like cement, steel, all coarse aggregates, fine aggregates and making foundations of the required above mentioned type towers as per the direction laid down in the technical specification and the direction of the site- in charge
3.1 | Excavation in all type soil ( Normal soil/Soft soil, submerged soil,wet soil) and rocks and back filling (back filling shall be done in layers of 500mm sprinkling of water and compaction thereafter and disposed of excess quantity of excavated soil at suitable place after back filling), & if required for filling the foundation, borrowed earth/murrum/sand shall be brought for filling and compaction, including supply of sand, all T&P, labour as required.
3.1.1 | Soft Soil | CUM |  | 38
3.1.2 | Wet Soil | CUM |  | 10
3.1.3 | Dry dence soil | CUM |  | 1722
3.1.4 | Partially submerged soil | CUM |  | 3180
3.1.5 | Fully Submerged soil | CUM |  | 556
3.1.6 | Soft rock (not required blasting) | CUM |  | 1317
3.1.7 | Hard Rock required blasting/using rock breaking machine. | CUM |  | 100
4.0 | Design, Engineering and laying of reinforced cement concrete (RCC 1:1.5:3) of grade M20 for open cast foundation with supply of approved quality coarse aggregates(Nominal size 12mm to 20mm) ,fine aggregates, cement and steel of different size(as per design) with cutting, bending, binding with supply of binding wire & positioning in tower foundation and inclusive of labour charges for concrete mixing, supply and fixing of form boxes, curing,shoring, shuttering, testing of sample cement concrete cubes as per IS. The height of the coping shall be 350mm above the finished concrete level. The surrounding area shall be clear from materials. Damage of land if any by the contractor shall be repaired before measurement. This includes supply of all labourers, T&P and dewatering wherever required as per Technical specification and instruction of Engineer In charge. | CUM |  | 1100
4.1 | Design, Engineering, Providing and laying of plain cement concrete (PCC 1:3:6) of grade M10 with approved quality coarse aggregates (Nominal size 12mm to 20mm) , fine aggregates, cement in tower foundation as blind layer inclusive of labour charges for concrete mixing & curing. This includes supply of all labourers, T&P and dewatering wherever required as per Technical specification and instruction of Engineer In charge. | CUM |  | 122
4.2 | Soaring and shuttering | SQ MT |  | 4320
4.3 | De Watering (HP Hr) | Hour |  | 2400
5.0 | Supply & painting of black bituminous paints three coats shall be provided up to a height of 500mm above the cooping(both leg & bracing members) | Location |  | 37
6.0 | Supply of all materials for continuous welding of bolts & nuts (around the bolts) up to top of tower without cross arm, including welding rods, welding generator machine (diesel engine optd.), application of required zinc rich paints around the welding portion (two coats),fuel,lubricants,T&P and labours. | Nos. |  | 36000
7.0 | Revetment work for protection of tower footing
7.1 | Excavation (soft soil) | CUM |  | 650
7.2 | PCC(1:3:6) with cement | CUM |  | 34
7.3 | PCC(1:2:4) with cement | CUM |  | 9
7.4 | RR masonary | CUM |  | 420
7.5 | Back filling | CUM |  | 520
8.0 | PTCC approval, railway crossing has to be obtained by submitting the required documents to the concerned department through OPTCL. Way-Leave blockade charges and any other charges are to be borne by the bidders. The documents for PTCC clearance & Railway clearance including required drawings etc has to be submitted by the contractor within 5 months of award of contract. Beyond the above period L.D as applicable & the amount shall be deducted as specified in the specification. | LS |  | 1
TOTAL CIVIL WORKS (B)
TOTAL OF LINE (PART-II)2C (A+B)
TOTAL OF SUBSTATION (PART-I)2C (A+B)
GRAND TOTAL OF SCHEDULE 2C (PART-I+PART-II)
Note:
1 | Before filling up rate/amount etc. in the schedules bidders are requested to read carefully the instruction given in Vol-I of Bidding Document.
2 | Bidders are required to fill up amount in all column except shaded portion.
3 | Bidders are requested not to leave any column blank. If any column is left blank it shall be considered that amount against those items are included in any other item and the total amount for that item shall be calculated as free of cost (Zero value). No rate shall be furnished/obtained after bid opening (Ref clause no 33.4.1 of INB vol-I) .
4 | Kindly enclose soft copy of the duly filled schedule in a CD with the priced copy of Bid.
5 | Bidder has to quote rates excluding service tax (if any), service tax shall be paid/reimbursed as per conditions of Bid Document.
Date :
Place : |  | (Signature) ……………………………………………
( Name) ………………………………………………
( Designation ) ……………………………………….
(Common Seal) ……………………………………