## BERHAMPUR
BERHAMPUR CIRCLE Name of Sub-Station | Balugaon | Berhampur | Chhatrapur | Digapahandi | Ganjam | Mohana | Narendrapur | Aska | Bhanjanagar | Phulabani | TOTAL
Description of Bay & Voltage (kV) | 132/33 | 132/33 | 132/33 | 132/33 | 132/33 | 132/33 | 220/132/33 | 132/33 | 220/132/33 | 132/33
Year of Commissioning | 1991 | 1964 | 1982 | 2004 | 1967 | 1973 | 1999 | 1975 | 1984 | 1986
(A) 400 KV | [10 empty] | 0
1. FEEDER BAY | [10 empty] | 0
2. REACTOR BAY | [10 empty] | 0
3. B C / TIE / DIA BAY | [10 empty] | 0
4. TRANS. BAY | [10 empty] | 0
5. 400/220KV TRANSFORMERS | [10 empty] | 0
(i) 315 MVA ICT | [10 empty] | 0
(B) 220 KV | [10 empty] | 0
1. FEEDER BAY | [6 empty] | 4 |  | 6 |  | 10
2. B C / TIE.BAY | [6 empty] | 1 |  | 4 |  | 5
3. TRANS. BAY | [6 empty] | 2 |  | 2 |  | 4
4. 220/132 KV TRANSFORMERS | [10 empty] | 0
(i) 160 MVA | [6 empty] | 2 |  | 1 |  | 3
(ii) 100 MVA | [8 empty] | 1 |  | 1
(iii) 50MVA | [10 empty] | 0
5. 220/33 kV TRANSFORMERS | [10 empty] | 0
(i) 40 MVA | [10 empty] | 0
(ii) 20 MVA | [10 empty] | 0
(C) 132 KV | [10 empty] | 0
1. FEEDER BAY | 3 | 4 | 9 | 2 | 2 | 2 | 7 | 5 | 3 | 1 | 38
2. B.C.BAY | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 8
3. TRANS BAY | 3 | 4 | 3 | 3 | 2 | 1 | 4 | 3 | 4 | 3 | 30
4.132/33/11 KV TRANSFORMERS | [10 empty] | 0
(i) 40MVA | 1 | 2 |  |  |  |  | 1 | 2 | 1 | 1 | 8
(ii) 35 MVA | [10 empty] | 0
(iii) 31.5MVA | [10 empty] | 0
(iv) 20 MVA | 1 | 1 | 3 | 2 |  |  | 1 | 1 |  |  | 9
(v) 16 MVA | [8 empty] | 1 |  | 1
(vi) 12.5 MVA | 1 | 1 |  | 1 | 2 | 1 |  |  |  | 2 | 8
(vii) 10 MVA | [10 empty] | 0
(viii) 7.5 MVA | [10 empty] | 0
(ix) 5MVA | [10 empty] | 0
5.132/25 KV TRANSFORMERS | [10 empty] | 0
(i) 12.5 MVA | [10 empty] | 0
(D) 33 KV | [10 empty] | 0
1. FEEDER BAY | 5 | 6 | 5 | 5 | 2 | 2 | 6 | 6 | 4 | 5 | 46
2. B.C.BAY | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10
3. TRANS BAY | 3 | 3 | 4 | 3 | 2 | 1 | 2 | 4 | 2 | 3 | 27
4. 33/11 KV TARNSFORMERS | [10 empty] | 0
(i) 8 MVA | [10 empty] | 0
(ii) 7.5 MVA | [10 empty] | 0
(iii) 5 MVA | [10 empty] | 0
(iv) 3.15 MVA | [10 empty] | 0
5. Stn.Tfr.100/200/250/500/750/1000 KVA 33/0.4 Kv | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 11
6.CAPACITOR BANK | [10 empty] | 0
(i) 5 MVAR | [10 empty] | 0
(ii) 10 MVAR | [10 empty] | 0
(E) 25 KV | [10 empty] | 0
1.FEEDER BAY | [10 empty] | 0
2.B.C.BAY | [10 empty] | 0
3.TRANS BAY | [10 empty] | 0
(F) 11 KV | [10 empty] | 0
1.FEEDER BAY | [10 empty] | 0
2.B.C.BAY | [10 empty] | 0
3.TRANS BAY | [10 empty] | 0
5. Stn.Tfr.100/250 KVA 11/0.4 kV | [10 empty] | 0
6.CAPACITOR BANK | [10 empty] | 0
(i) 25 MVAR | [10 empty] | 0

## BURLA
BURLA CIRCLE Name of Sub-Station | Bargarh | Barpali | Bolangir | New Bolangir | Patnagarh | Sonepur | Aryan-Viraj Sw. Stn. | Brajarajnagar | Budhipadar | Jharsuguda | Katapali | Rairakhol | Sambalpur | Shyam DRI Sw. Stn. | Barkote | Chhend | Rajgangpur | Rourkela | Shree Ganesh Metaliks Sw. Stn. | Sundargarh | Tarkera | TOTAL
Description of Bay & Voltage (kV) | 132/33 | 132/33 | 132/33 | 220/132/33 | 132/33 | 132/33 | 132 | 132/33/11 | 220/132/33 | 132/11 | 220/132/33 | 132/33 | 132/33 | 132 | 220/33 | 132/33 | 132/33 | 132/33/25 | 132 | 132/33 | 220/132
Year of Commissioning | 1979 | 2010 | 1981 | 2010 | 2001 | 2001 | 2009 | 1969 | 1995 | 1958 | 2004 | 2001 | 1988 | 2006 | 2001 | 1999 | 1973 | 1958 | 2011 | 2003 | 1981
(A) 400 KV | [21 empty] | 0
1. FEEDER BAY | [21 empty] | 0
2. REACTOR BAY | [21 empty] | 0
3. B C / TIE / DIA BAY | [21 empty] | 0
4. TRANS. BAY | [21 empty] | 0
5. 400/220KV TRANSFORMERS | [21 empty] | 0
(i) 315 MVA ICT | [21 empty] | 0
(B) 220 KV | [21 empty] | 0
1. FEEDER BAY |  |  |  | 2 |  |  |  |  | 19 |  | 4 |  |  |  | 2 | [5 empty] | 6 | 33
2. B C / TIE.BAY |  |  |  | 2 |  |  |  |  | 2 |  | 2 |  |  |  | 1 | [5 empty] | 1 | 8
3. TRANS. BAY |  |  |  | 2 |  |  |  |  | 2 |  | 2 |  |  |  | 2 | [5 empty] | 4 | 12
4. 220/132 KV TRANSFORMERS | [21 empty] | 0
(i) 160 MVA | [8 empty] | 2 | [12 empty] | 2
(ii) 100 MVA |  |  |  | 2 | [6 empty] | 2 | [9 empty] | 4 | 8
(iii) 50MVA | [21 empty] | 0
5. 220/33 kV TRANSFORMERS | [21 empty] | 0
(i) 40 MVA | [14 empty] | 1 | [6 empty] | 1
(ii) 20 MVA | [14 empty] | 1 | [6 empty] | 1
(C) 132 KV | [21 empty] | 0
1. FEEDER BAY | 4 | 2 | 4 | 4 | 1 | 1 | 2 | 1 | 11 | 5 | 4 | 2 | 3 | 3 |  | 4 | 7 | 5 | 3 | 2 | 11 | 79
2. B.C.BAY | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 19
3. TRANS BAY | 3 | 2 | 2 | 3 | 3 | 3 | 2 | 5 | 4 | 2 | 5 | 2 | 3 | 1 |  | 3 | 2 | 5 |  | 2 | 4 | 56
4.132/33/11 KV TRANSFORMERS | [21 empty] | 0
(i) 40MVA | 3 |  | 2 | [7 empty] | 1 |  | 1 |  |  | 3 | 2 |  |  | 1 |  | 13
(ii) 35 MVA | [17 empty] | 4 |  |  |  | 4
(iii) 31.5MVA | [12 empty] | 2 | [8 empty] | 2
(iv) 20 MVA |  |  |  |  | 1 | 1 |  | 3 | 1 | 1 | 2 | [8 empty] | 1 |  | 10
(v) 16 MVA | [21 empty] | 0
(vi) 12.5 MVA |  | 2 |  | 1 | 2 | 2 |  | 1 | 1 | 1 |  | 2 | [9 empty] | 12
(vii) 10 MVA | [21 empty] | 0
(viii) 7.5 MVA | [21 empty] | 0
(ix) 5MVA | [21 empty] | 0
5.132/25 KV TRANSFORMERS | [21 empty] | 0
(i) 12.5 MVA | [17 empty] | 1 |  |  |  | 1
(D) 33 KV | [21 empty] | 0
1. FEEDER BAY | 5 | 4 | 8 | 3 | 6 | 6 |  | 7 | 4 |  | 5 | 5 | 5 |  | 6 | 8 | 5 | 12 |  | 8 |  | 97
2. B.C.BAY | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 1 |  | 16
3. TRANS BAY | 3 | 2 | 2 | 1 | 4 | 4 |  | 3 | 2 |  | 3 | 2 | 3 |  | 2 | 3 | 2 | 4 |  | 2 |  | 42
4. 33/11 KV TARNSFORMERS | [21 empty] | 0
(i) 8 MVA | [21 empty] | 0
(ii) 7.5 MVA | [21 empty] | 0
(iii) 5 MVA | [21 empty] | 0
(iv) 3.15 MVA | [21 empty] | 0
5. Stn.Trf 100 / 200 / 250 / 315 / 500 / 750 / 1000kVA, 33/0.4kV |  | 1 | 2 | 2 | 1 | 1 |  |  | 2 |  | 2 | 1 | 1 |  | 1 | 1 | 1 | 2 |  | 2 | 1 | 21
6.CAPACITOR BANK | [21 empty] | 0
(i) 5 MVAR | [21 empty] | 0
(ii) 10 MVAR | [21 empty] | 0
(E) 25 KV | [21 empty] | 0
1.FEEDER BAY | [17 empty] | 1 |  |  |  | 1
2.B.C.BAY | [21 empty] | 0
3.TRANS BAY | [17 empty] | 1 |  |  |  | 1
(F) 11 KV | [21 empty] | 0
1.FEEDER BAY | [7 empty] | 4 |  | 6 | [11 empty] | 10
2.B.C.BAY | [7 empty] | 1 |  | 1 | [11 empty] | 2
3.TRANS BAY | [7 empty] | 3 |  | 3 | [11 empty] | 6
4. Stn.Tfr.100/200/250 KVA 11/0.4 kV | 1 | [6 empty] | 1 |  | 1 | [11 empty] | 3
5.CAPACITOR BANK | [21 empty] | 0
(i) 25 MVAR | [21 empty] | 0

## CHAINPAL
CHAINPAL CIRCLE Name of Sub-Station | Angul | Boinda | Chainpal | Dhenkanal | Kamakhyanagar | Kharagprasad Sw. Stn. | Meramundali | OPCL Sw. Stn. | Rengali | TOTAL
Description of Bay & Voltage (kV) | 132/33 | 132/33 | 132/33 | 132/33 | 132/33 | 132 | 400/220/132/33 | 132 | 220/33
Year of Commissioning | 1996 | 2003 | 1972 | 1982 | 1999 | 2007 | 2002 | 2009 | 1997
(A) 400 KV | [9 empty] | 0
1. FEEDER BAY | [6 empty] | 11 |  |  | 11
2. REACTOR BAY | [6 empty] | 3 |  |  | 3
3. B C / TIE / DIA BAY | [6 empty] | 8 |  |  | 8
4. TRANS. BAY | [6 empty] | 2 |  |  | 2
5. 400/220KV TRANSFORMERS | [9 empty] | 0
(i) 315 MVA ICT | [6 empty] | 2 |  |  | 2
(B) 220 KV | [9 empty] | 0
1. FEEDER BAY | [6 empty] | 14 |  | 6 | 20
2. B C / TIE.BAY | [6 empty] | 2 |  | 2 | 4
3. TRANS. BAY | [6 empty] | 4 |  | 1 | 5
4. 220/132 KV TRANSFORMERS | [9 empty] | 0
(i) 160 MVA | [9 empty] | 0
(ii) 100 MVA | [6 empty] | 2 |  |  | 2
(iii) 50MVA | [9 empty] | 0
5. 220/33 kV TRANSFORMERS | [9 empty] | 0
(i) 40 MVA | [9 empty] | 0
(ii) 20 MVA | [8 empty] | 1 | 1
(C) 132 KV | [9 empty] | 0
1. FEEDER BAY | 5 | 2 | 7 | 4 | 2 | 8 | 8 | 2 |  | 38
2. B.C.BAY | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 8
3. TRANS BAY | 2 | 2 | 3 | 2 | 2 |  | 3 | 1 |  | 15
4.132/33/11 KV TRANSFORMERS | [9 empty] | 0
(i) 40MVA | 1 |  | 1 | 2 | [5 empty] | 4
(ii) 35 MVA | [9 empty] | 0
(iii) 31.5MVA | [9 empty] | 0
(iv) 20 MVA | 1 |  | 2 |  | 1 |  |  |  |  | 4
(v) 16 MVA | [9 empty] | 0
(vi) 12.5 MVA |  | 2 |  |  | 1 |  | 1 |  |  | 4
(vii) 10 MVA | [9 empty] | 0
(viii) 7.5 MVA | [9 empty] | 0
(ix) 5MVA | [9 empty] | 0
5.132/25 KV TRANSFORMERS | [9 empty] | 0
(i) 12.5 MVA | [9 empty] | 0
(D) 33 KV | [9 empty] | 0
1. FEEDER BAY | 4 | 5 | 7 | 8 | 3 |  |  |  | 3 | 30
2. B.C.BAY | 1 | 1 | 2 | 1 | 1 |  |  |  | 1 | 7
3. TRANS BAY | 2 | 2 | 4 | 2 | 2 |  | 3 |  | 1 | 16
4. 33/11 KV TARNSFORMERS | [9 empty] | 0
(i) 8 MVA | [9 empty] | 0
(ii) 7.5 MVA | [9 empty] | 0
(iii) 5 MVA | [9 empty] | 0
(iv) 3.15 MVA | [9 empty] | 0
5. Stn.Tfr.100/200/250/500/750/1000 KVA 33/0.4 Kv | 1 | 1 | 1 | 1 | 1 |  | 2 |  | 1 | 8
6.CAPACITOR BANK | [9 empty] | 0
(i) 5 MVAR | [9 empty] | 0
(ii) 10 MVAR | [9 empty] | 0
(E) 25 KV | [9 empty] | 0
1.FEEDER BAY | [9 empty] | 0
2.B.C.BAY | [9 empty] | 0
3.TRANS BAY | [9 empty] | 0
(F) 11 KV | [9 empty] | 0
1.FEEDER BAY | [9 empty] | 0
2.B.C.BAY | [9 empty] | 0
3.TRANS BAY | [9 empty] | 0
5. Stn.Tfr.100/250 KVA 11/0.4 kV | [9 empty] | 0
6.CAPACITOR BANK | [9 empty] | 0
(i) 25 MVAR | [9 empty] | 0

## CUTTACK
CUTTACK CIRCLE Name of Sub-Station | Bhubaneswar | Chandaka | Kesura | Khurda | Mendhasala | Nayagarh | Nimapara | Puri | Ranasingpur | Arati Steels Sw. Stn. | Bidanasi | Chandikhole | Chowdwar | Cuttack | ICCL Sw. Stn. | Jagatsinghpur | Kendrapada | Maheswari Sw. Stn. | Nuapatana | OCL Sw. Stn. | Paradeep | Pattamundai | Phulnakhara | Rawmet Sw. Stn. | Salipur | TOTAL
Description of Bay & Voltage (kV) | 132/33 | 220/132/33 | 132/33 | 132/33 | 400/220 | 220/33 | 132/33 | 132/33 | 132/33 | 132 | 220/132/33 | 132/33 | 132/33 | 132/33 | 132 | 132/33 | 132/33 | 132 | 132/33 | 132 | 220/132/33 | 132/33 | 132/33 | 132 | 132/33
Year of Commissioning | 1979 | 1989 | 2010 | 1969 | 2008 | 1993 | 1996 | 1984 | 1997 | 2005 | 1993 | 2003 | 1956 | 1984 | 1988 | 1996 | 1979 | 2006 | 1994 | 2008 | 1981 | 1997 | 2009 | 2006 | 2006
(A) 400 KV | [25 empty] | 0
1. FEEDER BAY |  |  |  |  | 4 | [20 empty] | 4
2. REACTOR BAY | [25 empty] | 0
3. B C / TIE / DIA BAY |  |  |  |  | 2 | [20 empty] | 2
4. TRANS. BAY |  |  |  |  | 2 | [20 empty] | 2
5. 400/220KV TRANSFORMERS | [25 empty] | 0
(i) 315 MVA ICT |  |  |  |  | 2 | [20 empty] | 2
(B) 220 KV | [25 empty] | 0
1. FEEDER BAY |  | 4 |  |  | 10 | 2 |  |  |  |  | 2 | [9 empty] | 4 |  |  |  |  | 22
2. B C / TIE.BAY |  | 1 |  |  | 2 | 1 |  |  |  |  | 1 | [9 empty] | 1 |  |  |  |  | 6
3. TRANS. BAY |  | 4 |  |  | 2 | 3 |  |  |  |  | 2 | [9 empty] | 3 |  |  |  |  | 14
4. 220/132 KV TRANSFORMERS | [25 empty] | 0
(i) 160 MVA |  | 1 | [18 empty] | 1 |  |  |  |  | 2
(ii) 100 MVA |  | 3 | [8 empty] | 2 | [9 empty] | 1 |  |  |  |  | 6
(iii) 50MVA | [20 empty] | 1 |  |  |  |  | 1
5. 220/33 kV TRANSFORMERS | [25 empty] | 0
(i) 40 MVA | [5 empty] | 1 | [19 empty] | 1
(ii) 20 MVA | [5 empty] | 2 | [19 empty] | 2
(C) 132 KV | [25 empty] | 0
1. FEEDER BAY | 3 | 6 | 2 | 4 |  |  | 2 | 2 | 2 | 3 | 2 | 2 | 4 | 2 | 4 | 1 | 5 | 2 | 1 | 2 | 8 | 1 | 2 | 2 | 1 | 63
2. B.C.BAY | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 22
3. TRANS BAY | 3 | 7 | 2 | 3 |  |  | 3 | 3 | 3 |  | 5 | 2 | 3 | 2 |  | 3 | 4 | 1 | 3 | 1 | 6 | 3 | 2 | 1 | 3 | 63
4.132/33/11 KV TRANSFORMERS | [25 empty] | 0
(i) 40MVA | 3 | 3 | 1 | 3 |  |  | 1 | 1 | 3 |  | 3 |  | 2 | 2 |  |  | 2 |  | 1 | [6 empty] | 25
(ii) 35 MVA | [25 empty] | 0
(iii) 31.5MVA | [7 empty] | 2 | [17 empty] | 2
(iv) 20 MVA |  |  | 1 | [8 empty] | 2 | 1 |  |  | 3 |  |  | 1 |  | 2 | 2 | 1 |  | 2 | 15
(v) 16 MVA | [25 empty] | 0
(vi) 12.5 MVA | [6 empty] | 2 | [9 empty] | 1 |  | 1 |  | 1 | 1 |  |  | 1 | 7
(vii) 10 MVA | [25 empty] | 0
(viii) 7.5 MVA | [25 empty] | 0
(ix) 5MVA | [25 empty] | 0
5.132/25 KV TRANSFORMERS | [25 empty] | 0
(i) 12.5 MVA | [25 empty] | 0
(D) 33 KV | [25 empty] | 0
1. FEEDER BAY | 9 | 8 | 4 | 10 |  | 8 | 5 | 7 | 6 |  | 5 | 3 | 7 | 7 |  | 5 | 6 |  | 5 |  | 4 | 5 | 5 |  | 5 | 114
2. B.C.BAY | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 | 1 |  | 1 | 18
3. TRANS BAY | 4 | 3 | 2 | 3 |  | 3 | 3 | 3 | 3 |  | 4 | 2 | 4 | 3 |  | 3 | 5 |  | 3 |  | 4 | 3 | 2 |  | 3 | 60
4. 33/11 KV TARNSFORMERS | [25 empty] | 0
(i) 8 MVA | [25 empty] | 0
(ii) 7.5 MVA | [25 empty] | 0
(iii) 5 MVA | [25 empty] | 0
(iv) 3.15 MVA | [25 empty] | 0
5. Stn.Tfr.100 / 200 / 250 / 500 / 750 / 1000 / 5000 KVA, 33/0.4 kV | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 |  | 2 | 1 | 2 | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 | 2 |  | 1 | 25
6.CAPACITOR BANK | [25 empty] | 0
(i) 5 MVAR | [25 empty] | 0
(ii) 10 MVAR | [25 empty] | 0
(E) 25 KV | [25 empty] | 0
1.FEEDER BAY | [25 empty] | 0
2.B.C.BAY | [25 empty] | 0
3.TRANS BAY | [25 empty] | 0
(F) 11 KV | [25 empty] | 0
1.FEEDER BAY | [25 empty] | 0
2.B.C.BAY | [25 empty] | 0
3.TRANS BAY | [25 empty] | 0
5. Stn.Tfr.100/250 KVA 11/0.4 kV | [14 empty] | 1 | [10 empty] | 1
6.CAPACITOR BANK | [25 empty] | 0
(i) 25 MVAR | [25 empty] | 0

## JAJPUR ROAD
JAJPUR ROAD CIRCLE Name of Sub-Station | Balasore | Baripada | Basta | Bhadrak | Jaleswar | Karanjia | Rairangpur | Somanathpur Sw. Stn. | Soro | Anandpur | BRPL | Duburi | Jabamayee Ferro Sw. Stn. | Jaipur Road | Jaipur Town | Kalarangi | New Duburi | Arya Iron Sw. Stn. | Bee Kay Steel Sw. Stn. | Bolani | Joda | Palasponga | TOTAL
Description of Bay & Voltage (kV) | 220/132/33 | 132/33 | 132/33 | 220/132/33 | 132/33 | 132/33 | 132/33 | 132 | 132/33 | 132/33 | 132 | 220/132/33 | 132 | 132/33 | 132/33 | 132/33 | 400/220 | 132 | 132 | 132/11 | 220/132/33 | 132/33
Year of Commissioning | 1981 | 1984 | 2010 | 1983 | 1991 | 2009 | 1981 | 2011 | 1997 | 2010 | 2011 | 1989 | 2008 | 1969 | 1998 | 1998 | 2005 | 2008 | 2010 | 1995 | 1959 | 1981
(A) 400 KV | [22 empty] | 0
1. FEEDER BAY | [22 empty] | 0
2. REACTOR BAY | [22 empty] | 0
3. B C / TIE / DIA BAY | [22 empty] | 0
4. TRANS. BAY | [22 empty] | 0
5. 400/220KV TRANSFORMERS | [22 empty] | 0
(i) 315 MVA ICT | [22 empty] | 0
(B) 220 KV | [22 empty] | 0
1. FEEDER BAY | 4 |  |  | 2 | [7 empty] | 5 |  |  |  |  | 12 |  |  |  | 5 |  | 28
2. B C / TIE.BAY | 1 |  |  | 1 | [7 empty] | 1 |  |  |  |  | 2 |  |  |  | 1 |  | 6
3. TRANS. BAY | 2 |  |  | 2 | [7 empty] | 4 | [8 empty] | 3 |  | 11
4. 220/132 KV TRANSFORMERS | [22 empty] | 0
(i) 160 MVA | 2 | [21 empty] | 2
(ii) 100 MVA |  |  |  | 2 | [7 empty] | 3 | [8 empty] | 2 |  | 7
(iii) 50MVA | [22 empty] | 0
5. 220/33 kV TRANSFORMERS | [22 empty] | 0
(i) 40 MVA | [11 empty] | 1 | [10 empty] | 1
(ii) 20 MVA | [22 empty] | 0
(C) 132 KV | [22 empty] | 0
1. FEEDER BAY | 7 | 2 | 2 | 8 | 2 | 2 | 2 | 3 | 2 | 2 | 3 | 9 | 2 | 6 | 2 | 2 |  | 2 | 2 | 2 | 4 | 3 | 69
2. B.C.BAY | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 22
3. TRANS BAY | 5 | 3 | 2 | 5 | 3 | 2 | 2 |  | 3 | 2 |  | 4 | 1 | 3 | 3 | 2 |  | 1 | 1 | 2 | 6 | 3 | 53
4.132/33/11 KV TRANSFORMERS | [22 empty] | 0
(i) 40MVA | 3 | 1 |  | 3 |  |  |  |  | 1 |  |  |  |  | 1 | 2 | [5 empty] | 1 | 1 | 13
(ii) 35 MVA | [22 empty] | 0
(iii) 31.5MVA |  | 2 | [20 empty] | 2
(iv) 20 MVA |  |  |  |  | 2 |  | 1 |  | 2 |  |  |  |  | 2 | 1 | [5 empty] | 3 | 2 | 13
(v) 16 MVA | [22 empty] | 0
(vi) 12.5 MVA |  |  | 2 |  | 1 | 2 | 1 |  |  | 2 | [5 empty] | 2 | [6 empty] | 10
(vii) 10 MVA | [19 empty] | 2 |  |  | 2
(viii) 7.5 MVA | [22 empty] | 0
(ix) 5MVA | [11 empty] | 1 | [10 empty] | 1
5.132/25 KV TRANSFORMERS | [22 empty] | 0
(i) 12.5 MVA | [22 empty] | 0
(D) 33 KV | [22 empty] | 0
1. FEEDER BAY | 10 | 8 | 4 | 8 | 5 | 4 | 5 |  | 5 | 5 |  | 4 |  | 9 | 4 | 4 |  |  |  |  | 7 | 6 | 88
2. B.C.BAY | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 | 1 |  |  |  |  | 2 | 1 | 16
3. TRANS BAY | 4 | 4 | 2 | 4 | 3 | 2 | 3 |  | 3 | 2 |  | 1 |  | 3 | 3 | 2 |  |  |  |  | 4 | 4 | 44
4. 33/11 KV TARNSFORMERS | [22 empty] | 0
(i) 8 MVA | [22 empty] | 0
(ii) 7.5 MVA | [22 empty] | 0
(iii) 5 MVA | [22 empty] | 0
(iv) 3.15 MVA | [22 empty] | 0
5. Stn.Tfr.100/200/250/500/750/1000 KVA 33/0.4 Kv | 1 | 1 | 1 | 2 | 1 | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 | 1 | 2 |  |  |  | 1 | 1 | 18
6.CAPACITOR BANK | [22 empty] | 0
(i) 5 MVAR | [22 empty] | 0
(ii) 10 MVAR | [22 empty] | 0
(E) 25 KV | [22 empty] | 0
1.FEEDER BAY | [22 empty] | 0
2.B.C.BAY | [22 empty] | 0
3.TRANS BAY | [22 empty] | 0
(F) 11 KV | [22 empty] | 0
1.FEEDER BAY | [22 empty] | 0
2.B.C.BAY | [22 empty] | 0
3.TRANS BAY | [22 empty] | 0
5. Stn.Tfr.100/250 KVA 11/0.4 kV | [22 empty] | 0
6.CAPACITOR BANK | [22 empty] | 0
(i) 25 MVAR | [22 empty] | 0

## JEYPORE
JEYPORE CIRCLE Name of Sub-Station | Balimela | Jayanagar | Sunabeda | Tentulikhunti | Junagarh | Kesinga | Khariar | Saintala | Vedant Alumina Sw. Stn. | Akhusingh | Parlakhemundi | Rayagada | Therubali | TOTAL
Description of Bay & Voltage (kV) | 220/33 | 220/132/33 | 132/33 | 132/33 | 132/33 | 132/33 | 132/33 | 132/33 | 132 | 132/33 | 132/33 | 132/33 | 220/132/33
Year of Commissioning | 2007 | 1980 | 1964 | 1986 | 2001 | 1982 | 1995 | 1989 | 2006 | 2001 | 2001 | 1962 | 1974
(A) 400 KV | [13 empty] | 0
1. FEEDER BAY | [13 empty] | 0
2. REACTOR BAY | [13 empty] | 0
3. B C / TIE / DIA BAY | [13 empty] | 0
4. TRANS. BAY | [13 empty] | 0
5. 400/220KV TRANSFORMERS | [13 empty] | 0
(i) 315 MVA ICT | [13 empty] | 0
(B) 220 KV | [13 empty] | 0
1. FEEDER BAY | 1 | 10 | [10 empty] | 11 | 22
2. B C / TIE.BAY | 1 | 6 | [10 empty] | 6 | 13
3. TRANS. BAY | 2 | 2 | [10 empty] | 2 | 6
4. 220/132 KV TRANSFORMERS | [13 empty] | 0
(i) 160 MVA | [13 empty] | 0
(ii) 100 MVA |  | 2 | [10 empty] | 2 | 4
(iii) 50MVA | [13 empty] | 0
5. 220/33 kV TRANSFORMERS | [13 empty] | 0
(i) 40 MVA | [13 empty] | 0
(ii) 20 MVA | 2 | [12 empty] | 2
(C) 132 KV | [13 empty] | 0
1. FEEDER BAY |  | 7 | 3 | 1 | 1 | 5 | 1 | 4 | 2 | 3 | 1 | 4 | 4 | 36
2. B.C.BAY |  | 1 | 1 | 1 | 1 | 1 |  | 2 | 1 | 1 | 1 | 1 | 1 | 12
3. TRANS BAY |  | 5 | 3 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 32
4.132/33/11 KV TRANSFORMERS | [13 empty] | 0
(i) 40MVA | [5 empty] | 1 | 1 | [6 empty] | 2
(ii) 35 MVA | [13 empty] | 0
(iii) 31.5MVA | [13 empty] | 0
(iv) 20 MVA |  | 2 |  |  | 2 | 2 | 1 | [6 empty] | 7
(v) 16 MVA | [13 empty] | 0
(vi) 12.5 MVA |  | 1 | 3 | 3 |  |  |  | 1 |  | 2 | 2 | 2 | 2 | 16
(vii) 10 MVA | [7 empty] | 1 | [5 empty] | 1
(viii) 7.5 MVA | [13 empty] | 0
(ix) 5MVA | [13 empty] | 0
5.132/25 KV TRANSFORMERS | [13 empty] | 0
(i) 12.5 MVA | [13 empty] | 0
(D) 33 KV | [13 empty] | 0
1. FEEDER BAY | 4 | 9 | 4 | 5 | 4 | 8 | 3 | 2 |  | 5 | 5 | 2 | 4 | 55
2. B.C.BAY | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 | 11
3. TRANS BAY | 2 | 4 | 3 | 3 | 2 | 4 | 2 | 2 |  | 2 | 3 | 3 | 3 | 33
4. 33/11 KV TARNSFORMERS | [13 empty] | 0
(i) 8 MVA | [13 empty] | 0
(ii) 7.5 MVA | [13 empty] | 0
(iii) 5 MVA | [13 empty] | 0
(iv) 3.15 MVA | [13 empty] | 0
5. Stn.Tfr.100/200/250/500/750/1000 KVA 33/0.4 Kv | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 1 |  | 1 | 1 | 1 | 2 | 15
6.CAPACITOR BANK | [13 empty] | 0
(i) 5 MVAR | [13 empty] | 0
(ii) 10 MVAR | [13 empty] | 0
(E) 25 KV | [13 empty] | 0
1.FEEDER BAY | [13 empty] | 0
2.B.C.BAY | [13 empty] | 0
3.TRANS BAY | [13 empty] | 0
(F) 11 KV | [13 empty] | 0
1.FEEDER BAY | [13 empty] | 0
2.B.C.BAY | [13 empty] | 0
3.TRANS BAY | [13 empty] | 0
5. Stn.Tfr.100/250 KVA 11/0.4 kV | [13 empty] | 0
6.CAPACITOR BANK | [13 empty] | 0
(i) 25 MVAR | [13 empty] | 0

## Summary
CIRCLE | Berhampur | Burla | Chainpal | Cuttack | Jajpur Road | Jeypore | Total
Description of Bay & Voltage (kV)
Year of Commissioning
(A) 400 KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32
1. FEEDER BAY | 0 | 0 | 11 | 4 | 0 | 0 | 15
2. REACTOR BAY | 0 | 0 | 3 | 0 | 0 | 0 | 3
3. B C / TIE / DIA BAY | 0 | 0 | 8 | 2 | 0 | 0 | 10
4. TRANS. BAY | 0 | 0 | 2 | 2 | 0 | 0 | 4
5. 400/220KV TRANSFORMERS | 0 | 0 | 0 | 0 | 0 | 0 | 0
(i) 315 MVA ICT | 0 | 0 | 2 | 2 | 0 | 0 | 4
(B) 220 KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229
1. FEEDER BAY | 10 | 33 | 20 | 22 | 28 | 22 | 135
2. B C / TIE.BAY | 5 | 8 | 4 | 6 | 6 | 13 | 42
3. TRANS. BAY | 4 | 12 | 5 | 14 | 11 | 6 | 52
4. 220/132 KV TRANSFORMERS | 0 | 0 | 0 | 0 | 0 | 0 | 0
(i) 160 MVA | 3 | 2 | 0 | 2 | 2 | 0 | 9
(ii) 100 MVA | 1 | 8 | 2 | 6 | 7 | 4 | 28
(iii) 50MVA | 0 | 0 | 0 | 1 | 0 | 0 | 1
5. 220/33 kV TRANSFORMERS | 0 | 0 | 0 | 0 | 0 | 0 | 0
(i) 40 MVA | 0 | 1 | 0 | 1 | 1 | 0 | 3
(ii) 20 MVA | 0 | 1 | 1 | 2 | 0 | 2 | 6
(C) 132 KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 663
1. FEEDER BAY | 38 | 79 | 38 | 63 | 69 | 36 | 323
2. B.C.BAY | 8 | 19 | 8 | 22 | 22 | 12 | 91
3. TRANS BAY | 30 | 56 | 15 | 63 | 53 | 32 | 249
4.132/33/11 KV TRANSFORMERS | 0 | 0 | 0 | 0 | 0 | 0 | 0
(i) 40MVA | 8 | 13 | 4 | 25 | 13 | 2 | 65
(ii) 35 MVA | 0 | 4 | 0 | 0 | 0 | 0 | 4
(iii) 31.5MVA | 0 | 2 | 0 | 2 | 2 | 0 | 6
(iv) 20 MVA | 9 | 10 | 4 | 15 | 13 | 7 | 58
(v) 16 MVA | 1 | 0 | 0 | 0 | 0 | 0 | 1
(vi) 12.5 MVA | 8 | 12 | 4 | 7 | 10 | 16 | 57
(vii) 10 MVA | 0 | 0 | 0 | 0 | 2 | 1 | 3
(viii) 7.5 MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
(ix) 5MVA | 0 | 0 | 0 | 0 | 1 | 0 | 1
5.132/25 KV TRANSFORMERS | 0 | 0 | 0 | 0 | 0 | 0 | 0
(i) 12.5 MVA | 0 | 1 | 0 | 0 | 0 | 0 | 1
(D) 33 KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 730
1. FEEDER BAY | 46 | 97 | 30 | 114 | 88 | 55 | 430
2. B.C.BAY | 10 | 16 | 7 | 18 | 16 | 11 | 78
3. TRANS BAY | 27 | 42 | 16 | 60 | 44 | 33 | 222
4. 33/11 KV TARNSFORMERS | 0 | 0 | 0 | 0 | 0 | 0 | 0
(i) 8 MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
(ii) 7.5 MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
(iii) 5 MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
(iv) 3.15 MVA | 0 | 0 | 0 | 0 | 0 | 0 | 0
5. Stn.Tfr.100/200/250/500/750/1000 KVA 33/0.4 Kv | 11 | 21 | 8 | 25 | 18 | 15 | 98
6.CAPACITOR BANK | 0 | 0 | 0 | 0 | 0 | 0 | 0
(i) 5 MVAR | 0 | 0 | 0 | 0 | 0 | 0 | 0
(ii) 10 MVAR | 0 | 0 | 0 | 0 | 0 | 0 | 0
(E) 25 KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
1.FEEDER BAY | 0 | 1 | 0 | 0 | 0 | 0 | 1
2.B.C.BAY | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.TRANS BAY | 0 | 1 | 0 | 0 | 0 | 0 | 1
(F) 11 KV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18
1.FEEDER BAY | 0 | 10 | 0 | 0 | 0 | 0 | 10
2.B.C.BAY | 0 | 2 | 0 | 0 | 0 | 0 | 2
3.TRANS BAY | 0 | 6 | 0 | 0 | 0 | 0 | 6
5. Stn.Tfr.100/250 KVA 11/0.4 kV | 0 | 3 | 0 | 1 | 0 | 0 | 4
6.CAPACITOR BANK | 0 | 0 | 0 | 0 | 0 | 0 | 0
(i) 25 MVAR | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Abstract
Voltage Level (kV) | Bays
400 | 32
220 | 229
132 | 663
33 | 730
25 | 2
11 | 18
Total | 1674