## Central
LICENSEE : OPTCL | [8 empty] | TRL - 4, 5, 6, 7
Sl. No. | CENTRAL ZONE Name of the EHT Lines | Division | Voltage Level (kV) | Route Length (Kms.) | Length (Ckt. Kms.) | Year of Comm. |  |  | Remarks | Ckt km (DC) | Ckt km (SC) | Towers | Conductor Type | Earth Wire Type | Maintenance Jurisdiction
400 kV Lines
1 | 400 kV Meramundali - Mendhasala DC (Charged at 220kV for P/S to Chandaka) | Bhubaneswar | 400 | 100.451 | 200.902 |  |  | 2003 |  | 200.902 | 0
| Total |  |  | 100.451 | 200.902 |  |  |  |  | 200.902 | 0
220 KV Lines
1 | 220 kV Bhanjanagar - Meramundali DC (Loc. No. 196 upto Meramundali) | Chainpal | 220 | 58.675 | 117.35 |  |  | 1967/1979 2003 |  | 117.35 | 0
2 | 220 kV Bidanasi LILO DC | Choudwar | 220 | 10.991 | 21.982 | 24 | 12 | 2003 |  | 21.982 | 0 |  |  |  | Bidanasi S/D
3 | 220 kV Duburi New - Paradeep DC | Choudwar | 220 | 113.433 | 226.866 | 23 | 12 | 2008 |  | 226.866 | 0
4 | 220 kV Kaniha - Meramundali DC | Chainpal | 220 | 42.52 | 85.04 |  |  | 1995 1997 (LILO) |  | 85.04 | 0
5 | 220 kV Link DC (From Meramundali S/S to 400 kV Meramundali - Mendhasala Line) | Chainpal | 220 | 1.5 | 3 |  |  | 2003 |  | 3 | 0
6 | 220 kV Mendhasala LILO DC (Bhanjanagr - Chandaka Ckt - I) | Bhubaneswar | 220 | 5.958 | 11.916 | 2 | 1 | 2008 |  | 11.916 | 0
7 | 220 kV Mendhasala LILO DC (Nayagarh - Chandaka Ckt - II) | Bhubaneswar | 220 | 6.04 | 12.08 | 2 | 1 | 2008 |  | 12.08 | 0
8 | 220 kV Meramundali - Bhusan Steel SC | Chainpal | 220 | 2.4 | 2.4 | 22 | 8 | 2006 |  | 0 | 2.4
9 | 220 kV Meramundali - Duburi DC | Chainpal | 220 | 95.556 | 191.112 |  |  | 1995 1997 (LILO) |  | 191.112 | 0
10 | 220 kV NALCO - Meramundali DC | Chainpal | 220 | 11.465 | 22.93 | 27 | 8 | 2004 |  | 22.93 | 0
11 | 220 kV NALCO - Rengali PH SC | Rengali | 220 | 62.7 | 62.7 |  |  |  |  | 0 | 62.7
12 | 220 kV NALCO - TTPS SC | Chainpal | 220 | 8.637 | 8.637 |  |  | 1984 |  | 0 | 8.637
13 | 220 kV Narendrapur - Chandaka DC segment utilised for Meramundali P/S to Chandaka | Bhubaneswar | 220 | 7.19 | 14.38 |  |  | 2003 |  | 14.38 | 0
14 | 220 kV Nayagarh - Chandaka DC | Bhubaneswar | 220 | 80.5 | 161 |  | 5 | 1989 |  | 161 | 0 |  |  |  | Chandaka S/D
15 | 220 kV Rengali - Rengali PGCIL DC | Rengali | 220 | 1 | 2 |  |  |  |  | 2 | 0
16 | 220 kV Rengali - Tarkera DC (Loc. 188 to 306) | Rengali | 220 | 34.68 | 69.36 |  |  | 1979-80 |  | 69.36 | 0
17 | 220 kV Rengali PH - Kaniha SC | Rengali | 220 | 29.5 | 29.5 |  |  |  |  | 0 | 29.5
18 | 220 kV Rengali PH - Rengali DC | Rengali | 220 | 5 | 10 |  |  |  |  | 10 | 0
19 | 220 kV TTPS - Joda DC (Loc. No. 1 to 234) | Chainpal | 220 | 70 | 140 |  |  | 1967(CKT-1) 1970(CKT-II) |  | 140 | 0
20 | 220 kV TTPS - Kaniha SC | Rengali | 220 | 34.5 | 34.5 |  |  |  |  | 0 | 34.5
21 | 220 kV TTPS - Meramundali DC (Loc. No. 1 to 45) | Chainpal | 220 | 11.155 | 22.31 |  |  | 1967/1979 2003 |  | 22.31 | 0
| Total |  |  | 693.4 | 1249.063 |  |  |  |  | 1111.326 | 137.737
132 KV Lines
1 | 132 kV Angul - Boinda SC | Chainpal | 132 | 38.5 | 38.5 |  |  | 1963 |  | 0 | 38.5
2 | 132 kV Angul - Chainpal SC | Chainpal | 132 | 14.931 | 14.931 |  |  | 2002 |  | 0 | 14.931
3 | 132 kV Angul - MCL DC | Chainpal | 132 | 10.826 | 21.652 |  |  | 1992 |  | 21.652 | 0
4 | 132 kV Angul - TTPS SC | Chainpal | 132 | 16 | 16 |  |  |  |  | 0 | 16
5 | 132 kV Arati Steels LILO DC | Choudwar | 132 | 11.011 | 22.022 | 5 | 9 | 2005 |  | 22.022 | 0
6 | 132 kV Balugaon - Solari TSS SC | Berhampur | 132 | 14.5 | 14.5 | 16 | 11 | 2001 |  | 0 | 14.5 |  |  |  | Balugaon S/D
7 | 132 kV Balugaon LILO DC | Berhampur | 132 | 9.135 | 18.27 |  |  | 1991 |  | 18.27 | 0 |  |  |  | Chhatrapur S/D
8 | 132 kV Bhubaneswar - Cuttack SC (Loc. 1 - 71) | Choudwar | 132 | 19.8 | 19.8 | 30 | 4 | 1984 |  | 0 | 19.8 |  |  |  | Cuttack S/D
9 | 132 kV Bidanasi - Chandaka SC (Loc. No. 52 to 90-24-22) | Choudwar | 132 | 12.814 | 12.814 | 18 | 7 | 1969 |  | 0 | 12.814 |  |  |  | Choudwar S/D
10 | 132 kV Bidanasi - Chandaka SC (Loc. 1 - 51) | Bhubaneswar | 132 | 14.621 | 14.621 | 18 | 7 | 1969 |  | 0 | 14.621 |  |  |  | Bhubaneswar S/D
11 | 132 kV Bidanasi LILO DC (Loc. 1 - 22) | Choudwar | 132 | 6.8 | 13.6 |  |  |  |  | 13.6 | 0 |  |  |  | Choudwar S/D
12 | 132 kV Chainpal - Choudwar Ckt - I SC (Loc. No. 148 to 285) | Choudwar | 132 | 42.7 | 42.7 |  |  | 1958 |  | 0 | 42.7 |  |  |  | Choudwar S/D
13 | 132 kV Chainpal - Choudwar Ckt - I SC (Loc. No. 1 to 147) | Chainpal | 132 | 43.2 | 43.2 |  |  | 1958 |  | 0 | 43.2 |  |  |  | SDO, DMK (Loc. 1 to 77) SDO, DKL (Loc. 78 to 147)
14 | 132 kV Chainpal - Choudwar Ckt - II SC (Loc. No. 152 to 314 via ICCL) | Choudwar | 132 | 46.94 | 46.94 |  |  | 1972 |  | 0 | 46.94 |  |  |  | Choudwar S/D
15 | 132 kV Chainpal - Choudwar Ckt - II SC (Loc. No. 1 to 151) | Chainpal | 132 | 43.78 | 43.78 |  |  | 1972 |  | 0 | 43.78 |  |  |  | SDO, DMK (Loc. 1 to 77) SDO, DKL (Loc. 78 to 151)
16 | 132 kV Chainpal - FCI DC | Chainpal | 132 | 7 | 14 |  |  | 1975 |  | 14 | 0
17 | 132 kV Chandaka - Bhubaneswar Ckt-I SC | Bhubaneswar | 132 | 5.5 | 5.5 | 17 | 6 | 1979 |  | 0 | 5.5 |  |  |  | Bhubaneswar S/D
18 | 132 kV Chandaka - Bhubaneswar Ckt-II SC | Bhubaneswar | 132 | 5.5 | 5.5 | 17 | 6 | 1979 |  | 0 | 5.5 |  |  |  | Bhubaneswar S/D
19 | 132 kV Chandaka - Khurda SC | Bhubaneswar | 132 | 36.5 | 36.5 | 18 | 7 | 1969 |  | 0 | 36.5 |  |  |  | Bhubaneswar S/D
20 | 132 kV Chandaka - Nimapara SC (in DC tower) | Bhubaneswar | 132 | 62 | 62 | 22 | 3 | 1996 |  | 0 | 62 |  |  |  | Ranasinghpur S/D
21 | 132 kV Chandaka - Ransinghpur SC (in DC tower) | Bhubaneswar | 132 | 24.78 | 24.78 | 19 | 8 | 1997 |  | 0 | 24.78 |  |  |  | Ranasinghpur S/D
22 | 132 kV Chandikhole LILO DC | Choudwar | 132 | 1.63 | 3.26 | 18 | 7 | 2003 |  | 3.26 | 0 |  |  |  | Chandikhole S/D
23 | 132 kV Choudwar - Bidanasi SC (Loc. No. 22-23-91 to 118) | Choudwar | 132 | 8.614 | 8.614 | 18 | 7 | 1969 |  | 0 | 8.614 |  |  |  | Choudwar S/D
24 | 132 kV Choudwar - Kendrapara Road Traction SC | Choudwar | 132 | 4.6 | 4.6 | 21 | 2 | 2008 |  | 0 | 4.6
25 | 132 kV Cuttack - Jagatsinghpur SC (Loc. 1 - 121) | Choudwar | 132 | 35.1225 | 35.1225 | 31 | 8 | 1996 |  | 0 | 35.1225 |  |  |  | Jagatsinghpur S/D
26 | 132 kV Dhenkanal - Joranda Traction SC | Choudwar | 132 | 19.345 | 19.345 | 15 | 1 | 2005 |  | 0 | 19.345
27 | 132 kV Dhenkanal - Nuapatna SC (Loc. 1-127) | Choudwar | 132 | 37.116 | 37.116 | 7 | 1 | 1994 |  | 0 | 37.116 |  |  |  | Nuapatna S/D
28 | 132 kV Hind Metals LILO DC | Chainpal | 132 | 0.48 | 0.96 | 24 | 4 | 2007 |  | 0.96 | 0
29 | 132 kV ICCL - Salipur SC | Choudwar | 132 | 25.815 | 25.815 | 19 | 12 | 2006 |  | 0 | 25.815 |  |  |  | Salipur S/D
30 | 132 kV Jajpur Road - Kendrapara DC (Loc. 1 - 208) | Choudwar | 132 | 63.11 | 126.22 | 29 | 8 | 1979 |  | 126.22 | 0 |  |  |  | Kendrapara S/D
31 | 132 kV Kamakhya Nagar LILO DC | Chainpal | 132 | 1 | 2 | 15 | 2 | 1999 |  | 2 | 0
32 | 132 kV Kendrapara - Paradeep DC (Loc. 209-326) | Choudwar | 132 | 34.913 | 69.826 |  |  | 1980 |  | 69.826 | 0 |  |  |  | Paradeep S/D
33 | 132 kV Kendrapara - Pattamundai SC (Loc. 1-67) | Choudwar | 132 | 19.5 | 19.5 |  |  | 1997 |  | 0 | 19.5 |  |  |  | Pattamundai S/D
34 | 132 kV Khurda - Balugaon SC | Bhubaneswar | 132 | 69 | 69 | 8 | 8 | 1982 |  | 0 | 69 |  |  |  | Khurda S/D
35 | 132 kV Khurda - Kaipadar Traction SC | Bhubaneswar | 132 | 11.23 | 11.23 | 15 | 12 | 2002 |  | 0 | 11.23 |  |  |  | Khurda S/D
36 | 132 kV Khurda - Puri SC | Bhubaneswar | 132 | 57.6 | 57.6 | 29 | 8 | 1984 |  | 0 | 57.6 |  |  |  | Puri S/D
37 | 132 kV Maheswari Ispat LILO DC | Choudwar | 132 | 4.888 | 9.776 | 31 | 3 | 2006 |  | 9.776 | 0
38 | 132 kV Meramundali - BRG Steel SC | Chainpal | 132 | 3.55 | 3.55 | 8 | 11 | 2007 |  | 0 | 3.55
39 | 132 kV Meramundali - ML Rungta SC | Chainpal | 132 | 7.468 | 7.468 | 14 | 11 | 2007 |  | 0 | 7.468
40 | 132 kV Meramundali - NBFAL SC | Chainpal | 132 | 4.9 | 4.9 | 9 | 6 | 2005 |  | 0 | 4.9
41 | 132 kV Meramundali - Traction SC | Chainpal | 132 | 6.488 | 6.488 | 7 | 12 | 2003 |  | 0 | 6.488
42 | 132 kV Meramundali LILO DC (Chainpal - Arati Steels Ckt - I) | Chainpal | 132 | 1.735 | 3.47 | 27 | 11 | 2007 |  | 3.47 | 0
43 | 132 kV Meramundali LILO DC (Chainpal - Dhenkanal Ckt - II) | Chainpal | 132 | 1.735 | 3.47 | 27 | 11 | 2007 |  | 3.47 | 0
44 | 132 kV Nimapara - Puri DC | Bhubaneswar | 132 | 30 | 60 | 24 | 6 | 1998 |  | 60 | 0 |  |  |  | Nimapara S/D
45 | 132 kV OCL LILO DC | Choudwar | 132 | 15.869 | 31.738 | 26 | 3 | 2008 |  | 31.738 | 0
46 | 132 kV OPCL LILO DC | Chainpal | 132 | 23 | 46 | 5 | 10 | 2009 |  | 46 | 0
47 | 132 kV Paradeep - IFFCO DC (Loc. 1-35) | Choudwar | 132 | 7.171 | 14.342 |  |  | 2000 |  | 14.342 | 0
48 | 132 kV Paradeep - PPL DC (Loc. 1-36) | Choudwar | 132 | 6.2 | 12.4 | 29 | 9 | 2000 |  | 12.4 | 0 |  |  |  | Paradeep S/D
49 | 132 kV Paradeep - PPT DC (Loc. 1-41) | Choudwar | 132 | 7.65 | 15.3 | 29 | 8 | 2001 |  | 15.3 | 0 |  |  |  | Paradeep S/D
50 | 132 kV Phulnakhara LILO DC (Bhubaneswar - Cuttack Line) | Choudwar | 132 | 11.798 | 23.596 | 31 | 3 | 2009 |  | 23.596 | 0
51 | 132 kV Ranasinghpur 'T' SC | Bhubaneswar | 132 | 1.33 | 1.33 | 28 | 1 | 2000 |  | 0 | 1.33 |  |  |  | Ranasinghpur S/D
52 | 132 kV Rawmet Ferrous LILO DC | Choudwar | 132 | 8.78 | 17.56 | 12 | 4 | 2007 |  | 17.56 | 0
53 | 132 kV TTPS - Chainpal - I SC | Chainpal | 132 | 3 | 3 |  |  | 1968 |  | 0 | 3
54 | 132 kV TTPS - Chainpal - II & III DC | Chainpal | 132 | 3 | 6 |  |  | 1980/1981 |  | 6 | 0
| Total |  |  | 1024.4755 | 1292.2065 |  |  |  |  | 535.462 | 756.7445
Note on I4: Ckt - I : 11.07.2003 Ckt - II : 07.12.2003
Note on I77: As per field data Ckt-I : 23.08.85 Ckt-II : 21.02.87
Note on I48: Chandaka S/S commissioned in 1989
Note on I78: 33 kV line constructed in 1982 upgraded to 132kV in 2001
Note on E27: Loc. No. 1 to 16 : 4.242 km LILO IN (17 - 45) : 6.913 km
Note on I27: 220kV DC LILO of BTTLC line at Meramundali completed on 03.12.2003.
Note on B27: Loc. No. 1 to 16 OLD and 17 to 45 LILO IN
Note on E7: LILO out : 5.675 km Loc. No. 38 to 196 : 53 km
Note on I7: 220kV DC LILO of BTTLC line at Meramundali completed on 03.12.2003
Note on I17: As per previous Tariff Data : 1997 ?
Note on I30: Boinda LILO completed on 24.06.03
Note on B53: Anti-theft charged on 07.01.2008. Commercially charged on 21.02.08
Note on B7: LILO out 26 locations & Loc. No. 38 to 196
Note on E4: Total Length = 100.451 km. 98.751kms comm. In 2003. Balance length of 1.7km at Meramundali end was comm. on 29.04.09. Loc. AP1 to AP35 (58.56km.) under the maintenance of Chainpal Division.
Note on B67: On DC Towers
Note on B68: On DC Towers
Note on B65: Diversion of 1.673km has been commissioned on 11.09.2007 to avoid Khurda-Bolangir Railway crossing.
Note on B64: Diversion of 1.166km has been commissioned on 27.04.2008 to avoid Khurda-Bolangir Railway crossing.
Note on B63: Diversion of 0.987km has been commissioned on 20.04.2008 to avoid Khurda-Bolangir Railway crossing.
Note on I10: LILO - 30.12.97
Note on I15: LILO - 30.12.97
Note on B70: Charged from Hind Metals Switching Station on 07.10.2009.

## North
LICENSEE : OPTCL | [8 empty] | TRL - 4, 5, 6, 7
Sl. No. | NORTH ZONE Name of the EHT Lines | Division | Voltage Level (kV) | Route Length (Kms.) | Length (Ckt. Kms.) | Year of Comm. |  |  | Remarks | Ckt km (DC) | Ckt km (SC) | Towers | Conductor Type | Earth Wire Type | Maintenance Jurisdiction
400 KV Lines
1 | 400 kV Rengali - Kolaghat (Orissa Portion) SC (Loc. No. 1 to 663) | Rengali | 400 | 241.5 | 241.5 |  |  | 1995 |  | 0 | 241.5
| Total |  |  | 241.5 | 241.5 |  |  |  |  | 0 | 241.5
220 KV Lines
1 | 220 kV Bhadrak LILO DC | Balasore | 220 | 1.75 | 3.5 | 22 | 10 | 2008 |  | 3.5 | 0
2 | 220 kV Duburi - Duburi New DC | Balasore | 220 | 6.384 | 12.768 |  |  | 1996 (Ckt-I) 1997 (Ckt-II) 2005 (LILO) |  | 12.768 | 0 |  |  |  | Balasore S/D
3 | 220 kV Duburi - NINL SC | Jajpur Road | 220 | 6 | 6 | 1 | 6 | 2000 |  | 0 | 6
4 | 220 kV Duburi New - Balasore DC | Balasore | 220 | 137.894 | 275.788 |  |  | 1996 (Ckt-I) 1997 (Ckt-II) 2005 (LILO) |  | 275.788 | 0 |  |  |  | Balasore S/D
5 | 220 kV Joda - Jamshedpur SC (Loc. No. 316 to 435) | Joda | 220 | 32 | 32 |  |  | 1985 |  | 0 | 32
6 | 220 kV Joda - Ramchandrapur SC | Joda | 220 | 15.5 | 15.5 |  |  |  |  | 0 | 15.5
7 | 220 kV Joda - TSIL SC | Joda | 220 | 7.3 | 7.3 | 23 | 3 | 2007 |  | 0 | 7.3
8 | 220 kV Kuchei - Balasore DC | Balasore | 220 | 76.859 | 153.718 | 3 | 10 | 2007 |  | 153.718 | 0 |  |  |  | Balasore S/D
9 | 220 kV TTPS - Joda DC (Loc. No. 235 to 503) | Rengali | 220 | 84 | 168 |  |  | 1967(CKT-1) 1970(CKT-II) |  | 168 | 0
| Total |  |  | 367.687 | 674.574 |  |  |  |  | 613.774 | 60.8
132 KV Lines
1 | 132 kV Arya Iron LILO DC | Joda | 132 | 0.47 | 0.94 | 4 | 3 | 2008 |  | 0.94 | 0
2 | 132 kV Balasore - Baripada SC | Balasore | 132 | 57.3 | 57.3 |  |  | 1983 |  | 0 | 57.3 |  |  |  | Baripada S/D
3 | 132 kV Balasore - Bhadrak SC | Balasore | 132 | 74.195 | 74.195 |  |  | 1997 |  | 0 | 74.195 |  |  |  | Balasore S/D
4 | 132 kV Balasore - Birla Tyres SC | Balasore | 132 | 2.598 | 2.598 |  |  | 1991 |  | 0 | 2.598 |  |  |  | Balasore S/D
5 | 132 kV Balasore - EMAMI Paper SC | Balasore | 132 | 8.571 | 8.571 | 18 | 1 | 2008 |  | 0 | 8.571 |  |  |  | Balasore S/D
6 | 132 kV Balasore - Ispat Alloys SC | Balasore | 132 | 6.45 | 6.45 |  |  | 1986 |  | 0 | 6.45 |  |  |  | Balasore S/D
7 | 132 kV Balasore - Jaleswar SC | Balasore | 132 | 55.762 | 55.762 |  |  | 1991 |  | 0 | 55.762 |  |  |  | Jaleswar S/D
8 | 132 kV Balasore - Traction SC | Balasore | 132 | 3.565 | 3.565 | 2 | 12 | 2005 |  | 0 | 3.565 |  |  |  | Balasore S/D
9 | 132 kV Baripada - Rairangpur SC | Balasore | 132 | 76.386 | 76.386 |  |  | 1984 |  | 0 | 76.386 |  |  |  | Baripada S/D
10 | 132 kV Bhadrak - FACOR SC | Balasore | 132 | 4.564 | 4.564 |  |  | 1983 |  | 0 | 4.564 |  |  |  | Bhadrak S/D
11 | 132 kV Bhadrak - Traction SC | Balasore | 132 | 8.086 | 8.086 | 14 | 12 | 2003 |  | 0 | 8.086 |  |  |  | Bhadrak S/D
12 | 132 kV Bolani DC ('T' between Loc. No. 270 & 271 of Joda - Nalda Line) | Joda | 132 | 7.88 | 15.76 |  |  | 1995 |  | 15.76 | 0
13 | 132 kV Duburi - Baminipal SC | Jajpur Road | 132 | 20.974 | 20.974 |  |  | 1985 |  | 0 | 20.974
14 | 132 kV Duburi - Jajpur Road DC | Jajpur Road | 132 | 13.2 | 26.4 |  |  | 1969 |  | 26.4 | 0
15 | 132 kV Duburi - Jakhapura Traction SC | Jajpur Road | 132 | 12.856 | 12.856 | 30 | 9 | 2005 |  | 0 | 12.856
16 | 132 kV Duburi - MESCO DC | Jajpur Road | 132 | 10 | 20 | 17 | 1 | 2000 |  | 20 | 0
17 | 132 kV Jabamayee Ferro Alloys LILO DC | Jajpur Road | 132 | 0.738 | 1.476 | 14 | 11 | 2008 |  | 1.476 | 0
18 | 132 kV Jaipur Road - Bhadrak SC | Balasore | 132 | 44.932 | 44.932 |  |  | 1979 |  | 0 | 44.932 |  |  |  | Bhadrak S/D
19 | 132 kV Jajpur Town LILO DC | Balasore | 132 | 10.519 | 21.038 | 26 | 9 | 1998 |  | 21.038 | 0
20 | 132 kV Jaleswar - Traction SC | Balasore | 132 | 2.34 | 2.34 | 15 | 9 | 2002 |  | 0 | 2.34 |  |  |  | Jaleswar S/D
21 | 132 kV Joda - FAP SC | Joda | 132 | 0.06 | 0.06 | 31 | 10 | 2003 |  | 0 | 0.06
22 | 132 kV Joda - Kenduposi SC | Joda | 132 | 49.9 | 49.9 |  |  |  |  | 0 | 49.9
23 | 132 kV Joda - Nalda - Bhalulata SC (Loc. No. 78 to 298) | Joda | 132 | 59 | 59 |  |  | 1959 |  | 0 | 59
24 | 132 kV Joda - Palasponga - Rairangpur SC (Loc. No. 1 to 111) | Joda | 132 | 37 | 37 |  |  | 1981 |  | 0 | 37
25 | 132 kV Kalarangi LILO DC | Jajpur Road | 132 | 13.02 | 26.04 |  |  | 1998 |  | 26.04 | 0
26 | 132 kV Karanjia LILO DC | Balasore | 132 | 23.54 | 47.08 | 6 | 5 | 2009 |  | 47.08 | 0 |  |  |  | Karanjia S/D
27 | 132 kV Kuchei LILO DC (Baripada - Rairangpur Line) | Balasore | 132 | 1.1 | 2.2 | 3 | 6 | 2005 |  | 2.2 | 0 |  |  |  | Rairangpur S/D
28 | 132 kV Link SC (Between Jharkhand Bay at Kuchei and 220kV Kuchei-Balasore Ckt - II) | Balasore | 132 | 0.3 | 0.3 | 28 | 11 | 2007 |  | 0 | 0.3
29 | 132 kV Polasponga - Rairangpur SC (Loc. No. 111 to 336) | Balasore | 132 | 79.1 | 79.1 |  |  | 1980 |  | 0 | 79.1 |  |  |  | Rairangpur S/D
30 | 132 kV Polasponga LILO DC (Loc. No. 73/1 to 73/6) | Joda | 132 | 18 | 36 |  |  | 1981 |  | 36 | 0
31 | 132 kV Soro LILO DC | Balasore | 132 | 1.01 | 2.02 | 27 | 2 | 1997 |  | 2.02 | 0 |  |  |  | Soro S/D
32 | 132 kV TTPS - Duburi DC | Jajpur Road | 132 | 86.8 | 173.6 |  |  | 1969 |  | 173.6 | 0
| Total |  |  | 790.216 | 976.493 |  |  |  |  | 372.554 | 603.939
| 220 kV Duburi New - Jindal DC | Firm | 220 | 4.784 | 9.568 | 12 | 9 | 2005 |  | 9.568 | 0
| 220 kV Duburi New - Rohit Ferro Tech SC | Firm | 220 | 4.752 | 4.752 | 21 | 11 | 2006 |  | 0 | 4.752
| 220 kV Duburi New - VISA Steel & Power SC | Firm | 220 | 10.55 | 10.55 | 22 | 8 | 2007 |  | 0 | 10.55
| 132 kV Bee Kay Steels LILO DC | Joda | 132 | 2.46 | 4.92 |  |  |  |  | 4.92 | 0
Note on I8: 220kV SC line from Duburi to Balasore (Ckt-I) completed on 30.05.96 220kV Duburi-Balasore Ckt-II completed on 08.08.97 220kV Duburi - Duburi New line completed on 14.07.05
Note on B14: One Ckt. Has been test charged on 28.09.07 and synchronised on 03.10.07. Charged through own bay at Balasore on 26.08.08.
Note on B55: To be charged
Note on B26: As per O&M data Baripada-Kuchei=11.653km Kuchei-Rairangpur=65.180km
Note on B24: Proposed Basta S/S : Balasore-Basta=35kms (approx.)
Note on E4: Total Line Length = 376kms.
Note on B54: On DC Towers. Excluded from ARR
Note on B22: On DC Towers
Note on B52: Excluded from ARR
Note on B53: Excluded from ARR
Note on B31: DC diversion of 0.614 route km has been commissioned on 26.04.2007 to avoid Gadnaal Bridge crossing.
Note on I10: 220kV SC line from Duburi to Balasore (Ckt-I) completed on 30.05.96 220kV Duburi-Balasore Ckt-II completed on 08.08.97 220kV Duburi - Duburi New line completed on 14.07.05

## South
LICENSEE : OPTCL | [8 empty] | TRL - 4, 5, 6, 7
Sl. No. | SOUTH ZONE Name of the EHT Lines | Division | Voltage Level (kV) | Route Length (Kms.) | Length (Ckt. Kms.) | Year of Comm. |  |  | Remarks | Ckt km (DC) | Ckt km (SC) | Towers | Location Nos. | Conductor Type | Earth Wire Type | Maintenance Jurisdiction
400 KV Lines
1 | 400 kV Indravati P.H - PGCIL (Mukhiguda) SC | Jayanagar | 400 | 3.701 | 3.701 | 3 | 9 | 1999 |  | 0 | 3.701
| Total |  |  | 3.701 | 3.701 |  |  |  |  | 0 | 3.701
220 KV Lines
1 | 220 kV Balimela - U.Sileru SC | Jayanagar | 220 | 24.76 | 24.76 |  |  | 1982 |  | 0 | 24.76
2 | 220 kV Balimela PH - Balimela SC | Jayanagar | 220 | 0.2 | 0.2 | 21 | 7 | 2008 |  | 0 | 0.2
3 | 220 kV Bhanjanagar - Meramundali DC (Loc. No. 197 to 470) | Bhanjanagar | 220 | 80.5 | 161 |  |  | 1974 |  | 161 | 0 |  |  |  |  | Bhanjanagar S/D
4 | 220 kV Bhanjanagar - Nayagarh DC (Loc. No. 1 to 230) | Bhanjanagar | 220 | 68.59 | 137.18 |  | 5 | 1989 |  | 137.18 | 0 |  |  |  |  | Bhanjanagar S/D
5 | 220 kV Jayanagar - Balimela - III SC | Jayanagar | 220 | 93.46 | 93.46 |  |  | 1982 |  | 0 | 93.46 | 307 |  | Zebra (54+7/3.18mm) | 7/3.15mm Horse | 220kV TLS, Jeypore
6 | 220 kV Jayanagar - Balimela DC | Jayanagar | 220 | 92.072 | 184.144 |  |  | 1974 |  | 184.144 | 0 | 312 |  | Zebra (54+7/3.18mm) | 7/3.15mm Horse | 220kV TLS, Jeypore
7 | 220 kV Jayanagar - PGCIL DC | Jayanagar | 220 | 7.73 | 15.46 |  |  | 1990 |  | 15.46 | 0 | 25 |  | Zebra (54+7/3.18mm) | 7/3.15mm Horse | 220kV TLS, Jeypore
8 | 220 kV Jayanagar - Therubali - III SC | Therubali | 220 | 123 | 123 | 2 | 4 | 1984 |  | 0 | 123 | 403 | 712 - 309 | ACSR Zebra (54/7/0.125) | 7/8 SWG
9 | 220 kV Jayanagar - Therubali DC | Therubali | 220 | 123.21 | 246.42 |  | 10 | 1974 |  | 246.42 | 0 | 406 | 1049 - 1454 | ACSR Zebra (54/7/0.125) | Horse (12/7/0.118)
10 | 220 kV Jayanagar - Upper Kolab DC | Jayanagar | 220 | 6 | 12 |  |  | 1987 |  | 12 | 0 | 21 |  | Zebra (54+7/3.18mm) | 7/3.15mm Horse | 220kV TLS, Jeypore
11 | 220 kV Narendrapur - Balugaon DC (Charged at 132kV for P/S to Khurda Grid S/S) | Berhampur | 220 | 86 | 172 | 30 | 10 | 2004 |  | 172 | 0
12 | 220 kV Therubali - Bhanjanagar DC (Loc. No. 471 to 827) | Bhanjanagar | 220 | 104.8 | 209.6 |  |  | 1974 |  | 209.6 | 0 |  |  |  |  | Bhanjanagar S/D
13 | 220 kV Therubali - Bhanjanagar DC (Loc. No. 828 to 1049) | Therubali | 220 | 66.66 | 133.32 |  |  | 1974 |  | 133.32 | 0 | 221 | 1049 - 828 | ACSR Zebra (54/7/0.125) | Horse
14 | 220 kV Therubali - Indravati DC (I & II) | Therubali | 220 | 86.148 | 172.296 | 26 | 5 | 2001 |  | 172.296 | 0 | 287 | 1 - 287 | AAAC Zebra | 7/8 SWG Steel
15 | 220 kV Therubali - Indravati DC (III & IV) | Therubali | 220 | 91 | 182 | 22 | 7 | 2005 |  | 182 | 0
16 | 220 kV Therubali - Narendrapur DC (Loc. No. 1 to 293) | Therubali | 220 | 88.27 | 176.54 | 20 | 8 | 2001 |  | 176.54 | 0 | 293 | 1 - 293 | ACSR Zebra | Optic Fibre
17 | 220 kV Therubali - Narendrapur DC (Loc. No. 293 to 656) | Berhampur | 220 | 107.8 | 215.6 | 20 | 8 | 2001 |  | 215.6 | 0 |  |  |  |  | Narendrapur S/D
| Total |  |  | 1250.2 | 2258.98 |  |  |  |  | 2017.56 | 241.42
132 KV Lines
1 | 132 kV Akhusingh - Parlakhemundi SC | Therubali | 132 | 76.9 | 76.9 | 15 | 7 | 2001 |  | 0 | 76.9 | 276 | 1 - 276 | ACSR Panther | 7/3.15 GI
2 | 132 kV Aska - Berhampur SC | Bhanjanagar | 132 | 33.96 | 33.96 |  |  | 1978 |  | 0 | 33.96 |  |  |  |  | Aska S/D
3 | 132 kV Aska - Chhatrapur DC | Berhampur | 132 | 43.725 | 87.45 |  |  | 1982 |  | 87.45 | 0 |  |  |  |  | Chhatrapur S/D
4 | 132 kV Balugaon - Chhatrapur SC | Berhampur | 132 | 54.19 | 54.19 |  |  | 1982 |  | 0 | 54.19 |  |  |  |  | Chhatrapur S/D
5 | 132 kV Bhanjanagar - Aska DC | Bhanjanagar | 132 | 32.93 | 65.86 |  |  | 1984 |  | 65.86 | 0 |  |  |  |  | Bhanjanagar S/D
6 | 132 kV Bhanjanagar - Phulbani SC | Bhanjanagar | 132 | 86.5 | 86.5 |  |  | 1986 |  | 0 | 86.5 |  |  |  |  | Bhanjanagar S/D
7 | 132 kV Chhatrapur - Ganjam SC | Berhampur | 132 | 12 | 12 |  |  | 1968 |  | 0 | 12 |  |  |  |  | Ganjam S/D
8 | 132 kV Chhatrapur - Rambha TSS SC | Berhampur | 132 | 28.904 | 28.904 | 22 | 4 | 2003 |  | 0 | 28.904 |  |  |  |  | Chhatrapur S/D
9 | 132 kV Chhatrapur- IRE DC | Berhampur | 132 | 5.8 | 11.6 |  |  | 1981 |  | 11.6 | 0 |  |  |  |  | Ganjam S/D
10 | 132 kV Digapahandi LILO DC | Berhampur | 132 | 1.882 | 3.764 | 21 | 12 | 2003 |  | 3.764 | 0 |  |  |  |  | Berhampur S/D
11 | 132 kV Jayanagar - Damanjodi SC | Jayanagar | 132 | 45 | 45 |  |  | 1986 |  | 0 | 45 | 326 |  | AAAC Panther | GI | TLS, Sunabeda (154 towers)
12 | 132 kV Jayanagar - Rayagada SC | Jayanagar | 132 | 108 | 108 |  |  | 1956 |  | 0 | 108 | 353 |  | ACSR Linx | 7/8 swing GI | 132kV TLS, Jeypore (Loc. 154-506)
13 | 132 kV Jayanagar - Sunabeda SC | Jayanagar | 132 | 40 | 40 |  |  | 1970 |  | 0 | 40 |  |  | Panther (13km) + Lynx (24km) | Horse (Loc.1-76, 27km) + GI (Loc.76-126, 13km) | TLS, Sunabeda (128 towers)
14 | 132 kV Jayanagar - Tentulikhunti SC | Jayanagar | 132 | 54.6 | 54.6 |  |  | 1985 |  | 0 | 54.6 | 189 |  | Panther | 7/10 GI | TLS, Tentulikhunti
15 | 132 kV Machkund PH - Jayanagar (RE Line) SC | Jayanagar | 132 | 145 | 145 |  |  | 1982 |  | 0 | 145 | 498 |  | ACSR Linx (Loc.1-17, 5km) + ACSR Panther (Loc. 18-146, 140km) | 7/8 swing GI (5km) + 7/4mm GI (140km) | 132kV TLS, Jeypore
16 | 132 kV Machkund PH - Jayanagar SC | Jayanagar | 132 | 43 | 43 |  |  | 1956 |  | 0 | 43 | 153 |  | ACSR Panther (Loc.1-28, 8km.) + ACSR Linx (Loc.29-153, 35km.) | 7/8 swing GI | 132kV TLS, Jeypore
17 | 132 kV Manbar - Jayangar Diversion SC (Loc. No. 258 to 278) | Jayanagar | 132 | 7.106 | 7.106 | 12 | 4 | 2007 |  | 0 | 7.106
18 | 132 kV Mohana - Berhampur SC | Berhampur | 132 | 58 | 58 |  |  | 1962 |  | 0 | 58 |  |  |  |  | Berhampur S/D
19 | 132 kV Narendrapur - Berhampur DC | Berhampur | 132 | 10.91 | 21.82 | 20 | 9 | 2004 |  | 21.82 | 0 |  |  |  |  | Berhampur S/D
20 | 132 kV Narendrapur - Chatrapur DC | Berhampur | 132 | 13.9 | 27.8 | 24 | 9 | 2004 |  | 27.8 | 0 |  |  |  |  | Chhatrapur S/D
21 | 132 kV Narendrapur - Jagannathpur TSS SC | Berhampur | 132 | 0.54 | 0.54 | 14 | 9 | 2000 |  | 0 | 0.54 |  |  |  |  | Narendrapur S/D
22 | 132 kV Rayagada - Akhusingh - Mohana SC | Berhampur | 132 | 120 | 120 |  |  | 1962 |  | 0 | 120 |  |  |  |  | Mohana S/D
23 | 132 kV Rayagada - VBC Ferro SC | Therubali | 132 | 0.3 | 0.3 | 30 | 3 | 2005 |  | 0 | 0.3
24 | 132 kV Sunabeda - Damanjodi SC | Jayanagar | 132 | 13 | 13 |  |  | 1985 |  | 0 | 13 |  |  | Panther | GI | TLS Sunabeda (44 towers)
25 | 132 kV Sunabeda - HAL SC | Jayanagar | 132 | 0.6 | 0.6 | 25 | 11 | 2005 |  | 0 | 0.6
26 | 132 kV Therubali - IMFA SC | Therubali | 132 | 2 | 2 |  |  | 1992 |  | 0 | 2 | 6 | 1 - 6 | ACSR Panther | 7/8 SWG GI
27 | 132 kV Therubali - JK Paper SC | Therubali | 132 | 9.68 | 9.68 | 30 | 6 | 1998 |  | 0 | 9.68 | 38 | 1 - 38 | ACSR Panther | 7/3.15 GI
28 | 132 kV Therubali - Rayagada SC | Therubali | 132 | 20 | 20 |  |  | 1967 |  | 0 | 20 | 68 | 1 - 68 | ACSR Panther | 7/8 SWG & Horse
| Total |  |  | 1068.427 | 1177.574 |  |  |  |  | 218.294 | 959.28
Note on F40: Diversion of line from Jayanagar to Manbar (between Loc. 258 & 278) of length 7.106 kms. to be added. Length of dismantled portion to be deducted.
Note on B8: Previous arrangement was 'T' of 0.07km length from 220kV Balimela - Jayanagar Ckt - II, charged on 19.11.07
Note on I29: As per previous Tariff Data : 1991 Balugaon Grid commissioned in 1991 Chhatrapur-Khurda Line completed earlier.
Note on B21: 3rd Ckt commercially charged on 05.09.07 & 4th Ckt commercially charged on 31.12.2008
Note on E17: Total Length of 220kV Narendrapur-Chandaka DC = 187kms.
Note on O40: 146 nos. of locations are of tapping feeder with 2-Ph lines. Out of 140kms. of RE line, 100km is the main line and 40km. Is tapping line to TSS.
Note on B7: Maintained by OHPC
Note on B14: Diversion of 1.532km has been commisioned in 06/2008 to avoid Khurda-Bolangir Railway crossing at Rebatiguda

## West
LICENSEE : OPTCL | [8 empty] | TRL - 4, 5, 6, 7
Sl. No. | WESTERN ZONE Name of the EHT Lines | Division | Voltage Level (kV) | Route Length (Kms.) | Length (Ckt. Kms.) | Year of Comm. |  |  | Remarks | Ckt km (DC) | Ckt km (SC) | Towers | Conductor Type | Earth Wire Type | Maintenance Jurisdiction
220 KV Lines
1 | 220 kV Barkote LILO DC | Rourkela | 220 | 0.9 | 1.8 | 22 | 7 | 2001 |  | 1.8 | 0
2 | 220 kV Budhipadar - Bhusan DC | Burla | 220 | 14.92 | 29.84 | 6 | 8 | 2005 |  | 29.84 | 0
3 | 220 kV Budhipadar - IB DC (Ckt - I & II) | Burla | 220 | 25.38 | 50.76 |  |  | 1995 |  | 50.76 | 0
4 | 220 kV Budhipadar - IB DC (Ckt - III & IV) | Burla | 220 | 25.958 | 51.916 | 7 | 1 | 2008 |  | 51.916 | 0
5 | 220 kV Budhipadar - Katapali DC | Burla | 220 | 61.716 | 123.432 | 20 | 4 | 2007 |  | 123.432 | 0
6 | 220 kV Budhipadar - Korba DC | Burla | 220 | 60 | 120 |  |  | 1995 |  | 120 | 0
7 | 220 kV Budhipadar - SPS DC | Burla | 220 | 6.4 | 12.8 | 7 | 11 | 2007 |  | 12.8 | 0
8 | 220 kV Budhipadar - Tarkera DC (Bamra to Tarkera, Loc. No. 121 to 328) | Rourkela | 220 | 69 | 138 |  |  | 1995 |  | 138 | 0
9 | 220 kV Budhipadar - Tarkera DC (Upto Bamra, Loc. No. 1 to 120) | Burla | 220 | 40 | 80 |  |  | 1995 |  | 80 | 0
10 | 220 kV Budhipadar - Vedant DC | Burla | 220 | 16.75 | 33.5 | 21 | 3 | 2008 |  | 33.5 | 0
11 | 220 kV Chandiposh Traction DC | Rourkela | 220 | 5.2 | 10.4 | 26 | 3 | 2000 |  | 10.4 | 0
12 | 220 kV Katapali - Bargarh DC (Charged at 132kV for P/S to Bolangir Grid) | Burla | 220 | 32.82 | 65.64 | 8 | 11 | 2006 |  | 65.64 | 0
13 | 220 kV Tarkera - Bisra (PGCIL) DC | Rourkela | 220 | 15.335 | 30.67 |  |  | 1993 |  | 30.67 | 0
14 | 220 kV Tarkera - Rengali DC (Loc. No. 307 to 645) | Rourkela | 220 | 117 | 234 |  |  | 1979-80 |  | 234 | 0
| Total |  |  | 491.379 | 982.758 |  |  |  |  | 982.758 | 0
132 KV Lines
1 | 132 kV Aryan - Viraj LILO DC | Burla | 132 | 0.47 | 0.94 | 19 | 9 | 2009 |  | 0.94 | 0
2 | 132 kV Bamra Traction DC | Rourkela | 132 | 5 | 10 | 13 | 11 | 1998 |  | 10 | 0
3 | 132 kV Bargarh - ACC DC | Bolangir | 132 | 2.87 | 5.74 |  |  | 1993 |  | 5.74 | 0
4 | 132 kV Bargarh - Bolangir SC | Bolangir | 132 | 79.7 | 79.7 |  |  | 1981 |  | 0 | 79.7
5 | 132 kV Bhalulata Traction SC 'T' off | Rourkela | 132 | 2.71 | 2.71 | 24 | 1 | 1999 |  | 0 | 2.71
6 | 132 kV Bolangir - Patnagarh SC | Bolangir | 132 | 41.428 | 41.428 | 28 | 9 | 2001 |  | 0 | 41.428
7 | 132 kV Bolangir - Saintala SC | Bolangir | 132 | 39.98 | 39.98 |  |  |  |  | 0 | 39.98
8 | 132 kV Bolangir - Sonepur SC | Bolangir | 132 | 53.76 | 53.76 | 7 | 11 | 2001 |  | 0 | 53.76
9 | 132 kV Budhipadar - Brajrajnagar SC | Burla | 132 | 11.745 | 11.745 |  |  |  |  | 0 | 11.745
10 | 132 kV Budhipadar - Jharsuguda SC | Burla | 132 | 6 | 6 |  |  | 1995 |  | 0 | 6
11 | 132 kV Budhipadar - MCL DC | Burla | 132 | 23 | 46 | 18 | 8 | 2000 |  | 46 | 0
12 | 132 kV Budhipadar - MSP Metallics SC | Burla | 132 | 0.592 | 0.592 | 5 | 1 | 2008 |  | 0 | 0.592
13 | 132 kV Budhipadar - Sundargarh DC | Rourkela | 132 | 29.92 | 59.84 | 31 | 12 | 2003 |  | 59.84 | 0
14 | 132 kV Budhipadar - Tarkera Ckt - I SC (Rajgangpur to Tarkera, Loc. No. 1 to 88) | Rourkela | 132 | 29 | 29 |  |  | 1995 |  | 0 | 29
15 | 132 kV Budhipadar - Tarkera Ckt - II SC (Rajgangpur to Tarkera, Loc. No. 1 to 89) | Rourkela | 132 | 29 | 29 |  |  | 1995 |  | 0 | 29
16 | 132 kV Budhipadar - Tarkera DC (Bamra to Rajgangpur, Loc. No. 283 to 410) | Rourkela | 132 | 37 | 74 |  |  | 1995 |  | 74 | 0
17 | 132 kV Budhipadar - Tarkera DC (Upto Bamra, Loc. No. 164 to 283) | Burla | 132 | 44 | 88 |  |  | 1995 |  | 88 | 0
18 | 132 kV Burla PH - Boinda SC | Burla | 132 | 130 | 130 |  |  | 1963 |  | 0 | 130
19 | 132 kV Burla PH - Budhipadar DC | Burla | 132 | 59.38 | 118.76 |  |  |  |  | 118.76 | 0
20 | 132 kV Burla PH - HINDALCO DC | Burla | 132 | 9 | 18 |  |  | 1958 |  | 18 | 0
21 | 132 kV Burla PH - Rourkela Ckt - III SC (Loc. 294-430-526, Bamra to Rourkela) | Rourkela | 132 | 66 | 66 |  |  | 1958 |  | 0 | 66
22 | 132 kV Burla PH - Rourkela Ckt - III SC (Loc. J1-J65-171-294 upto Bamra) | Burla | 132 | 92.73 | 92.73 |  |  | 1958 |  | 0 | 92.73
23 | 132 kV Chhend - Adhunik Metalics SC | Rourkela | 132 | 20 | 20 | 6 | 8 | 2005 |  | 0 | 20
24 | 132 kV Chhend - Nuagaon TSS SC | Rourkela | 132 | 35 | 35 | 23 | 2 | 2004 |  | 0 | 35
25 | 132 kV Chiplima PH - Bargarh SC | Burla | 132 | 29.802 | 29.802 |  |  | 1979 |  | 0 | 29.802
26 | 132 kV Jharsuguda - L&T DC | Burla | 132 | 13 | 26 |  |  | 1995/2000 |  | 26 | 0
27 | 132 kV Jharsuguda - Traction SC | Burla | 132 | 0.15 | 0.15 |  |  |  |  | 0 | 0.15
28 | 132 kV Katapali LILO DC (Chiplima PH - Bargarh Line) | Burla | 132 | 12.66 | 25.32 | 27 | 4 | 2007 |  | 25.32 | 0
29 | 132 kV Kesinga - Junagarh SC | Kesinga | 132 | 52.548 | 52.548 | 16 | 12 | 2001 |  | 0 | 52.548 | 179 | ACSR Panther, 30+7/3.00, 212.1 sqmm
30 | 132 kV Kesinga - Khariar SC | Kesinga | 132 | 58.5 | 58.5 |  |  | 1995 |  | 0 | 58.5 | 187 | ACSR Panther, 30+7/3.00, 212.1 sqmm
31 | 132 kV Kesinga - Powmax (Turla) SC | Kesinga | 132 | 14.532 | 14.532 |  |  |  |  | 0 | 14.532 | 52 | ACSR Panther, 30+7/3.00, 212.1 sqmm
32 | 132 kV Kesinga - Saintala SC | Kesinga | 132 | 33.2 | 33.2 |  |  | 1980 |  | 0 | 33.2 | 106 | ACSR Panther, 30+7/3.00, 212.1 sqmm
33 | 132 kV Link SC (Between 220kV Katapali-Bargarh Line & ACC Ckt-I) | Bolangir | 132 | 0.888 | 0.888 | 8 | 11 | 2006 |  | 0 | 0.888
34 | 132 kV Link SC (From Katapali S/S to 220kV Katapali-Bargarh Line) | Burla | 132 | 0.996 | 0.996 | 8 | 11 | 2006 |  | 0 | 0.996
35 | 132 kV Rajgangpur - OCL SC | Rourkela | 132 | 0.5 | 0.5 |  |  |  |  | 0 | 0.5
36 | 132 kV Rajgangpur - Traction DC | Rourkela | 132 | 2.1 | 4.2 |  |  |  |  | 4.2 | 0
37 | 132 kV Rajgangpur LILO DC | Rourkela | 132 | 1.2 | 2.4 | 17 | 10 | 2006 |  | 2.4 | 0
38 | 132 kV Rourkela - Goelkera SC | Rourkela | 132 | 20 | 20 |  |  |  |  | 0 | 20
39 | 132 kV Rourkela - Nalda SC (Upto Bhalulata, Loc. No. 1 to 78) | Rourkela | 132 | 24 | 24 |  |  |  |  | 0 | 24
40 | 132 kV Sambalpur LILO DC | Burla | 132 | 6.929 | 13.858 |  |  | 1988 |  | 13.858 | 0
41 | 132 kV Sambalpur 'T' off SC | Burla | 132 | 0.386 | 0.386 | 9 | 12 | 2005 |  | 0 | 0.386
42 | 132 kV Shyam DRI LILO DC | Burla | 132 | 1.9 | 3.8 | 24 | 8 | 2006 |  | 3.8 | 0
43 | 132 kV Tarkera - Chend DC | Rourkela | 132 | 6.165 | 12.33 | 19 | 3 | 1999 |  | 12.33 | 0
44 | 132 kV Tarkera - Rourkela Ckt - I SC | Rourkela | 132 | 3 | 3 |  |  |  |  | 0 | 3
45 | 132 kV Tarkera - Rourkela Ckt - II SC | Rourkela | 132 | 3 | 3 |  |  |  |  | 0 | 3
46 | 132 kV Tarkera - RSP DC | Rourkela | 132 | 14 | 28 |  |  |  |  | 28 | 0
47 | 132 kV Tarkera - RSP III SC | Rourkela | 132 | 14 | 14 | 14 | 11 | 2008 |  | 0 | 14
48 | 132 kV Therubali - Kesinga SC | Kesinga | 132 | 106.5 | 106.5 |  |  | 1985 |  | 0 | 106.5 | 351 | ACSR Panther, 30+7/3.00,212.1sqmm
49 | 132 kV Vedant Alumina LILO DC | Kesinga | 132 | 12.403 | 24.806 | 17 | 10 | 2006 |  | 24.806 | 0
| Total |  |  | 1280.644 | 1561.641 |  |  |  |  | 561.994 | 999.647
Note on B15: Out of 6 conductors 4 conductors have been strung. No earth wire.
Note on I55: As per previous Tariff Data : 1973 (Grid Comm. Year)
Note on I28: As per previous Tariff Data : 1969 (Budhipadar Grid commissioned in 1995)
Note on I37: Boinda LILO completed on 24.06.03
Note on B7: 3rd Circuit charged on 07.12.2008.
Note on B61: LILO in betwenn Loc. J107 & J108
Note on E8: Total Length of 220kV Budhipadar-Bolangir DC = 179.137kms. Burla-Bargarh DC = 34.257kms. Bargarh-Bolangir DC = 83.59kms.
Note on E15: Target = 34.257kms.
Note on B13: Ckt-I cahrged on 06.03.08 Ckt-II cahrged on 21.03.08
Note on B25: On DC Tower
Note on B27: On DC Tower
Note on B31: On DC Tower
Note on B66: On 220kV DC Towers. Synchronised at RSP end on 21.11.2008

## TRL-8
LINCENCEE.. Orissa Power Transmission Corporation Limited | [19 empty] | TRL-8
ABSTRCT OF TRANSMISSION LINES
DESCRIPTION |  | TOTAL |  |  | POOL |  |  |  | CENTRAL |  |  | NORTH |  |  | SOUTH |  |  | WEST
TOTAL OF TRANSMISSION LINES | UNIT | D/C CKT KM | S/C CKT KM | TOTAL | D/C CKT KM | A/C on D/C | S/C CKT KM | TOTAL | D/C CKT KM | S/C CKT KM | TOTAL | D/C CKT KM | S/C CKT KM | TOTAL | D/C CKT KM | S/C CKT KM | TOTAL | D/C CKT KM | S/C CKT KM | TOTAL
400 KV | KM | 200.902 | 245.201 | 446.103 |  |  |  |  | 200.902 | 0 | 200.902 | 0 | 241.5 | 241.5 | 0 | 3.701 | 3.701 | 0 | 0 | 0
220 KV | KM | 4725.418 | 439.957 | 5165.375 |  |  |  |  | 1111.326 | 137.737 | 1249.063 | 613.774 | 60.8 | 674.574 | 2017.56 | 241.42 | 2258.98 | 982.758 | 0 | 982.758
132 KV | KM | 1688.304 | 3319.6105 | 5007.9145 |  |  |  |  | 535.462 | 756.7445 | 1292.2065 | 372.554 | 603.939 | 976.493 | 218.294 | 959.28 | 1177.574 | 561.994 | 999.647 | 1561.641
66 KV | KM
TOTAL CKT KM | KM | 6614.624 | 4004.7685 | 10619.3925 |  |  |  |  | 1847.69 | 894.4815 | 2742.1715 | 986.328 | 906.239 | 1892.567 | 2235.854 | 1204.401 | 3440.255 | 1544.752 | 999.647 | 2544.399
COST OF TRANSMISSION LINE
400 KV
220 KV
132 KV
66 KV
TOTAL COST OF TRANSMISSION LINE

## Summary
Line Category | Route Length (km.) | Ckt Length (km.)
400kV | 345.652 | 446.103
220kV | 2802.666 | 5165.375
132kV | 4163.7625 | 5007.9145
Total | 7312.0805 | 10619.3925