## BERHAMPUR
LICENSEE : OPTCL | [11 empty] | FORM TRP - 8 |  | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
Sl.No. | BERHAMPUR CIRCLE NAME OF FEEDER | First six months of the previous year 2011-12 04/11 to 09/11 |  |  |  | Last six months of the previous year 2011-12 10/11 to 03/12 |  |  |  | First six months of the current year 2012-13 04/12 to 09/12
|  | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for
1 | 220 KV Bhanjanagar - Theruvali - I | 0.29653 | 0.029167 | 0.32569 | 99.82% | 1900-01-02 06:56 | 0.050694 | 1900-01-02 08:09 | 98.17% | 0.21389 | 0.036806 | 0.25069 | 99.86%
2 | 220 KV Bhanjanagar - Theruvali - II | 0.13333 | 0.022917 | 0.15625 | 99.91% | 1900-01-01 08:10 | 0.088889 | 1900-01-01 10:18 | 98.67% | 0.21875 | 1899-12-31 03:31 | 1899-12-31 08:46 | 99.25%
3 | 220 KV Bhanjanagar - Meramundali - I | 1899-12-31 22:33 | 1899-12-31 00:28 | 1900-01-01 23:01 | 98.38% | 1899-12-31 19:23 | 1899-12-31 15:22 | 1900-01-02 10:45 | 98.11% | 1900-01-01 23:14 | 1900-01-01 20:14 | 1900-01-04 19:28 | 96.82%
4 | 220 KV Bhanjanagar - Meramundali - II | 1899-12-31 19:13 | 0.077083 | 1899-12-31 21:04 | 98.97% | 1900-01-01 16:30 | 0.10417 | 1900-01-01 19:00 | 98.47% | 1900-01-01 12:10 | 0.78472 | 1900-01-02 07:00 | 98.2%
5 | 220 KV Bhanjanagar - Nayagarh | 0.45278 | 0.046528 | 0.49931 | 99.73% | 1899-12-31 22:50 |  | 1899-12-31 22:50 | 98.93% |  | 0.18542 | 0.18542 | 99.9%
6 | 220 KV Bhanjanagar - Mendhashala | 0.85903 | 0.22778 | 1899-12-31 02:05 | 99.4% | 1900-01-01 00:02 | 1899-12-31 10:27 | 1900-01-02 10:29 | 98.12% | 0.58819 | 0.20417 | 0.79236 | 99.57%
7 | 220 kV Mendhasala - Narendrapur - II | 1900-01-05 11:41 | 0.48819 | 1900-01-05 23:24 | 96.18% | 0.57292 | 1899-12-31 10:39 | 1900-01-01 00:24 | 98.89% | 1900-01-01 12:00 |  | 1900-01-01 12:00 | 98.63%
8 | 132 KV Bhanjanagar - Aska Ckt - I | 0.81111 | 0.74861 | 1899-12-31 13:26 | 99.15% | 1899-12-31 21:10 | 0.28889 | 1900-01-01 04:06 | 98.81% | 1899-12-31 02:43 | 0.76458 | 1899-12-31 21:04 | 98.97%
9 | 132 KV Bhanjanagar - Aska Ckt - II | 0.21875 | 0.97986 | 1899-12-31 04:46 | 99.34% | 1900-01-01 07:52 | 1899-12-31 04:27 | 1900-01-02 12:19 | 98.07% | 1899-12-31 09:34 | 1900-01-01 19:10 | 1900-01-03 04:44 | 97.7%
10 | 132 KV Bhanjanagar-Phulbani | 0.70208 | 0.34306 | 1899-12-31 01:05 | 99.43% | 0.85764 | 1899-12-31 01:35 | 1899-12-31 22:10 | 98.95% | 0.04375 | 0.325 | 0.36875 | 99.8%
11 | 132 KV Aska - Chhatrapur Ckt - I |  |  | 0.33333 | 99.82% | 1900-01-02 22:17 | 1900-01-01 08:32 | 1900-01-05 06:49 | 96.56% | 1900-01-12 18:58 | 1900-01-03 13:50 | 1900-01-17 08:48 | 89.94%
12 | 132 KV Aska - Chhatrapur Ckt - II |  |  | 0.33333 | 99.82% | 1900-01-02 19:07 | 1899-12-31 12:20 | 1900-01-04 07:27 | 97.09% | 1900-01-13 13:20 | 1900-01-01 21:14 | 1900-01-16 10:34 | 90.44%
13 | 132 KV Aska - Berhampur |  |  | 0.041667 | 99.98% | 1900-01-04 18:18 | 0.30694 | 1900-01-05 01:40 | 96.67% | 0.16944 | 0.2375 | 0.40694 | 99.78%
14 | 132 kV Narendarapur - Berhampur | 1899-12-31 11:17 | 7:00 | 1899-12-31 18:17 | 99.03% | 7:16 | 9:00 | 16:16 | 99.63% | 11:55 |  | 11:55 | 99.73%
15 | 132 kV Narendrapur - Chhatrapur-I |  |  |  | 100% | 15:43 | 21:53 | 1899-12-31 13:36 | 99.14% |  | 7:22 | 7:22 | 99.83%
16 | 132 kV Narendrapur - Chhatrapur-II | 7:47 | 4:45 | 12:32 | 99.71% | 21:35 | 13:52 | 1899-12-31 11:27 | 99.19% |  | 14:22 | 14:22 | 99.67%
17 | 132 kV Narendrapur - Traction |  | 2:05 | 2:05 | 99.95% | 18:45 |  | 18:45 | 99.57% |  |  |  | 100%
18 | 132 kV Narendrapur – Khurda | 1899-12-31 17:09 | 1899-12-31 03:56 | 1900-01-01 21:05 | 98.42% | 1899-12-31 18:25 | 19:35 | 1900-01-01 14:00 | 98.58% | 6:45 | 10:25 | 17:10 | 99.61%
19 | 132 kV Chhatrapur - IRE-I | 1900-01-11 23:27 | 1900-01-02 05:51 | 1900-01-15 05:18 | 91.11% | 0.35417 | 0.84236 | 1899-12-31 04:43 | 99.34% | 1900-01-05 04:01 | 1900-01-02 19:12 | 1900-01-08 23:01 | 94.54%
20 | 132 kV Chhatrapur - IRE-II |  | 1900-01-06 17:37 | 1900-01-06 17:37 | 95.76% | 0.41458 | 1900-01-01 04:07 | 1900-01-01 14:04 | 98.58% |  | 1899-12-31 16:05 | 1899-12-31 16:05 | 99.08%
21 | 132 kV Chatarpur - Ganjam |  | 1900-01-02 02:02 | 1900-01-02 02:02 | 98.31% |  | 1900-01-01 00:07 | 1900-01-01 00:07 | 98.9% |  | 1899-12-31 19:18 | 1899-12-31 19:18 | 99.01%
22 | 132 kV Chhatrapur - Rambha Traction |  | 0.35486 | 0.35486 | 99.81% |  | 0.034722 | 0.034722 | 99.98% |  | 0.12986 | 0.12986 | 99.93%
23 | 132 kV Chhatrapur - Balugaon | 1900-01-01 04:18 | 0.95069 | 1900-01-02 03:07 | 98.29% | 0.76111 | 1900-01-01 08:45 | 1900-01-02 03:01 | 98.29% |  | 1900-01-03 12:51 | 1900-01-03 12:51 | 97.51%
24 | 132 kV Balugaon - Solari Traction |  |  | 0.44861 | 99.75% |  |  | 1899-12-31 16:03 | 99.09% |  |  | 0.49861 | 99.73%
25 | 133 kV JCL Feeder | 0.58542 | 1900-01-01 17:54 | 1900-01-02 07:57 | 98.17% | 1899-12-31 06:21 | 1899-12-31 07:01 | 1900-01-01 13:21 | 98.6% | 1900-01-01 01:36 | 1899-12-31 12:01 | 1900-01-02 13:37 | 98.05%
26 | 132 kV Berhampur - Digapahandi |  |  | 0.61111 | 99.67% |  |  | 1900-01-04 18:13 | 96.84% |  |  | 1900-01-01 20:00 | 98.45%
27 | 132 kV Digapahandi - Mohana |  |  | 0.90347 | 99.5% |  |  | 1900-01-05 14:51 | 96.37% |  |  | 1900-01-05 14:39 | 96.38%
28 | 132 kV Mohana - Akhusingh |  |  | 22:21 | 99.49% |  |  | 1900-01-05 14:11 | 96.39% |  |  | 1900-01-05 09:05 | 96.5%
Note on K15: Required for bay shifting works at Chhatrapur Grid
Note on K16: Required for bay shifting works at Chhatrapur Grid

## BURLA
LICENSEE : OPTCL | [11 empty] | OERC FORM TRP - 8 |  | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
Sl.No. | BURLA CIRCLE NAME OF FEEDER | First six months of the previous year 2011-12 04/11 to 09/11 |  |  |  | Last six months of the previous year 2011-12 10/11 to 03/12 |  |  |  | First six months of the current year 2012-13 04/12 to 09/12
|  | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for
1 | 220 kV Budhipadar - Tarkera - I | 3:49 | 7:37 | 12:26 | 99.72% | 4:26 | 0.16944 | 8:30 | 99.81% |  |  |  | 100%
2 | 220 kV Budhipadar - Tarkera - II | 47:18 | 13:28 | 60:46 | 98.61% | 18:32 | 0.084028 | 20:33 | 99.53% |  |  |  | 100%
3 | 220 kV Budhipadar - Korba – I |  |  | 1899-12-31 03:24 | 99.37% |  |  | 1900-01-02 03:40 | 98.27% |  |  | 1899-12-31 22:22 | 98.94%
4 | 220 kV Budhipadar - Korba – II |  |  | 1900-01-01 11:21 | 98.64% |  |  | 1900-01-02 22:30 | 97.84% |  |  | 1900-01-05 11:25 | 96.45%
5 | 221 kV Budhipadar - Korba – III |  |  | 1900-01-01 09:32 | 98.69% | 1899-12-31 02:20 | 0.29444 | 1899-12-31 09:24 | 99.24% |  |  | 1900-01-12 08:55 | 92.67%
6 | 220 kV IB - Budhipadar - I |  |  | 1900-01-01 14:21 | 98.58% | 1899-12-31 07:44 |  | 1899-12-31 07:44 | 99.28% |  |  | 1900-01-03 02:39 | 97.75%
7 | 220 kV IB - Budhipadar - II |  |  | 1899-12-31 08:49 | 99.25% | 1899-12-31 03:35 |  | 1899-12-31 03:35 | 99.37% |  |  | 1900-01-02 02:10 | 98.31%
8 | 220 kV IB - Budhipadar - III |  |  | 1899-12-31 13:23 | 99.15% | 1899-12-31 00:17 |  | 1899-12-31 00:17 | 99.45% |  |  | 1900-01-03 19:56 | 97.35%
9 | 220 kV IB - Budhipadar - IV |  |  | 1900-01-01 01:29 | 98.87% |  |  | 1900-01-01 04:10 | 98.81% |  |  | 1900-01-05 11:44 | 96.44%
10 | 220 kV Budhipadar - Katapali - I |  |  | 1900-01-02 17:34 | 97.96% |  |  | 0.91528 | 99.5% |  |  | 1900-01-01 15:04 | 98.56%
11 | 220 kV Budhipadar - Katapali - II |  |  | 1900-01-03 01:11 | 97.78% |  |  | 0.86528 | 99.53% |  |  | 1900-01-01 19:04 | 98.47%
12 | 220 kV Budhipadar- Bhusan - I |  |  | 0.15625 | 99.91% | 0.92639 |  | 0.92639 | 99.49% |  |  | 0.21667 | 99.88%
13 | 220 kV Budhipadar- Bhusan - II |  |  | 0.15764 | 99.91% | 0.90833 |  | 0.90833 | 99.5% |  |  | 0.65903 | 99.64%
14 | 220 kV Budhipadar – SPS - I |  |  | 0.40903 | 99.78% |  |  | 0.0375 | 99.98% |  |  | 0.28958 | 99.84%
15 | 220 kV Katapali - New Bolangir - I |  | 0.4375 | 0.4375 | 99.76% |  | 1899-12-31 03:29 | 1899-12-31 03:29 | 99.37% |  |  | 1899-12-31 13:33 | 99.14%
16 | 220 kV Katapali - New Bolangir - II |  | 0.65278 | 0.65278 | 99.64% |  | 1900-01-01 04:56 | 1900-01-01 04:56 | 98.79% |  | 1900-01-01 00:40 | 1900-01-01 00:40 | 98.89%
17 | 220 kV Tarkera - PGCIL - I | 37:19 | 41:50 | 1900-01-02 07:09 | 98.19% |  | 1:02 | 1:02 | 99.98% | 2:20 | 25:8 | 27:28 | 99.37%
18 | 220 kV Tarkera - PGCIL - II | 21:05 | 17:27 | 38:32 | 99.12% |  | 1:02 | 1:02 | 99.98% | 2:20 | 25:38 | 27:58 | 99.36%
19 | 220 kV Tarkera - Barkote - I | 0:15 | 7:35 | 7:50 | 99.82% |  | 1:22 | 1:22 | 99.97% | 22:10 | 12:32 | 34:42 | 99.21%
20 | 220 kV Tarkera - Rengali - II | 1900-01-01 02:04 | 34:22 | 84:26 | 98.07% |  | 4:11 | 4:11 | 99.9% | 11:29 |  | 11:29 | 99.74%
21 | 220 kV Rengali - Barkote | 6:00 | 39:13 | 45:13 | 98.97% |  | 61:31 | 61:31 | 98.6% |  | 2:54 | 2:54 | 99.93%
22 | 132 kV Bolangir - Sonepur | 0.16667 |  | 0.16667 | 99.91% | 0.3 | 1899-12-31 06:45 | 1899-12-31 13:57 | 99.13% | 0.16667 |  | 0.16667 | 99.91%
23 | 132 kV Bargarh - Bolangir | 0.16667 | 0.33333 | 0.5 | 99.73% |  | 0.625 | 0.625 | 99.66% | 0.16667 | 0.33333 | 0.5 | 99.73%
24 | 132 kV Bolangir - Saintala |  |  |  | 100% |  | 0.6875 | 0.6875 | 99.62% |  |  |  | 100%
25 | 132 kV New Bolangir - Patnagarh |  |  |  | 100% |  | 0.66667 | 0.66667 | 99.63% |  |  |  | 100%
26 | 132 kV Bargarh - ACC - I |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
27 | 132 kV Bargarh - ACC - II |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
28 | 132 kV New Bolangir - Bolangir - I |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
29 | 132 kV New Bolangir - Bolangir - II |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
30 | 132 kV Burla PH - Budhipadar - I |  |  | 1900-01-02 15:51 | 97.99% |  |  | 0.91528 | 99.5% |  |  | 1899-12-31 07:10 | 99.29%
31 | 132 kV Burla PH - Budhipadar - II |  |  | 0.64722 | 99.65% |  |  | 0.86528 | 99.53% |  |  | 1900-01-04 05:39 | 97.13%
32 | 132 kV Budhipadar - Jharsuguda |  |  | 1899-12-31 16:37 | 99.07% |  |  | 1899-12-31 00:16 | 99.45% |  |  | 0.1125 | 99.94%
33 | 132 kV Budhipadar - Remja |  | 1899-12-31 06:49 | 1899-12-31 06:49 | 99.3% | 0.7625 | 0.78056 | 1899-12-31 13:02 | 99.15% |  | 0.13472 | 0.13472 | 99.93%
34 | 132 kV Budhipadar - MCL - I |  |  | 0.42917 | 99.76% |  |  | 0.57778 | 99.68% |  |  | 1900-01-02 22:36 | 97.84%
35 | 132 kV Budhipadar - MCL - II |  |  | 1899-12-31 00:49 | 99.43% | 0.36667 |  | 0.36667 | 99.8% |  |  | 1900-01-03 11:08 | 97.55%
36 | 132 kV Budhipadar - Tarkera - I |  |  | 1900-01-03 06:39 | 97.66% |  |  | 1900-01-01 14:43 | 98.57% |  |  | 1900-01-01 23:20 | 98.37%
37 | 132 kV Budhipadar - Rajgangpur - II |  |  | 1900-01-06 16:34 | 95.79% |  |  | 1900-01-01 12:40 | 98.61% |  |  | 1899-12-31 19:16 | 99.01%
38 | 132 kV Budhipadar - Sundargarh - I |  |  | 1899-12-31 14:36 | 99.12% | 1900-01-01 02:50 |  | 1900-01-01 02:50 | 98.84% |  |  | 1899-12-31 03:23 | 99.37%
39 | 132 kV Budhipadar - Sundargarh - II |  |  | 1899-12-31 00:22 | 99.44% | 1900-01-01 03:27 |  | 1900-01-01 03:27 | 98.83% |  |  | 1899-12-31 03:31 | 99.37%
40 | 132 kV Budhipadar - MSP |  |  | 0.31806 | 99.83% |  |  | 0.040972 | 99.98% |  |  | 0.0125 | 99.99%
41 | 132 kV Jharsuguda - L&T |  | 1899-12-31 06:50 | 1899-12-31 06:50 | 99.3% | 0.25 | 0.22986 | 0.47986 | 99.74% |  | 0.35486 | 0.35486 | 99.81%
42 | 132 kV Jharsuguda - Traction |  | 0.63194 | 0.63194 | 99.65% | 0.25 | 0.24861 | 0.49861 | 99.73% |  | 0.17222 | 0.17222 | 99.91%
43 | 132 kV Burla PH - Sambalpur | 1899-12-31 04:04 | 1900-01-01 01:16 | 1900-01-02 05:20 | 98.23% | 1899-12-31 22:22 | 1900-01-02 11:26 | 1900-01-04 09:48 | 97.04% | 0.80694 | 1900-01-02 02:31 | 1900-01-02 21:53 | 97.86%
44 | 132 kV Chiplima - Katapali |  | 0.1125 | 0 | 100% |  | 0.78333 | 0.78333 | 99.57% |  | 0.55556 | 0.55556 | 99.7%
45 | 132 kV Katapali - Bargarh |  | 0.048611 | 0.048611 | 99.97% |  | 1900-01-01 03:37 | 1900-01-01 03:37 | 98.82% |  | 0.66458 | 0.66458 | 99.64%
46 | 132 kV Burla PH - Rairakhole | 1900-01-01 17:30 | 0.40625 | 1900-01-02 03:15 | 98.28% | 1900-01-01 13:58 | 0.10972 | 1900-01-01 16:36 | 98.53% | 0.68333 | 0.19306 | 0.87639 | 99.52%
47 | 132 kV Rairakhole - Boinda | 0.76528 | 0.23125 | 0.99653 | 99.45% | 1899-12-31 00:27 | 0.11597 | 1899-12-31 03:14 | 99.38% | 0.1375 | 0.24236 | 0.37986 | 99.79%
48 | 132 kV Tarkera - RSP - I | 0:50 | 4:12 | 0.20972 | 99.89% | 20:36 | 0.084028 | 22:37 | 99.48% | 1:12 | 3:28 | 4:40 | 99.89%
49 | 132 kV Tarkera - RSP - II |  |  |  | 100% | 0:36 | 0.084028 | 2:37 | 99.94% | 1:12 | 19:09 | 20:21 | 99.54%
50 | 132 kV Tarkera - RSP – III |  | 16:40 | 0.69444 | 99.62% | 0:36 | 0.084028 | 2:37 | 99.94% | 1:12 |  | 1:12 | 99.97%
51 | 132 kV Tarkera - Rourkela - I | 7:56 |  | 7:56 | 99.82% |  | 0.7125 | 0.7125 | 99.61% |  |  |  | 100%
52 | 132 kV Tarkera - Rourkela - II | 1:26 |  | 1:26 | 99.97% |  | 0.37569 | 0.37569 | 99.79% |  |  |  | 100%
53 | 132 kV Tarkera - Rourkela - III | 68:35 | 1:0 | 69:35 | 98.41% |  | 1:55 | 1:55 | 99.96% |  |  |  | 100%
54 | 132 kV Rourkela - Joda (Nalda) Feeder |  | 1:43 | 1:43 | 99.96% | 36:22 | 0.66875 | 52:25 | 98.8% | 2:33 | 0:44 | 3:17 | 99.93%
55 | 132 kV Tarkera - Chhend - I | 0:42 | 9:10 | 9:52 | 99.77% | 0:20 | 0.041667 | 1:20 | 99.97% | 0:35 |  | 0:35 | 99.99%
56 | 132 kV Tarkera - Chhend - II | 1:20 |  | 1:20 | 99.97% | 0:20 | 0.29306 | 7:22 | 99.83% | 2:01 |  | 2:01 | 99.95%
57 | 132 kV Tarkera - Rajgangpur - I | 6:15 | 119:30 | 125:45 | 97.13% |  |  |  | 100% |  | 16:00 | 16:00 | 99.63%
58 | 132 kV Tarkera - Rajgangpur - II | 8:21 | 0.085417 | 10:24 | 99.76% | 2:35 | 0.58542 | 16:38 | 99.62% | 3:58 | 16:00 | 19:58 | 99.54%
59 | 132 kV Chhend - Adhunik Metallics |  | 0.83611 | 0.83611 | 99.54% | 7:50 |  | 7:50 | 99.82% | 3:23 |  | 3:23 | 99.92%
60 | 132 kV Chhend - Nuagaon Traction | 0.20833 |  | 0.20833 | 99.89% | 8:30 |  | 8:30 | 99.81% |  |  |  | 100%
61 | 132 kV Rajgangpur - OCL |  | 1:31 | 1:31 | 99.97% | 6:23 | 0:50 | 7:13 | 99.84% |  | 11:50 | 11:50 | 99.73%
62 | 132 kV Rajgangpur - Traction - I | 4:33 |  | 4:33 | 99.9% | 6:19 | 1:18 | 7:37 | 99.83% |  |  |  | 100%
63 | 132 kV Rajgangpur - Traction - II | 6:45 |  | 6:45 | 99.85% | 6:19 | 0.043056 | 7:21 | 99.83% |  |  |  | 100%
64 | 132 kV Rajgangpur - Aryan Viraj Ckt - III | 1900-01-01 18:27 | 0.15417 | 1900-01-01 22:09 | 98.4% | 0.66806 | 8:19 | 24:21 | 99.44% |  | 46:10 | 46:10 | 98.95%

## CHAINPAL
LICENSEE : OPTCL | [11 empty] | OERC FORM TRP - 8 |  | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
Sl.No. | CHAINPAL CIRCLE NAME OF FEEDER | First six months of the previous year 2011-12 04/11 to 09/11 |  |  |  | Last six months of the previous year 2011-12 10/11 to 03/12 |  |  |  | First six months of the current year 2012-13 04/12 to 09/12
|  | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for
1 | 400 kV Meramundali - Jeypore |  | 0.20903 | 0.20903 | 99.89% | 0.50278 | 1900-01-01 05:39 | 1900-01-01 17:43 | 98.5% | 1900-01-06 11:53 | 1900-01-04 22:31 | 1900-01-12 10:24 | 92.64%
2 | 400 kV Meramundali - Mendhasala | 1899-12-31 19:21 | 0.27778 | 1900-01-01 02:01 | 98.86% | 1899-12-31 11:11 | 0.23194 | 1899-12-31 16:45 | 99.07% | 1899-12-31 10:01 | 1899-12-31 06:56 | 1900-01-01 16:57 | 98.52%
3 | 400 kV Meramundali - RSTPS-I |  | 0.045833 | 0.045833 | 99.97% | 0.16389 | 1900-01-09 09:32 | 1900-01-09 13:28 | 94.21% | 1899-12-31 20:23 | 0.55556 | 1900-01-01 09:43 | 98.68%
4 | 400 kV Meramundali - RSTPS-II |  | 0.82708 | 0.82708 | 99.55% | 0.86875 | 0.042361 | 0.91111 | 99.5% | 0.55694 | 1899-12-31 10:02 | 1899-12-31 23:24 | 98.92%
5 | 400 kV Meramundali - JSPL-I | 0.11111 | 1899-12-31 00:05 | 1899-12-31 02:45 | 99.39% |  | 0.079167 | 0.079167 | 99.96% | 1899-12-31 04:06 | 1899-12-31 10:31 | 1900-01-01 14:37 | 98.57%
6 | 400 kV Meramundali - JSPL-II | 0.17708 | 0.53819 | 0.71528 | 99.61% |  |  |  | 100% | 0.71458 | 0.24097 | 0.95556 | 99.48%
7 | 220 kV Meramundali -Kaniha - I | 0.88264 | 0.053472 | 0.93611 | 99.49% | 0.17361 | 1900-01-06 17:02 | 1900-01-06 21:12 | 95.68% | 0.36875 | 0.61319 | 0.98194 | 99.46%
8 | 220 kV Meramundali - Kaniha -II | 0.064583 | 1899-12-31 19:13 | 1899-12-31 20:46 | 98.98% | 0.30347 | 0.048611 | 0.35208 | 99.81% | 0.12847 | 0.48542 | 0.61389 | 99.66%
9 | 220 kV Meramundali - TTPS - I | 1900-01-01 00:15 | 0.015278 | 1900-01-01 00:37 | 98.89% | 0.077083 | 0.088889 | 0.16597 | 99.91% | 0.27639 | 0.79306 | 1899-12-31 01:40 | 99.41%
10 | 220 kV Meramundali - TTPS - II | 1899-12-31 11:39 | 0.016667 | 1899-12-31 12:03 | 99.18% |  | 0.095833 | 0.095833 | 99.95% | 0.081944 | 1899-12-31 04:19 | 1899-12-31 06:17 | 99.31%
11 | 220 kV Meramundali – NALCO – I | 0.26389 | 0.064583 | 0.32847 | 99.82% | 0.36458 | 0.075 | 0.43958 | 99.76% | 0.70486 | 0.31875 | 1899-12-31 00:34 | 99.44%
12 | 220 kV Meramundali – NALCO – II | 0.25347 | 0.030556 | 0.28403 | 99.84% | 0 | 0.225 | 0.225 | 99.88% | 0 | 1899-12-31 01:10 | 1899-12-31 01:10 | 99.43%
13 | 220 kV Meramundali - Duburi - I |  | 1899-12-31 15:19 | 1899-12-31 15:19 | 99.1% | 1899-12-31 03:07 | 0.041667 | 1899-12-31 04:07 | 99.36% | 0.39028 | 1899-12-31 07:48 | 1899-12-31 17:10 | 99.06%
14 | 220 kV Meramundali - Duburi - II | 0.17083 | 0.040972 | 0.21181 | 99.88% | 0.82847 | 0.047222 | 0.87569 | 99.52% | 1899-12-31 13:56 | 0.87639 | 1900-01-01 10:58 | 98.65%
15 | 220 kV Meramundali - B.Nagar - I | 0.88264 | 0.053472 | 0.93611 | 99.49% | 1900-01-01 09:40 | 0.46944 | 1900-01-01 20:56 | 98.43% | 1900-01-01 05:30 | 0.40764 | 1900-01-01 15:17 | 98.56%
16 | 220 kV Meramundali - B.Nagar - II | 0.064583 | 1899-12-31 19:13 | 1899-12-31 20:46 | 98.98% | 1899-12-31 15:47 | 0.10486 | 1899-12-31 18:18 | 99.03% | 1899-12-31 13:01 | 1899-12-31 05:10 | 1900-01-01 18:11 | 98.49%
17 | 220 kV Meramundali - Bidanasi | 1899-12-31 00:37 | 1899-12-31 11:29 | 1900-01-01 12:06 | 98.63% | 0.11319 | 0.077778 | 0.19097 | 99.9% | 0.53403 | 0.32569 | 0.85972 | 99.53%
18 | 220 kV Meramundali - BSL-I | 0.020139 | 0.0020833 | 0.022222 | 99.99% | 1900-01-01 03:29 | 0.0125 | 1900-01-01 03:47 | 98.82% | 0.18889 | 1899-12-31 06:36 | 1899-12-31 11:08 | 99.2%
19 | 220 kV Meramundali - BSL-II | 0.015972 | 0.1375 | 0.15347 | 99.92% | 0.080556 | 0.0625 | 0.14306 | 99.92% | 0.11389 | 0.35833 | 0.47222 | 99.74%
20 | 220 kV Rengali - Tarkera - II | 0.15764 | 1899-12-31 14:30 | 1899-12-31 18:17 | 99.03% | 1899-12-31 10:33 | 0.31736 | 1899-12-31 18:10 | 99.04% | 0.34028 | 1899-12-31 08:44 | 1899-12-31 16:54 | 99.07%
21 | 220 kV Rengali - Barkote - I | 1899-12-31 08:21 | 0.47014 | 1899-12-31 19:38 | 99% | 1899-12-31 14:00 | 0.30208 | 1899-12-31 21:15 | 98.97% | 0.020833 | 1899-12-31 12:52 | 1899-12-31 13:22 | 99.15%
22 | 220 kV Rengali - PGCIL - I | 0.88333 | 0.17708 | 1899-12-31 01:27 | 99.42% | 1899-12-31 10:42 | 0.085417 | 1899-12-31 12:45 | 99.16% | 0.020833 | 0.23264 | 0.25347 | 99.86%
23 | 220 kV Rengali - PGCIL - II | 0.14931 | 0.17708 | 0.32639 | 99.82% | 1899-12-31 14:51 | 1900-01-03 11:17 | 1900-01-05 02:08 | 96.66% | 0.020833 | 0.54861 | 0.56944 | 99.69%
24 | 220 kV Rengali - Rengali PH - I | 0.041667 | 1900-01-05 07:10 | 1900-01-05 08:10 | 96.53% | 0.90208 | 0.3875 | 1899-12-31 06:57 | 99.29% | 1900-01-10 07:40 | 1899-12-31 | 1900-01-11 07:40 | 93.25%
25 | 220 kV Rengali - Rengali PH - II | 0.041667 | 1900-01-05 07:10 | 1900-01-05 08:10 | 96.53% | 1899-12-31 07:12 | 0.058333 | 1899-12-31 08:36 | 99.26% | 1900-01-10 07:40 | 1899-12-31 | 1900-01-11 07:40 | 93.25%
26 | 132 kV Angul - TTPS | 0.58819 | 0.03125 | 0.61944 | 99.66% | 0.96458 | 0.015278 | 0.97986 | 99.46% | 0.032639 | 0.038889 | 0.071528 | 99.96%
27 | 132 kV Angul - Boinda |  | 0.13333 | 0.13333 | 99.93% | 1899-12-31 14:32 | 0.0069444 | 1899-12-31 14:42 | 99.12% | 0 | 0 | 0 | 100%
28 | 132 kV Angul - MCL - I | 0.13056 | 0.12292 | 0.25347 | 99.86% | 1899-12-31 19:30 |  | 1899-12-31 19:30 | 99.01% | 0.27917 | 0.044444 | 0.32361 | 99.82%
29 | 132 kV Angul - MCL - II | 0.034028 | 0.032639 | 0.066667 | 99.96% | 0.73958 |  | 0.73958 | 99.59% |  |  |  | 100%
30 | 132 kV Boinda - Rairakhole | 0.088194 |  | 0.088194 | 99.95% | 1899-12-31 06:58 |  | 1899-12-31 06:58 | 99.29% | 0.0090278 | 0.00069444 | 0.0097222 | 99.99%
31 | 132 kV TTPS - Chainpal - I |  | 0.37014 | 0.37014 | 99.8% | 0.74306 | 0.079861 | 0.82292 | 99.55% |  | 0.033333 | 0.033333 | 99.98%
32 | 132 kV TTPS - Chainpal - II |  | 0.31944 | 0.31944 | 99.82% | 1900-02-11 16:36 |  | 1900-02-11 16:36 | 76.06% |  | 0.090278 | 0.090278 | 99.95%
33 | 132 kV Chainpal - Angul |  | 0.11806 | 0.11806 | 99.94% | 1900-01-01 12:05 |  | 1900-01-01 12:05 | 98.63% | 1899-12-31 13:27 | 1900-01-01 00:10 | 1900-01-02 13:37 | 98.05%
34 | 132 kV Chainpal - FCI |  | 0.34028 | 0.34028 | 99.81% | 0.76736 | 0.079861 | 0.84722 | 99.54% |  |  |  | 100%
35 | 132 kV Chainpal - Meramundali - I |  | 0.11458 | 0.11458 | 99.94% |  |  |  | 100% |  |  |  | 100%
36 | 132 kV Chainpal – Meramundali - II |  | 0 | 0 | 100% |  |  |  | 100% |  |  |  | 100%
37 | 132 kV Dhenkanal - ICCL |  | 0.45625 | 0.45625 | 99.75% | 0.33681 | 0 | 0.33681 | 99.82% |  |  |  | 100%
38 | 132 kV Dhenkanal - Nuapatna |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
39 | 132 kV Dhenkanal - Joranda Trac. |  | 0.27569 | 0.27569 | 99.85% | 0.68611 | 0 | 0.68611 | 99.62% |  |  |  | 100%
40 | 133 kV Kharagprasad - NBVL - I | 0.54167 | 0.10625 | 0.64792 | 99.64% | 0.36736 | 0.11389 | 0.48125 | 99.74% | 0.17847 | 0.40972 | 0.58819 | 99.68%
41 | 134 kV Kharagprasad - NBVL - II | 0.54236 | 0.1125 | 0.65486 | 99.64% | 0.59028 | 0.11597 | 0.70625 | 99.61% | 0.17847 | 0.43542 | 0.61389 | 99.66%
42 | 132 kV Kharagprasad - Traction | 0.31875 | 0.16181 | 0.48056 | 99.74% | 0.36736 | 0.14097 | 0.50833 | 99.72% | 0.18194 | 0.38264 | 0.56458 | 99.69%
43 | 132 kV Kharagprasad - SMPL | 1900-01-06 14:00 | 0.2 | 1900-01-06 18:48 | 95.74% |  |  |  | 100% |  |  |  | 100%
44 | 132 kV Kharagprasad - SGEL |  |  |  | 100% | 0.41736 | 0.34097 | 0.75833 | 99.58% | 0.18194 | 0.74306 | 0.925 | 99.49%
45 | 132 kV Kamakhyanagar - Duburi |  | 0.44444 | 0.44444 | 99.76% | 1899-12-31 10:07 | 0.14306 | 1899-12-31 13:33 | 99.14% | 0.33472 | 0.58542 | 0.92014 | 99.5%
46 | 132 kV TTPS - Kamakyanagar |  | 0.86111 | 0.86111 | 99.53% | 0.83194 | 0.13264 | 0.96458 | 99.47% | 1899-12-31 02:40 | 0.34028 | 1899-12-31 10:50 | 99.2%
47 | 132 kV Meramundali – BRG | 0.070833 | 0.35208 | 0.42292 | 99.77% | 0.72431 | 0.2125 | 0.93681 | 99.49% | 0.043056 | 0.93611 | 0.97917 | 99.46%
48 | 132 kV Meramundali - K.Prasad - I | 0.084028 |  | 0.084028 | 99.95% | 0.75208 | 0.086111 | 0.83819 | 99.54% | 0.18472 | 0.43681 | 0.62153 | 99.66%
49 | 132 kV Meramundali - K.Prasad - II | 0.19861 |  | 0.19861 | 99.89% | 0.38056 | 0.090278 | 0.47083 | 99.74% | 0.18403 | 0.50972 | 0.69375 | 99.62%
50 | 132 kV Meramundali - Arati Steels | 0.061806 | 0.23264 | 0.29444 | 99.84% | 1899-12-31 06:23 | 0.16181 | 1899-12-31 10:16 | 99.22% | 1899-12-31 02:15 | 1899-12-31 15:18 | 1900-01-01 17:33 | 98.5%
51 | 132 kV Meramundali - Dhenkanal |  | 1899-12-31 21:32 | 1899-12-31 21:32 | 98.96% | 0.67083 | 0 | 0.67083 | 99.63% | 0 | 0.10694 | 0.10694 | 99.94%
52 | 132 kV Meramundali - ML Rungta | 0.078472 | 0.021528 | 0.1 | 99.95% | 0.74722 | 0.1375 | 0.88472 | 99.52% | 0.97431 | 0.88333 | 1899-12-31 20:35 | 98.98%
Note on G36: Conductor uparated from ACSR to AAAC

## CUTTACK
LICENSEE : OPTCL | [11 empty] | OERC FORM TRP - 8 |  | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
Sl.No. | CUTTACK CIRCLE NAME OF FEEDER | First six months of the previous year 2011-12 04/11 to 09/11 |  |  |  | Last six months of the previous year 2011-12 10/11 to 03/12 |  |  |  | First six months of the current year 2012-13 04/12 to 09/12
|  | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for
1 | 400 kV Meramunduli - Mendhasal - I | 1899-12-31 12:59 | 0.12778 | 1899-12-31 16:03 | 99.09% | 0.90069 | 1899-12-31 19:30 | 1900-01-01 17:07 | 98.51% |  | 1899-12-31 20:23 | 1899-12-31 20:23 | 98.99%
2 | 220 kV Chandaka - Bidanasi Ckt-I | 0.89653 | 0.013194 | 0.90972 | 99.5% | 1899-12-31 20:03 | 0.035417 | 1899-12-31 20:54 | 98.97% | 1900-01-01 18:43 |  | 1900-01-01 18:43 | 98.48%
3 | 220 kV Chandaka - Mendhasal Ckt - II | 1899-12-31 02:48 |  | 1899-12-31 02:48 | 99.39% | 1899-12-31 07:31 | 0.047222 | 1899-12-31 08:39 | 99.25% | 1900-01-01 17:59 | 0.79653 | 1900-01-02 13:06 | 98.06%
4 | 220 kV Chandaka - Mendhasal Ckt - III | 1900-01-01 02:32 | 0.061806 | 1900-01-01 04:01 | 98.81% | 0.52847 | 0.44375 | 0.97222 | 99.47% | 0.575 |  | 0.575 | 99.68%
5 | 220 kV Chandaka - Mendhasal Ckt - IV | 0.83125 | 0.70069 | 1899-12-31 12:46 | 99.16% | 1899-12-31 19:01 | 0.034028 | 1899-12-31 19:50 | 99% | 0.092361 |  | 0.092361 | 99.95%
6 | 220 kV Narendrapur - Mendhasal | 1900-01-04 08:55 | 0.26875 | 1900-01-04 15:22 | 96.91% | 0.93611 | 0.56667 | 1899-12-31 12:04 | 99.18% | 1900-01-04 10:02 | 1899-12-31 13:39 | 1900-01-05 23:41 | 96.17%
7 | 220 kV Bhanjanagar - Mendhasal | 0.16319 | 0.12778 | 0.29097 | 99.84% | 0.44583 | 0.52847 | 0.97431 | 99.47% | 0.063889 | 0.086111 | 0.15 | 99.92%
8 | 220 kV Nayagarh - Mendhasal | 0.175 | 0.023611 | 0.19861 | 99.89% | 1899-12-31 22:01 | 0.35486 | 1900-01-01 06:32 | 98.75% | 0.63611 | 0.75556 | 1899-12-31 09:24 | 99.24%
9 | 220 kV Meramundali - Bidanasi | 1899-12-31 00:37 | 1899-12-31 11:29 | 1900-01-01 12:06 | 98.63% | 0.11319 | 0.077778 | 0.19097 | 99.9% | 0.53403 | 0.32569 | 0.85972 | 99.53%
10 | 220 kV New Duburi – Paradeep DC |  |  |  | 100% | 0.30556 | 0.083333 | 0.38889 | 99.79% |  |  |  | 100%
11 | 220 kV Paradeep - Essar Steel DC | [8 empty] | 1899-12-31 02:06 |  | 1899-12-31 02:06 | 99.4%
12 | 132 kV Khurda - Puri | 0 | 0.0076389 | 0.0076389 | 100% | 0.64444 | 0.16042 | 0.80486 | 99.56% | 0 | 0.17153 | 0.17153 | 99.91%
13 | 132 kV Khurda - Balugaon | 0.25 |  | 0.25 | 99.86% | 0.87569 | 0.55486 | 1899-12-31 10:20 | 99.22% | 0.086111 |  | 0.086111 | 99.95%
14 | 132 kV Chandaka - Ranasinghpur |  |  |  | 100% | 1899-12-31 04:21 | 0.038194 | 1899-12-31 05:16 | 99.33% | 0.38958 | 0.052778 | 0.44236 | 99.76%
15 | 132 kV Chandaka - Badagada - Nimapara |  |  |  | 100% | 0.92778 | 0.66528 | 1899-12-31 14:14 | 99.13% | 0.62639 | 0.12569 | 0.75208 | 99.59%
16 | 132 kV Chandaka - Khurda |  |  |  | 100% |  |  |  | 100% |  | 0.96111 | 0.96111 | 99.47%
17 | 132 kV Nimapara - Puri |  |  |  | 100% | 1899-12-31 02:37 | 0.29444 | 1899-12-31 09:41 | 99.23% | 1900-01-02 05:24 |  | 1900-01-02 05:24 | 98.23%
18 | 132 kV Chandaka - Bhubanewar - I |  |  |  | 100% |  | 0.1 | 0.1 | 99.95% | 0.00069444 | 0.0020833 | 0.0027778 | 100%
19 | 132 kV Chandaka - Bhubanewar - II | 0.045139 | 0.011806 | 0.056944 | 99.97% | 0.33542 | 0.23056 | 0.56597 | 99.69% | 0.0034722 | 0.0020833 | 0.0055556 | 100%
20 | 132 kV Chandaka - Bidanasi |  |  |  | 100% |  | 0.072222 | 0.072222 | 99.96% |  |  |  | 100%
21 | 132 kV Choudwar - Bidanasi |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
22 | 132 kV Choudwar - Kendrapara Rd Trac. | 0.083333 |  | 0.083333 | 99.95% | 0.21181 |  | 0.21181 | 99.88% | 0.041667 | 0.48681 | 0.52847 | 99.71%
23 | 132 kV Arati - Choudwar Ckt-I | 0.33333 | 0.083333 | 0.41667 | 99.77% | 0.2125 |  | 0.2125 | 99.88% | 0.79167 | 0.47639 | 1899-12-31 06:26 | 99.31%
24 | 132 kV ICCL - Choudwar Ckt-II | 0.083333 |  | 0.083333 | 99.95% | 0.29861 | 0.20833 | 0.50694 | 99.72% | 0.45833 |  | 0.45833 | 99.75%
25 | 132 kV Maheswari - ICCL Ckt-II |  | 0.083333 | 0.083333 | 99.95% | 0.29861 | 0.20833 | 0.50694 | 99.72% | 0.45833 |  | 0.45833 | 99.75%
26 | 132 kV Dhenkanal - Nuapatna |  | 0.29931 | 0.29931 | 99.84% | 0.91528 | 0.71806 | 1899-12-31 15:12 | 99.11% | 0.8 | 1900-01-02 18:00 | 1900-01-03 13:12 | 97.51%
27 | 132 kV ICCL - OCL - Salipur | 0.66389 | 0.89722 | 1899-12-31 13:28 | 99.14% | 0.10417 | 0.83889 | 0.94306 | 99.48% | 0.86181 | 0.39514 | 1899-12-31 06:10 | 99.31%
28 | 132 kV Mancheswar - Phulnakhara | 0.56597 | 0.43472 | 1899-12-31 00:01 | 99.45% | 0.6875 | 0.12917 | 0.81667 | 99.55% | 0.84653 | 0.39861 | 1899-12-31 05:53 | 99.32%
29 | 132 kV Phulnakhara - Cuttack | 0.46806 | 0.89583 | 1899-12-31 08:44 | 99.25% | 1899-12-31 01:21 | 0 | 1899-12-31 01:21 | 99.42% | 0.27708 | 0.71806 | 0.99514 | 99.45%
30 | 132 kV Cuttack - Jagatsinghpur | 1899-12-31 14:15 | 0.79653 | 1900-01-01 09:22 | 98.69% | 1899-12-31 19:29 | 0.39653 | 1900-01-01 05:00 | 98.79% | 0.85972 | 1899-12-31 20:14 | 1900-01-01 16:52 | 98.52%
31 | 132 kV Jajpur Road - Chandikhole | 0.33125 |  | 0.33125 | 99.82% | 1899-12-31 07:00 | 0.83333 | 1900-01-01 03:00 | 98.84% | 0.58333 |  | 0.58333 | 99.68%
32 | 132 kV Jajpur Road - Kendrapara - II |  |  |  | 100% |  |  |  | 100% |  |  | 0 | 100%
33 | 132 kV Kendarapara - Paradeep DC |  |  |  | 100% | 0.26042 | 0.041667 | 0.30208 | 99.83% |  |  | 0 | 100%
34 | 132 kV Kendrapara - Pattamundai |  | 0.13333 | 0.13333 | 99.93% | 0.44097 | 0.080556 | 0.52153 | 99.71% |  |  | 0 | 100%
35 | 132 kV Paradeep - PPT DC |  |  | 0 | 100% | 0.33819 |  | 0.33819 | 99.81% | 0.12639 |  | 0.12639 | 99.93%
36 | 132 kV Paradeep - PPL DC | 1899-12-31 05:35 |  | 1899-12-31 05:35 | 99.32% | 1900-01-02 22:49 |  | 1900-01-02 22:49 | 97.84% | 0.016667 |  | 0.016667 | 99.99%
37 | 132 kV Paradeep - IFFCO DC | 0.079861 |  | 0.079861 | 99.96% |  |  | 0 | 100% | 0.063889 |  | 0.063889 | 99.96%

## JAJPUR ROAD
LICENSEE : OPTCL | [11 empty] | OERC FORM TRP - 8 |  | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
Sl.No. | JAJPUR ROAD CIRCLE NAME OF FEEDER | First six months of the previous year 2011-12 04/11 to 09/11 |  |  |  | Last six months of the previous year 2011-12 10/11 to 03/12 |  |  |  | First six months of the current year 2012-13 04/12 to 09/12
|  | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for
1 | 220 kV Meramundali - Duburi - I | 0.34375 | 0.67708 | 1899-12-31 00:30 | 99.44% | 1899-12-31 03:24 | 0.020833 | 1899-12-31 03:54 | 99.36% | 0.15 | 0.25694 | 0.40694 | 99.78%
2 | 220 kV Meramundali - Duburi - II | 0.072917 | 0.20833 | 0.28125 | 99.85% | 0.86528 |  | 0.86528 | 99.53% | 1899-12-31 08:33 | 0.63333 | 1899-12-31 23:45 | 98.91%
3 | 220 kV Duburi - New Duburi-I | 0.76042 | 0.38333 | 1899-12-31 03:27 | 99.37% | 0.26597 | 1899-12-31 04:18 | 1899-12-31 10:41 | 99.21% | 1899-12-31 16:54 | 1899-12-31 01:49 | 1900-01-01 18:43 | 98.48%
4 | 220 kV Duburi - New Duburi-II | 0.065972 | 0.12847 | 0.19444 | 99.89% | 0 | 0.010417 | 0.010417 | 99.99% | 1900-01-03 11:01 | 1899-12-31 00:10 | 1900-01-04 11:11 | 97%
5 | 220 kV Duburi - NINL | 0.33681 | 0.30069 | 0.6375 | 99.65% | 0.44236 | 0.057639 | 0.5 | 99.73% |  | 0.048611 | 0.048611 | 99.97%
6 | 220 kV New Duburi - Paradeep - l | 0.35417 | 0.58542 | 0.93958 | 99.49% | 0.72778 | 1899-12-31 02:02 | 1899-12-31 19:30 | 99.01% | 1900-01-01 15:02 | 1899-12-31 00:44 | 1900-01-02 15:46 | 98%
7 | 220 kV New Duburi - Paradeep - ll | 0.33333 | 0.13125 | 0.46458 | 99.75% | 0.34236 | 0.54306 | 0.88542 | 99.51% | 1900-01-01 20:43 | 0.60347 | 1900-01-02 11:12 | 98.1%
8 | 220 kV New Duburi - Balasore - I | 1900-01-04 10:11 | 1899-12-31 23:21 | 1900-01-06 09:32 | 95.95% | 1900-01-01 18:28 | 0.51806 | 1900-01-02 06:54 | 98.2% | 0.42986 | 1900-01-01 20:21 | 1900-01-02 06:40 | 98.2%
9 | 220 kV Balasore - Bhadrak | 0 | 0.5125 | 0.5125 | 99.72% |  |  |  | 100% |  |  |  | 100%
10 | 220 kV Balasore - PGCIL - 1 | 1899-12-31 15:51 | 0.97847 | 1900-01-01 15:20 | 98.55% | 1900-01-01 00:29 |  | 1900-01-01 00:29 | 98.89% | 0.675 | 0.18472 | 0.85972 | 99.53%
11 | 220 kV Balasore - PGCIL - 2 | 1899-12-31 11:40 | 0.85694 | 1900-01-01 08:14 | 98.72% | 1899-12-31 01:41 |  | 1899-12-31 01:41 | 99.41% | 1899-12-31 17:07 | 0.76111 | 1900-01-01 11:23 | 98.64%
12 | 220 kV TTPS - Joda - I | 0.50069 | 0.9625 | 1899-12-31 11:07 | 99.2% | 0.18472 | 1899-12-31 08:15 | 1899-12-31 12:41 | 99.16% | 0.36736 | 0.87847 | 1899-12-31 05:54 | 99.32%
13 | 220 kV TTPS - Joda - II | 0.18264 | 1900-01-03 19:05 | 1900-01-03 23:28 | 97.27% | 0.22708 | 0.70972 | 0.93681 | 99.49% | 1900-01-02 23:34 | 1899-12-31 20:15 | 1900-01-04 19:49 | 96.81%
14 | 220 kV Joda - Jamshedpur | 0.21667 | 0.66806 | 0.88472 | 99.52% | 0.50903 | 1899-12-31 03:03 | 1899-12-31 15:16 | 99.1% | 0.30625 | 0.45208 | 0.75833 | 99.58%
15 | 220 kV Joda - Ramchandrapur | 0.53542 | 1900-01-01 12:25 | 1900-01-02 01:16 | 98.33% | 1899-12-31 08:05 | 0.92778 | 1900-01-01 06:21 | 98.76% | 1900-01-01 02:24 | 1900-01-03 10:02 | 1900-01-05 12:26 | 96.43%
16 | 220 kV Joda - TSIL |  |  |  | 100% | 0 | 0.10069 | 0.10069 | 99.94% | 0.083333 | 0.19375 | 0.27708 | 99.85%
17 | 132 kV Balasore - Baripada | 0.0048611 |  | 0.0048611 | 100% | 0.23264 |  | 0.23264 | 99.87% | 0.55833 | 0.13611 | 0.69444 | 99.62%
18 | 132 kV Balasore - Soro | 0.0048611 |  | 0.0048611 | 100% | 0.24028 |  | 0.24028 | 99.87% | 1900-01-01 03:24 | 0.46528 | 1900-01-01 14:34 | 98.57%
19 | 132 kV Balasore - Balasore Alloys | 0.32431 | 0.13542 | 0.45972 | 99.75% | 0.4625 | 0.11111 | 0.57361 | 99.69% | 1899-12-31 00:31 | 0.13542 | 1899-12-31 03:46 | 99.37%
20 | 132 kV Balasore - Birla Tyres | 0.29097 | 0.11667 | 0.40764 | 99.78% | 0.43194 | 0.055556 | 0.4875 | 99.73% | 1899-12-31 04:08 | 0.17014 | 1899-12-31 08:13 | 99.26%
21 | 132 kV Balasore - Traction | 0.019444 | 0 | 0.019444 | 99.99% | 0.37847 |  | 0.37847 | 99.79% | 0.4625 | 0 | 0.4625 | 99.75%
22 | 132 kV Balasore - Emami | 1899-12-31 01:27 | 0.56111 | 1899-12-31 14:55 | 99.11% | 0.43056 |  | 0.43056 | 99.76% | 0.46181 | 0 | 0.46181 | 99.75%
23 | 132 kV Balasore - Basta | 0.27083 | 0.23472 | 0.50556 | 99.72% | 1899-12-31 06:11 | 0.35139 | 1899-12-31 14:37 | 99.12% | 0.78819 | 0.091667 | 0.87986 | 99.52%
24 | 132 kV Basta - Jaleswar | 0 | 0.51806 | 0.51806 | 99.72% | 0.37014 | 1899-12-31 10:14 | 1899-12-31 19:07 | 99.02% | 0 | 0.92569 | 0.92569 | 99.49%
25 | 132 kV Jaleswar - Rly Traction | 0 | 0.51806 | 0.51806 | 99.72% | 0.37014 | 1899-12-31 11:54 | 1899-12-31 20:47 | 98.98% | 0 | 1899-12-31 04:12 | 1899-12-31 04:12 | 99.36%
26 | 132 kV Bhadrak - DPCL - I |  |  |  | 100% | 0.375 | 0.25 | 0.625 | 99.66% | 0.83472 | 0.17917 | 1899-12-31 00:20 | 99.44%
27 | 132 kV Bhadrak - DPCL - II |  |  |  | 100% | 0 | 0.2 | 0.2 | 99.89% |  |  |  | 100%
28 | 132 kV Bhadrak - Soro | 0 | 0.072917 | 0.072917 | 99.96% | 0.375 |  | 0.375 | 99.79% |  |  |  | 100%
29 | 132 kV Bhadrak - FACOR | 0 | 0.13194 | 0.13194 | 99.93% | 0.88194 | 1899-12-31 03:21 | 1900-01-01 00:31 | 98.89% | 0.1625 | 0.64028 | 0.80278 | 99.56%
30 | 132 kV Bhdrak - Traction | 0.73472 |  | 0.73472 | 99.6% | 0.375 |  | 0.375 | 99.79% |  |  |  | 100%
31 | 132 kV Kuchei PGCIL - Baripada | 0.71042 |  | 0.71042 | 99.61% | 0.7375 |  | 0.7375 | 99.6% | 0.10347 | 1899-12-31 13:38 | 1899-12-31 16:07 | 99.08%
32 | 132 kV Kuchei PGCIL - Rairangpur | 0.089583 | 1899-12-31 02:46 | 1899-12-31 04:55 | 99.34% | 0.1 | 1900-01-01 18:29 | 1900-01-01 20:53 | 98.43% | 0.93472 | 0 | 0.93472 | 99.49%
33 | 132 kV Rairangpur - Karanjia | 1899-12-31 02:58 |  | 1899-12-31 02:58 | 99.38% | 0.17153 | 1899-12-31 01:05 | 1899-12-31 05:12 | 99.33% | 0.37153 |  | 0.37153 | 99.8%
34 | 132 kV Palasponga - Karanjia | 0.029861 |  | 0.029861 | 99.98% | 0.084722 | 0.70833 | 0.79306 | 99.57% |  |  |  | 100%
35 | 132 kV Kamkhyanagar – Duburi - I |  |  |  | 100% | 1899-12-31 12:33 | 0.3 | 1899-12-31 19:45 | 99% | 0.45069 | 0.45417 | 0.90486 | 99.5%
36 | 132 kV TTPS - Duburi Ckt - II | 0.027778 | 0.069444 | 0.097222 | 99.95% | 0.83611 | 0.69097 | 1899-12-31 12:39 | 99.16% | 0.24236 | 0.23889 | 0.48125 | 99.74%
37 | 132 kV Duburi - Jajpur Rd. Ckt - I | 0.18472 | 0.29375 | 0.47847 | 99.74% | 1899-12-31 16:37 | 1899-12-31 09:39 | 1900-01-02 02:16 | 98.3% | 0.7 | 0.38403 | 1899-12-31 02:01 | 99.41%
38 | 132 kV Duburi - Jajpur Rd. Ckt - II | 0.38958 | 0.88125 | 1899-12-31 06:30 | 99.3% | 1899-12-31 14:10 | 1899-12-31 14:31 | 1900-01-02 04:41 | 98.25% |  | 1899-12-31 11:40 | 1899-12-31 11:40 | 99.19%
39 | 132 kV Duburi - Mesco - Bhadrak - Jajpur Town | 1899-12-31 03:12 | 1899-12-31 07:06 | 1900-01-01 10:18 | 98.67% | 1899-12-31 07:32 | 1899-12-31 14:59 | 1900-01-01 22:31 | 98.39% |  | 1900-01-01 23:18 | 1900-01-01 23:18 | 98.37%
40 | 132 kV Duburi - Baminipal (TISCO) | 0.75764 | 1899-12-31 19:02 | 1900-01-01 13:13 | 98.6% | 1899-12-31 00:48 | 0.33958 | 1899-12-31 08:57 | 99.25% |  | 0.36528 | 0.36528 | 99.8%
41 | 132 kV Duburi - Mesco Fdr-II | 7:14 | 16:05 | 0.97153 | 99.47% | 1899-12-31 06:54 | 15:29 | 1899-12-31 22:23 | 98.94% | 10:15 | 2:50 | 0.54514 | 99.7%
42 | 132 kV Duburi - Jakhapura Traction | 0.66736 | 0.25069 | 0.91806 | 99.5% | 0.48264 | 0.20625 | 0.68889 | 99.62% |  | 1899-12-31 00:14 | 1899-12-31 00:14 | 99.45%
43 | 132 kV Jajpur Road – Kendrapara-II |  |  |  | 100% | 0.66667 | 1900-01-01 10:40 | 1900-01-02 02:40 | 98.3% |  |  |  | 100%
44 | 132 kV Jajpur Road – Chandikhol - I |  |  |  | 100% | 0.66667 | 0.20139 | 0.86806 | 99.52% |  |  |  | 100%
45 | 132 kV Jajpur Road - Jajpur Town Fdr. |  |  |  | 100% | 0.61111 | 1899-12-31 09:01 | 1899-12-31 23:41 | 98.91% |  | 0.65 | 0.65 | 99.64%
46 | 132 kV J.Road - Anandapur fdr | 0 | 0.25 | 0.25 | 99.86% | 0.34236 |  | 0.34236 | 99.81% |  |  |  | 100%
47 | 132 kV Kalarangi Incomer | 0.37639 | 0.098611 | 0.475 | 99.74% | 0.09375 | 0.72569 | 0.81944 | 99.55% | 0.33958 | 0.029861 | 0.36944 | 99.8%
48 | 132 kV Joda - Rourkela | 0.47986 | 1899-12-31 11:32 | 1899-12-31 23:03 | 98.93% | 0.27847 | 0.53611 | 0.81458 | 99.55% | 1899-12-31 04:59 | 0.32292 | 1899-12-31 12:44 | 99.16%
49 | 132 kV Joda - Polasponga | 0.13264 | 1900-01-02 06:06 | 1900-01-02 09:17 | 98.14% | 0.77153 | 0.99931 | 1899-12-31 18:30 | 99.03% | 0.85694 | 0.70903 | 1899-12-31 13:35 | 99.14%
50 | 132 kV Joda - FAP |  | 0.29375 | 0.29375 | 99.84% | 0.47153 | 0.18333 | 0.65486 | 99.64% | 0.18472 | 0.2375 | 0.42222 | 99.77%
51 | 132 kV Joda - Kenduposi |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%

## JEYPORE
LICENSEE : OPTCL | [11 empty] | OERC FORM TRP - 8 |  | 1900-06-30 12:00
AVAILABILITY OF TRANSMISSION LINES FOR POWER SUPPLY
Sl.No. | JEYPORE CIRCLE NAME OF FEEDER | First six months of the previous year 2011-12 04/11 to 09/11 |  |  |  | Last six months of the previous year 2011-12 10/11 to 03/12 |  |  |  | First six months of the current year 2012-13 04/12 to 09/12
|  | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for | Duration of interruption (Schedule) Hr: Min | Duration of interruption (Maintenance) Hr: Min | Total Duration of interruption Hr: Mn | Percentage of time when the feeder was available for
1 | 220 kV Jayanagar - Balimela - I |  |  |  | 100% | 1900-01-01 13:19 |  | 1900-01-01 13:19 | 98.6% | 1899-12-31 13:05 |  | 1899-12-31 13:05 | 99.15%
2 | 220 kV Jayanagar - Balimela - II |  |  |  | 100% | 1900-01-02 05:53 | 0.14028 | 1900-01-02 09:15 | 98.14% |  |  |  | 100%
3 | 220 kV Jayanagar - Balimela - III |  | 1899-12-31 20:45 | 1899-12-31 20:45 | 98.98% | 1899-12-31 20:40 | 0.0069444 | 1899-12-31 20:50 | 98.98% | 0 | 1900-01-02 23:11 | 1900-01-02 23:11 | 97.83%
4 | 220 kV Jayanagar - Upper Kolab-I |  |  |  | 100% | 0.9125 |  | 0.9125 | 99.5% | 0.15625 | 0 | 0.15625 | 99.91%
5 | 220 kV Jayanagar - Upper Kolab-II |  |  |  | 100% | 0.98403 |  | 0.98403 | 99.46% |  | 0.034028 | 0.034028 | 99.98%
6 | 220 kV Jayanagar - PGCIL - I |  |  |  | 100% |  |  |  | 100% | 0.054861 |  | 0.054861 | 99.97%
7 | 220 kV Jayanagar - PGCIL-II |  |  |  | 100% | 0.86181 |  | 0.86181 | 99.53% |  |  |  | 100%
8 | 220 kV Therubali - Jayanagar - I | 0.18333 |  | 0.18333 | 99.9% |  |  |  | 100% |  | 1900-01-01 20:46 | 1900-01-01 20:46 | 98.43%
9 | 220 kV Therubali - Jayanagar - II | 0.097917 |  | 0.097917 | 99.95% | 0.40972 |  | 0.40972 | 99.78% | 0.79167 |  | 0.79167 | 99.57%
10 | 220 kV Therubali - Jayanagar - III | 0.53125 |  | 0.53125 | 99.71% | 1899-12-31 12:43 | 0.58889 | 1900-01-01 02:51 | 98.84% |  | 1900-04-13 04:05 | 1900-04-13 04:05 | 42.92%
11 | 220 kV Therubali - Bhanjanagar - I | 0.59722 |  | 0.59722 | 99.67% | 1899-12-31 13:48 |  | 1899-12-31 13:48 | 99.14% |  |  |  | 100%
12 | 220 kV Therubali - Bhanjanagar - II | 0 |  |  | 100% | 1899-12-31 08:52 |  | 1899-12-31 08:52 | 99.25% |  | 1899-12-31 00:02 | 1899-12-31 00:02 | 99.45%
13 | 220 kV Therubali - Indravati - I | 0.55694 |  | 0.55694 | 99.69% | 1899-12-31 12:12 |  | 1899-12-31 12:12 | 99.17% |  |  |  | 100%
14 | 220 kV Therubali - Indravati - II | 0.14861 |  | 0.14861 | 99.92% | 0.52917 |  | 0.52917 | 99.71% |  |  |  | 100%
15 | 220 kV Therubali - Indravati - III |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
16 | 220 kV Therubali - Indravati - IV |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
17 | 220 kV Therubali - Narendrapur - I | 0.090972 |  | 0.090972 | 99.95% | 0.775 |  | 0.775 | 99.58% |  |  |  | 100%
18 | 220 kV Therubali - Narendrapur - II |  |  |  | 100% | 1899-12-31 06:13 |  | 1899-12-31 06:13 | 99.31% |  |  |  | 100%
19 | 132 kV Jayanagar - Rayagada | 0.1875 |  | 0.1875 | 99.9% | 0.90694 |  | 0.90694 | 99.5% | 0.24653 | 0.27083 | 0.51736 | 99.72%
20 | 132 kV Jayanagar - Sunabeda | 0.93889 |  | 0.93889 | 99.49% | 0.99931 | 0.075694 | 1899-12-31 01:48 | 99.41% | 1899-12-31 10:17 | 0.90069 | 1900-01-01 07:54 | 98.72%
21 | 132 kV Jayanagar - Damonjodi | 0.56597 |  | 0.56597 | 99.69% | 0.083333 | 0.0090278 | 0.092361 | 99.95% |  | 0.25556 | 0.25556 | 99.86%
22 | 132 kV Sunabeda - Damonjodi |  |  |  | 100% | 0.33889 | 0.175 | 0.51389 | 99.72% |  | 0.49097 | 0.49097 | 99.73%
23 | 132 kV Machkund - Jayanagar | 0.11319 |  | 0.11319 | 99.94% | 0.94375 |  | 0.94375 | 99.48% | 0.11736 | 0.35347 | 0.47083 | 99.74%
24 | 132 kV Jayanagar -Tentulikhunti | 0.29306 | 0.84792 | 1899-12-31 03:23 | 99.37% | 1899-12-31 01:10 | 0.31389 | 1899-12-31 08:42 | 99.25% | 0.08125 | 1899-12-31 01:29 | 1899-12-31 03:26 | 99.37%
25 | 132 kV Jayanagar - Traction | 0.15139 | 0.065278 | 0.21667 | 99.88% | 0.086806 | 0.13125 | 0.21806 | 99.88% |  | 0.044444 | 0.044444 | 99.98%
26 | 132 kV Therubali - Kesinga |  |  |  | 100% | 0.42847 |  | 0.42847 | 99.77% | 1899-12-31 05:50 |  | 1899-12-31 05:50 | 99.32%
27 | 132 kV Kesinga - Bolangir |  | 0.019444 | 0.019444 | 99.99% | 0.43611 | 0.056944 | 0.49306 | 99.73% | 0.18542 | 0.021528 | 0.20694 | 99.89%
28 | 132 kV Kesinga - Junagarh |  | 0.34167 | 0.34167 | 99.81% | 1899-12-31 00:30 | 1899-12-31 13:06 | 1900-01-01 13:36 | 98.59% |  | 1900-01-02 13:00 | 1900-01-02 13:00 | 98.06%
29 | 132 kV Kesinga - Khariar |  |  |  | 100% | 0.40625 | 0.76181 | 1899-12-31 04:02 | 99.36% |  | 0.61458 | 0.61458 | 99.66%
30 | 132 kV Kesinga - Powmax |  |  |  | 100% | 0.42847 |  | 0.42847 | 99.77% | 1899-12-31 12:40 |  | 1899-12-31 12:40 | 99.16%
31 | 132 kV Therubali - Rayagada |  |  |  | 100% |  | 1900-01-01 01:00 | 1900-01-01 01:00 | 98.88% |  | 0.84722 | 0.84722 | 99.54%
32 | 132 kV Therubali - J.K.Paper |  |  |  | 100% |  |  |  | 100% |  |  |  | 100%
33 | 132 kV Therubali - IMFA |  |  |  | 100% |  |  |  | 100% |  | 0.054167 | 0.054167 | 99.97%
34 | 132 kV Akhusingi - Parlakhemundi |  |  |  | 100% | 0.72222 |  | 0.72222 | 99.6% |  |  |  | 100%
35 | 132 kV Rayagada - Akhusingh |  |  |  | 100% | 0.77569 |  | 0.77569 | 99.57% |  |  |  | 100%
Note on L14: Collapse of Tower at Loc. 470