(2ND CLARIFICATION)

CLARIFICATION TO QUERIES OF M/S AKDAS ASSOCIATES LTD. AKDAL/OPTCL/11-12/1411

Ref: Notice Inviting Tender No.  TP-44/2011,

Tender Specification No. Sr. G.M-CPC-KONARK-IOCL- 53/2011.

| Sl No. | Queries under Item No./Page No. Vol-IB,Schedule 2C_ Transmission Line_ PART-B_ CIVIL | Reply of OPTCL |
| --- | --- | --- |
| 1 | Item No. 1.4: Page No. 54 of 56: Supply of all materials like cement, steel, all coarse aggregates, fine aggregates and making pile foundations (after pile boring as per required depth, basing on design) of the required above mentioned type towers (PA,PB,PC,&UR) and as per requirement, including supply of all equipments shoring & shuttering materials, de watering with labours, proper curing of the foundations and T&P as per specification in the concrete ratio 1:1.5:3 (Grade M-20.) including stabilization bore of required diameter (500 MM) bore holes for piles. This includes pile caping, tie beam & pedestal for the piles. | 1)The Last sentence ”This includes pile caping, tie beam & pedestal for the piles.” IS DELETED, as the same item is already included in the item No. 1.2. 2) The sentence “(after pile boring as per required depth, basing on design)” MAY BE READ AS “(after pile bore as per required depth, basing on design) |
| 2 | Item No. 1.5: Page No. 54 of 56: As per above specification with diameter (375mm) bore holes for piles. | -DO- |

Sr. General Manager,CPC